## Slide 1: Lunar Calibration for GOES-10 Imager Visible Channel – Ongoing Effort on the Uncertainty Assessment
Fangfang Yu, Xiangqian Wu and Tom Stone
2013 GSICS Annual Meeting
Williamsburg, VA
March 4-8, 2013
- Based on the presentations in SPIE’06 and Calcon’06

## Slide 2: GOES Imager Visible Channel
Linear array of 8 detectors
IGFOV = 28 µrad
Only one calibration source: space clamp
Scan the field of regard (FOV) back and forth
Multiple scan modes

## Slide 3: GOES-10 (GOES West) Scan Modes

## Slide 4: Good Data

## Slide 5: Clipped by edge Challenging to know the fraction and orientation of the unclipped part

## Slide 6: Clipped by the Earth Little hope to derive lunar irradiance

## Slide 7: Unscheduled Data Collection
Predicted gibbous Moon appearance within the GOES FOR (about three times a month on average)
Found 21 suitable observations for GOES-10 in 7.5 years between July 1998 to December 2005.
Five of the 21 cases have a second lunar image within ~ one hour

## Slide 8: Scheduled Data Collection
Began in November 2005
One or two scheduled gibbous lunar image every month for each GOES
  Used ~one minute of star view time with negligible impact on navigation

## Slide 9
y(t) is the least-squares fit of R(t)
y(t) = a + b*t +c*t2

## Slide 10: ROLO Irradiance Model
EModel: Modeled lunar irradiance
EModel = A ΩM ES / π

## Slide 11: Measured Lunar Irradiance
EGOES = ωS∑i(CiR – CS)
i: Index of Moon pixel
Ri: Radiance from pixel i
ωi: Solid angle subtended by pixel i
Since
So

## Slide 12: Moon Location
Baseline – 400 X 700 pixels containing the Moon
Alternative – fit to ellipse
  Finding the edge
  Least squares fit
  Further adjustment
    Growing
    Fixed mask of ten extra pixels – works best so far

## Slide 13: Identification of Space Pixel

## Slide 14: 1998_221_210021

## Slide 15: 1998_221_220035

## Slide 16: 2005_208_013551

## Slide 17
 |  | Constant | Mode | Selected Mean
All Pixels | A | 1.081 | 1.010 | 1.029
 | β | -0.048 | -0.045 | -0.049
 | SE | 0.038 | 0.042 | 0.030
Growing Moon | A | 1.064 | 1.030 | 1.038
 | β | -0.048 | -0.046 | -0.048
 | SE | 0.033 | 0.033 | 0.030
Masking Moon | A | 1.0494 | 1.0255 | 1.031
 | β | -0.050 | -0.048 | -0.049
 | SE | 0.029 | 0.030 | 0.029
Results – Wu et al. SPIE (2008)

## Slide 18: GOES-10 Imager Visible Channel Degradation
Scheduled moon obs

## Slide 19: Paired Images
?
3-4% difference in ratio

## Slide 20: Uncertainty Components
Assumes that ROLO model is perfect (<1% relative accuracy over all the phase angles, according to T. Stone)
Uncertainty components
  Re-sampling
    E-W: not an issue
    N-S: space clamp while the moon is moving
  Space count value
    Detector background noise
    Space count truncation
    Drift between clamps
  Moon edge
    Stray light
    Sub-pixel moon
  Incident-angle dependent scan-mirror reflectance
  Others?

## Slide 21
Impact of space clamp event
Moon orbit?

## Slide 22: Space View Noise/Count Truncation
Det#4
Stdev = 2-3 count
Moon date | Phase Angle | Mean irrad (mW/m2cmSr | Max-Min Irrad | Stdv Irrad
2006-06-06 | -58.8 | 0.8420 | 0.0032 (0.38%) | 0.0011 (0.13%)

## Slide 23: Drift between Clamps
The visible detector should not have short-term drift

## Slide 24: Fussy Moon Edge

## Slide 25: Moon image at Ch2 (3.9um)
Stray-light
Expanding the moon mask area increases the uncertainty caused by space count
Where is moon edge? Should the stay-light be accounted as moon irradiance?

## Slide 26: Scan Angle Effect
Comparison with Miller-Turner model results confirm the impact of incident angle reflectance
  Reported yesterday
~2.2% based on MIT Lincoln Lab
  Yet we cannot simply implement ground measurements to the space
Extensive observations of the Moon were obtained at various scan angles during the GOES-14 an 15 PLT periods.
  Preliminary result displayed the G14 and G15 angle-dependent reflectance patterns are different
  Need more effort to understand it

## Slide 27: Conclusion
Case study shows the impact of background noise and count truncation is small
  Need more study, especially at large phase angle
Continue the lunar calibration error budget analysis
  Stray-light effect
More effect is needed to characterize the angular dependent scan mirror reflectance