## Slide 1: GRWG Report and Briefing Tim Hewison Microwave Sub-Group Report on behalf of Ralph Ferraro
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 2: Overview
Where are we now?
  Review of GSICS Products status
  Summary of 2014/15 Web Meetings
  Review of Actions closed during 2014/15
Where do we want to be in the future?
  Roll-out GSICS products currently in development
  Simplify GSICS products for users: One product per instrument
  Extension of GSICS to new application areas
How do we get there?
  Review of Open Actions
  Management restructuring
  New way of working in meetings
  Review of Product types
  Plan 2015/16 Web Meetings

## Slide 3: Where are we now?
28.58936°N 77.22132°E
Review of GSICS Products status
Summary of 2014/15 Web Meetings
Review of Actions

## Slide 4
GPRC | Monitored Instrument | Reference Instrument | GSICS NRT Correction | GSICS Re-Analysis Correction | GSICS Bias Monitoring
EUMETSAT | Meteosat-8 – 10 } Meteosat-7 | Metop-A/IASI | Demo/Pre-operational | Demo/Pre-operational | Plots RAC
JMA | MTSAT-1R } MTSAT-2 } | IASI (+ AIRS) | Demonstration | Demo | Plots RAC?
NOAA | GOES-13 & -15 Imager GOES-11 & -12 Imager | IASI (+ AIRS) | Pre-op | Pre-op Demo | Prototype
 | GOES Sounder | IASI (+ AIRS) | Development | Development | In development
CMA | FY2C – E | IASI (+ AIRS) | Development | Development | Prototype
KMA | COMS-1 | IASI | Prototype | Prototype | 
ISRO | INSAT-3D | IASI | Prototype | Prototype | 
GSICS GEO-LEO IR Product Status 2015-03
Full GSICS Product Catalog available at http://www.star.nesdis.noaa.gov/smcd/GCC/ProductCatalog.php

## Slide 5: IR Product Development within GSICS
GEO-LEO IR hyperspectral
  Progress existing products to Operational Status
  Promote new products to Demonstration Status
  Application of Prime GSICS Correction concept
    To merge multiple reference instruments
    To allow corrections to cover diurnal cycle
Scope potential new GSICS products
  Retrieved SRFs
  GEO-GEO inter-calibration
  LEO-LEO inter-calibration
Traceability of Reference Instruments
Thursday

## Slide 6: VIS/NIR Product Development within GSICS
Deep Convective Cloud (DCC)
  For Visible Channels
  Reference: Aqua/MODIS
  Monitored instruments: GEO imagers
  Wednesday morning
Lunar Calibration
  VIS/NIR
  Reference: GIRO (ROLO) -> Aqua/MODIS
  Monitored instruments: GEO imagers, LEO imagers...
  Wednesday afternoon

## Slide 7: Other GSICS Products
What are GSICS Products?
  GSICS-Affiliated Products
    Review inter-calibration products developed outside GSICS
  Datasets, tools, algorithms...
Hyperspectral uv/vis/nir
  To be covered in UV Sub-Group meetings
Microwave sounder
  To be covered in Microwave Sub-Group meetings

## Slide 8: GSICS Web Meetings 2014/15
2015-02-03 | GRWG+GDWG | Preparing for 2015 Meeting + DCC Seasonality
2015-01-20 | GDWG - P. Miu | Automation of GPPA & timeliness
2015-01-13 | MicrowaveSubGroup | Microwave Sub-Group Web Meeting - Product Development Updates
2014-12-16 | GRWG UVSubGroup | Hyperspectral Vis inter-calibration
2014-12-01/04 | GRWG/GDWG | Lunar Calibration Workshop at EUMETSAT
2014-11-13 | GRWG VIS/NIR | Lunar Calibration Workshop last-minute Preparation
2014-10-22 | GRWG VIS/NIR | Review VIS/NIR priorities & Combining Methods: Bertrand + Fangfang’s iterative calibration integration methods
2014-09-16 | GRWG VIS/NIR | Lunar Calibration Workshop Preparation
2014-08-26 | MicrowaveSubGroup | Inter-calibration of Microwave Imagers & Selection of new Chair
2014-07-23 | GRWG+GDWG | Inter-Calibration Products to Primary GSICS References
2014-06-24 | GRWG VIS/NIR | Lunar Calibration Workshop Preparation

## Slide 9: GRWG Actions Closed during 2014/15
Action Ref | Description | Assigned to | Due Date | State
GRWG05_04/05 | Review error propagation example and consider how it could apply their solar channel calibration method This was provided by Bertrand Fougnie in several presentations, including one at the LunarCalibrationWorkshop | GRWG/ Solar.PIs | 1 Mar 2011 | Closed
GWG_13.6 | GRWG Chair to ask for volunteer to lead the development of suitable guidelines to define Common Reference Channels, based on the analysis performed for the Spectral Band Adjustment Factors. - This action has been combined with a task to draft a best practice to define SBAFs. | GRWG Chair | 1 Dec 2014 | Closed
GRWG07_02 | Outline ATBD for Rayleigh Scattering - Presented at Web Meeting | CNES | Dec 2012 | Closed

## Slide 10: Outstanding Actions on GRWG
Action Ref | Description | Assigned to | Due Date | State
GRWG06_04 | Outline ATBD for the sun-glint method | NOAA (Heidinger) | Mar 2011 | open
GRWG06_08 | Outline ATBD for the desert method | CNES | Jun 2011 | open
GRWG06_17 | Find out time overlaps between geostationary satellites (commissioning and operational periods), find out about the availability of such data and publish this information on GSICS wiki | All GPRCs | 01 Dec 2011 | open
GWG_13.13 | GRWG Chair to set up web meeting to define Best Practice for Process of defining SBAF and uncertainties by 1 June 2013. | TimHewison | 01 Jun 2013 | Open

## Slide 11: Outstanding Actions on GRWG
Action Ref | Description | Assigned to | Due Date | State
GRWG07_03 | Extract the tropical DCCs from the MODIS archive and make that data available to all GPRCs, data issues to be discussed with GDWG - Will discuss in DCC session | NASA(Doelling)+GDWGChair(Jelenak) | Sept 2012 | Open?
GRWG_14.14 | XingMing Liang to report the requirement from GSICS to support MICROS. | NOAA (Liang) | May 2015 | open
GRWG_14.15 | GRWG Chair to investigate the possibility to form a sub-group to develop inter-calibration products based on double diffe rence comparisons with model data (NWP/RAOB+RTM). | TimHewison | 1 May 2015 | 

## Slide 12: Where do we want to be in the future?
Not just where to host the next GRWG/GDWG meeting...
  Roll-out GSICS products currently in development
  Simplify GSICS products for users: One product per instrument
  Extension of GSICS to new application areas

## Slide 13: Where do we want to be in 1yr? - Target Status for Current Products
GEO-LEO IR hyperspectral: (Thursday am)
  Operational!! + Demo
  Prime GSICS (with embedded Delta Corrections)
GEO-LEO VIS DCC: (Wednesday am)
  First Demo products
GEO-LEO/ROLO VIS/NIR Moon: (Wednesday pm)
  Define potential GSICS Products
  Generate prototype products
Bias Monitoring Plotting tool: (GDWG)
  Functional for all above

## Slide 14: Where do we want to be in 1yr? Simplify GSICS products for users
Extension of Prime GSICS Correction Concept
Combine results from multiple methods into one file
  Using the same reference(s)
  As a weighted average, based on uncertainty
Users would only need 1 file for each instrument
Challenge for GDWG to define netCDF conventions!
Combining algorithms: DCC+Lunar (Wed, 3e+3t)

## Slide 15: Where do we want to be in 1yr? Extension of GSICS to new application areas
Inter-channel correlations
  GSICS methods are independent for different channels
  Many applications sensitive to inter-channel correlation
    NWP, split window, RGBs
  Implications for netCDF format
  Friday (Wu, 7b)
Requirements for GSICS product types
  NRTC/RAC/ARC (Archive Re-Calibration)
  So if we have ARC, do we still need RAC products?
  Support FCDR generation from multiple monitored instruments
  “GSICS-Affiliated Products”
  Tuesday (Flynn, 2r + Roebeling, 2s)

## Slide 16: Where do we want to be in 1yr? - Target for New Product Developments
Definition of Potential Future Products:
  NWP-based Inter-calibration
  Microwave Sounders/Imagers:
    Temperature Channels
    Humidity Channels
    Window Channels
  UV instruments
    Hyperspectral UV/VIS
To be covered by Microwave and UV Sub-Groups
  Now chaired by Ralph Ferraro and Rose Munro

## Slide 17: How do we get there?
  Request minimum contributions
  Management restructuring
  Plan 2014/15 Web Meetings

## Slide 18: New ways of working
Presenters have been asked to follow this format:
  An overview of the task you have been asked to discuss
  The purpose of the presentation
  Some example requirements
  Propose 1 or 2 strawman solutions, outlining pros and cons
  A draft deliverable with your assessment of the priority, timescale and resources needed
Each presentation will lead directly into a discussion.
Items c), d) and e) will then be edited on the fly by the chair during the discussion.
Please keep presentations short - slots only 20 minutes, and we need to ensure plenty of time for discussion.

## Slide 19: Survey on Minimum Contributions
To Summarise:
  Vast majority (>90%) favoured specifying minimum commitments for both members and chairs of GSICS working groups.
  Most respondents (>65%) suggested a minimum of 20 d/yr for members & chairs.
    A slim majority of respondents favoured at least 30 d/yr for chairs.
  Most respondents (>90%) favoured fixed terms for working group chairs
    Although opinion was divided fairly evenly on the length of the fixed terms
    between 2 or 3 years.
Survey WG members, ask their opinion:
  How much commitment we ask members and chairs of GSICS Working Groups to commit to GSICS activities per year.
  Includes attending annual meeting
  and appropriate web meetings,
  developing, implementing and operating GSICS products,
  in addition to your other commitments.
  For chairs, it would also include planning meetings, writing minutes and representing GSICS in various forums.
I encouraged Executive Panel to revise Terms of Reference of GRWG and GDWG to request minimum contribution expected of GSICS member organisations.
I hope that this will allow us to fulfil the objectives of GSICS.

## Slide 20: Future Chairing
Defined Roles & Responsibilities of GRWG+GDWG chairs
WMO announced support to GRWG + GDWG chairs:
  Fund travel to WG/Exec Panel meetings! 
GDWG Chair
  Joint Proposal from JMA and EUMETSAT
  Masaya Takahashi and Peter Miu to co-chair with defined responsibilities
  Proposal accepted by Exec Panel
  With affect from this meeting

## Slide 21: GSICS Organisation
GSICS Exec Panel
GSICS Coordination Center
GSICS Research Working Group
GSICS Data Working Group
VIS/NIR Sub-Group
Microwave Sub-Group
UV Sub-Group
IR Sub-Group
WGCV IVOS
WGCV MWSG
GPM X-CAL
WGCV ACSG
CEOS ACC
CGMS
WMO

## Slide 22: Future Chairing
Defined Roles & Responsibilities of GRWG+GDWG chairs
GRWG Chair
  Tim Hewison has chaired GRWG since 2010
  To step down at chair in 2016
  Set up new IR Sub-Group
    To share workload more evenly
  Now urgently need to nominate Vice-Chair of GRWG
    to take over in 2016
  Requested Exec Panel to pre-authorise GRWG members to stand
  Offers to take over?
  Nomination of GRWG Vice-Chair (Friday, 9d)

## Slide 23: GSICS Web Meetings 2015/16
Date | Group | Topics
 | GRWG - T. Hewison | Best Practice for Process of defining SBAF and uncertainties
 |  | Identify potential topics for web meetings
 |  | Will review list on Friday morning

## Slide 24: Microwave Sub-Group Report on behalf of Ralph Ferraro
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 25: Scope of Microwave Sub-Group
Understanding the users’ requirements for inter-calibration products for microwave instruments
  Imagers + sounders – passive only, initially?
  Retrospective calibration
  Forward looking calibration
Identifying existing products that could meet those requirements, but first….
  Need to define criteria…Reference standards (sensor(s), models, calibration methodologies….)
  And then a process that adheres to GSICS principles
Define data standards (jointly with GDWG)
Encourage the creators of those products to submit them to the GSICS Procedure for Product Acceptance (GPPA), once its defined for MW
  Candidates include Cheng-Zhi Zou (MSU-AMSU), Karsten Fennig (SSMI)
GSICS Products could be developed within the Microwave Sub-Group.
Coordination with other groups (such as the CEOS Microwave Sub-Group) would also be required to generate standards and best practices for microwave radiometer calibration.

## Slide 26: Recent Meetings of Microwave Sub-Group
Mostly web meetings
  Max 2.5hr:
    11:00-13:30 UTC in summer
    11:30-14:00 UTC in winter
24-28 March 2014 @ EUMETSAT, Germany
26 August 2014 (Telecon)
13 January 2015 (Telecon)
April 2015 (TBD)

## Slide 27: Members Signed up as at 2014-11-6
Ralph Ferraro (NOAA) – Chair
David Walker (NIST)
Isaac Moradi (Uni Maryland/NOAA)
Wenze Yang (Uni Maryland)
Linwood Jones (Uni Central Florida)
Huan Meng (NOAA)
Hu ("Tiger") Yang (CMA)
Cheng-Zhi Zou (NOAA)
Songyan Gu (CMA)
Qifeng Lu (CMA)
Jörg Ackermann (EUMETSAT)
Wes Berg (Colorado State University)
Ed Kim (NASA-GSFC)
Dong-Bin Shin (Yonsei University, South Korea)
Keiji Imaoka (JAXA)
Misako Kachi (JAXA)
Karsten Fennig (DWD for EUMETSAT Climate Monitoring Satellite Application Facility)
Tim Hewison (EUMETSAT)
Ralph Ferraro (NOAA) - Chair

## Slide 28: Anticipated Focus Topics for Upcoming Year
Moving ahead with GSICS MW products/new opportunities:
  Define the requirements and standards for MW products
    Retrospective
    Forward looking
    What are the references to use?
  Work with GDWG to define data formats and meta-data standards
  Move forward with two established products that could be GSICS products
    AMSU-MSU (C-Z. Zou)
    SSM/I (K. Fennig)
  Identify and work towards other data sets
    SMMR?
Tying together other groups/opportunities
  Engaging more closely GPM X-Cal
  Linkages to CEOS MW subgroup - future meeting in China and get China involvement in GSICS?
Upcoming Meetings of Interest and Relevance:
  NASA GPM Annual Meeting – July 2015, Baltimore, MD USA
  GSICS User’s Meeting – September 2015, Toulouse, France