## Slide 1: GSICS Web Meeting: Best Practice for Defining SBAFs
September 8, 2015

## Slide 2: VIS and SWIR Online SBAF Tool [UPDATE]
Ben Scarino, Dave Doelling, Arun Gopalan, Thad Chee, Patrick Minnis, Raj Bhatt, Conor Haney

## Slide 3
http://cloudsgate2.larc.nasa.gov/SBAF
backup: http://www-angler.larc.nasa.gov/SBAF
SCIAMACHY SBAF Tool

## Slide 4
SCIAMACHY SBAF Tool
[recap]
0.0 < PW < 3.0 g cm-3
0.0 < PW < 0.75 g cm-3
0.75 < PW < 1.5 g cm-3
1.5 < PW < 2.0 g cm-3
2.0 < PW < 3.0 g cm-3
Proper subsetting, e.g., by precipitable water (PW), can reduce standard error
SBAF changes systematically relative to PW amount

## Slide 5
240 – 1750 nm
SCIAMACHY-based SBAFs limited to Ch. 1-6, or 0.24-1.75 μm
  Channels 7 and 8 (1.75-2.38 μm) plagued by detector issues and poor calibration

## Slide 6
Landsat-8-OLI SWIR2 SRF
240 – 1750 nm
Thus SCIAMACHY is insufficient for SWIR-channel SBAFs

## Slide 7
240 – 1750 nm
400 – 2500 nm
Landsat-8-OLI SWIR2 SRF
DSCOVR-EPIC O3 Bands
Solution: Use Hyperion to fill the missing spectra

## Slide 8
[pre-release] http://cloudsgate2.larc.nasa.gov/cgi-bin/site/showdoc?mnemonic=HYPERION&mode=HYP#
Hyperion SBAF Tool

## Slide 9
Hyperion SBAF Tool: Scan Selector [COMING SOON]
Hyperion is a tasked instrument, thus coverage only available for select locations
Certain targets are routinely scanned

## Slide 10
Users can be as general or precise in their region/scan selection as they desire
Hyperion SBAF Tool: Scan Selector [COMING SOON]

## Slide 12
Hyperion SBAF Tool
[pre-release] http://cloudsgate2.larc.nasa.gov/cgi-bin/site/showdoc?mnemonic=HYPERION&mode=HYP#

## Slide 13: Conclusions
SCIAMACHY SBAF:http://cloudsgate2.larc.nasa.gov/SBAF
  Backup: http://www-angler.larc.nasa.gov/SBAF
  Proper subsetting is effective for reducing uncertainty and honing the correction
Hyperion SBAF: http://cloudsgate2.larc.nasa.gov/cgi-bin/site/showdoc?mnemonic=HYPERION&mode=HYP#
  Still in testing phases
  Supplements SCIAMACHY SBAF with SWIR coverage
  Scan selector map allows precise control of target selection

## Slide 14: Using IASI to Define SBAFs for IR Channels
Ben Scarino, Dave Doelling, Arun Gopalan, Conor Haney, Thad Chee, Patrick Minnis, Raj Bhatt

## Slide 15
400 – 2500 nm
240 – 1750 nm
3600 – 15500 nm
2500 – 3600-nm gap
SBAF calculation possible from 0.24 – 15.5 μm, excepting a 2.5 – 3.6-μm gap

## Slide 16
IASI ends abruptly at 3.6 μm…

## Slide 17
Terra-MODIS.20
…which is sufficient for some instruments

## Slide 18
Terra-MODIS.20
NPP-VIIRS-NG.I4
However, NPP-VIIRS I4-Band SRF extends beyond IASI range

## Slide 19
Terra-MODIS.20
NPP-VIIRS-NG.I4
Thus we assume Planck extrapolation to fill the missing spectra

## Slide 20
Terra-MODIS.20
NPP-VIIRS-NG.I4
Equivalent BT

## Slide 21
Terra-MODIS.20
NPP-VIIRS-NG.I4
Complete IASI radiance spectrum

## Slide 22
Terra-MODIS.20
NPP-VIIRS-NG.I4
Complete IASI BT spectrum

## Slide 24
Examples

## Slide 25
GOES-13 vs. Aqua-MODIS: WN Channel
Before SBAF
After SBAF
2nd-order Adjustment

## Slide 26
Meteosat-9 vs. Aqua-MODIS: WV Channel
Before SBAF
2nd-order Adjustment
Met-9 CH_5
Slight “S” curve in both ray-matched data and IASI-based pseudo data
2nd-order SBAF cannot perfectly capture the nonlinearity
Need either 3rd-order or piece-wise SBAF to reduce ray-matched nonlinearity

## Slide 27
3rd-order SBAF
180 K <= 11-μm BT < 240 K
240 K <= 11-μm BT < 270 K
11-μm BT >= 270 K
Meteosat-9 vs. Aqua-MODIS: WV Channel
3rd-order and piecewise SBAFs

## Slide 28
Meteosat-9 vs. Aqua-MODIS: WV Channel
Before SBAF
3rd-order or Piecewise Adjustment
(results are similar regardless of which is used)
Met-9 CH_5
After SBAF

## Slide 29
GOES-13 vs. Aqua-MODIS: WV Channel
Before SBAF
2nd-order Adjustment

## Slide 30
3rd-order SBAF
180 K <= 11-μm BT < 240 K
240 K <= 11-μm BT < 270 K
11-μm BT >= 270 K
GOES-13 vs. Aqua-MODIS: WV Channel
3rd-order and piecewise SBAFs

## Slide 31
GOES-13 vs. Aqua-MODIS: WV Channel
Before SBAF
After SBAF
3rd-order or Piecewise Adjustment
(results are similar regardless of which is used)

## Slide 32
Meteosat-9 vs. GOES-13: WV Channel
Before SBAF
Met-9 CH_5
After SBAF
3rd-order or Piecewise Adjustment
(results are similar regardless of which is used)

## Slide 33: Conclusions
Between SCIAMACHY, Hyperion, and IASI, SBAFs can be determined empirically in the almost-continuous spectral range of 0.24-15.5 μm
Demonstrated subtle improvement in the WN channel
Corrected rather significant non-linearities in the WV channel
Effectively reduces ray-matched offset, standard error, and bias