## Slide 1: Operation Around Midnight for 3-Axis Stabilized Geo
X. Wu
Based on work by many people in many years
2016-03-02, Tsukuba, Japan

## Slide 2
IR Calibration

## Slide 3
Calibration Coefficients

## Slide 4
~40ºK “now”
Complicated seasonal variations of diurnal heating
Long term trend
~60ºK some other days
One Week
One Month
One Year
One Satellite
Goes-12 Scan Mirror Temperature
Root Cause - Thermal Stress …

## Slide 5
Not a problem without this varying radiator
TBB
… coupled with blackbody …

## Slide 6
OK if =1 or Tenv=TBB
Less true for GOES
TBB
TBB
Tenv
… that is less than black

## Slide 7
Correction (MBCC) …

## Slide 8
… and effects

## Slide 9: MBCC Performance Evaluation – GOES-11 Imager IR Channels
Ch2 Ch3 Ch4 Ch5
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Diurnal variation varies at different channel and different season

## Slide 10
Channel | ΔTb4:00am,0:00am (K) | Channel | ΔTb4:00am,0:00am (K) | Channel | ΔTb4:00am,0:00am (K)
Ch1 | +0.25 | Ch7 | +0.54 | Ch13 | +0.33
Ch2 | +0.22 | Ch8 | +0.49 | Ch14 | +0.38
Ch3 | +0.25 | Ch9 | +0.67 | Ch15 | +0.61
Ch4 | +0.37 | Ch10 | +0.39 | Ch16 | +0.28
Ch5 | +0.24 | Ch11 | +0.44 | Ch17 | +0.51
Ch6 | +0.51 | Ch12 | +0.53 |  | 
Impact of the midnight calibration anomaly for GOES-11 Sounder IR channel 1 through Ch17. ΔTb4:00am,0:00am = ΔTb4:00am - ΔTb0:00am
Yu and Wu, 2013 TGRS
No MBCC applied to the Sounder IR channels

## Slide 11: GEO-GEO Comparison During GOES-15 PLT Period
GEO-GEO collocation
  Spatial collocation
  Temporal difference: < 5 minutes
  Geometric alignment: viewing zenith angle difference < 1%
GOES 13: -75o
GOES-15: -89.5o

## Slide 12: GEO-GEO Comparison
BRDF
Midnight
Midnight
Midnight
Midnight
No correction was made for SRF difference
Note: the GEO-GEO inter-comparison was conducted before the SRF shifts for G15 Ch3 and Ch6
Yu

## Slide 13: GEO-GEO Radiance Comparison
Yu

## Slide 14: Improvements for AHI
Expected:
  Optical design
  Improved cooling
And Observed:
  Temperature excursion
  Radiance bias

## Slide 16: AHI data quality (Diurnal variation in IR)
There is no significant diurnal variation seen in MTSAT-2
  The biases at the standard radiance are shown.
  Data period is December 2015.
  Reference sensors are:
Metop-A/IASI
Metop-B/IASI
Aqua/AIRS
S-NPP/CrIS
MTSAT-2/Imager
Himawari-8/AHI
will be reported in [3k]
Notes: 基準センサーが変わる時間帯に見られる不連続の原因については調査中。画像上では、異変は認められない。

## Slide 17: Summary
3-axis stabilized geostationary platform is subject to tremendous thermal stress around satellite midnight, especially during the semi-annual eclipse season.
This has broad impacts.
For Imager (2nd generation):
  KMA offered non-MBCC radiance for MI
  Obtained support to strengthen support for Imager.
  NOAA plan to investigate further with KMA.
For Advanced Imager (3rd generation): reduced effects are
  … Expected, thanks to optical design and improved cooling
  … And Observed, both temperature excursion and radiance bias
  Within spec, but seems statistically significant.
  NOAA plans to investigate further with JMA
Not discussed but also important: impact on navigation