## Slide 1: GRWG Summary Decisions, Actions, Recommendations
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 2: Mini Conference
Recommendation(1k): JAXA to continue to collaborate with JMA to define requirements for GSICS Corrections for AHI ocean colour and aerosol products.
Recommendation(1l): GSICS IR sub-group to develop LEO-LEO GSICS corrections.
Recommendation(1t): CMA to consider using the SSMIS CDR at Colorado State University that is available and that would be of better quality in their analysis of MWRI data

## Slide 3: Plenary
Action GRWG.2016.2b.1: Data Working Group Chair to report back on Friday about discussions regarding the GSICS instrument performance summary. Web meeting to be planend with the Research WG.
Recommendation GRWG.2016.2c.1: GDWG to provide guidance for code sharing in order to avoid problem with licensing (TBConfirmed)
Action GRWG.2016.2d.1: Tim & Dohyeong to review outstanding actions on Tim Hewison and decide which to transfer to GRWG Chair.

## Slide 4: GPRC Reports
Action GRWG.2016.2d.2: Close action GRWG_14.15 as it was agreed to pursue the action within the existing sub-group.
Action GRWG.2016.2d.3: Actions 15.22, 15.24, 15.53 (TBChecked), 15.58, 15.59, 15.62 can be closed
Action GRWG.2016.2d.4: GRWG_14.1: Tom to look at the origin of this action and to email to Tim.
Recommendation GRWG.2016.2j.1: EUM to consider pitch-over maneuver and introducing a precessionary orbit to allow the instruments to sample more of the diurnal cycle.

## Slide 5: GPRC Reports
Recommendation GRWG.2016.2j.1: EUM to consider pitch-over maneuver and introducing a precessionary orbit to allow the instruments to sample more of the diurnal cycle.
Recommendation GRWG.2016.2j.1: CMA to consider coordinating Simultaneous Lunar Observations from ground-based sensors to coincide with satellite observations.
Action GRWG.2016.2j.1: Tim to share housekeeping link for IASI monitoring

## Slide 6: GPRC Reports
Action GRWG.2016.2k.1: CMA to report at a web meeting or at the next annual meeting about the comparison in the RSB of the various instruments
Action GRWG.2016.2m.1: GCC to contact IMD and coordinate interactions re: sharing and implementing GEO-LEO code.
Action GRWG.2016.2n.1: Dave to provide MODIS data to ISRO to perform inter-calibration using DCC.
Recommendation GRWG.2016.2o.1: KMA to investigate effects of the non-linearities in the COMS WV channel

## Slide 7: GPRC Reports
Action GRWG.2016.2t.1: GCC (Manik to coordinate) to develop a prototype template for the product catalog
Action GRWG.2016.2u.1: GSICS product generators to identify the family of monitored and reference instruments their product(s) is applicable to.
Recommendation GRWG.2016.2u.1: The product generators applying the same algo to different instruments should be able to move directly to pre-operational mode subject to reviewing the uncertainty analysis.

## Slide 8: GEO-LEO IR
Recommendation GRWG.2016.3d.1: WMO to draft a letter to recommend EUM to shift UVNS FOV southwards at winter time to support GSICS activities (SBAF, desert site characterisation)
Action GRWG.2016.3g.1: Each agency to identify one user for NRT, re-analysis (in the context of case studies) and climate applications to define the user requirements.
Action GRWG.2016.3g.2: Each sub-group chair to collect user requirements using feedback from the GSICS correction producers.

## Slide 9: GEO-LEO IR
Recommendation GRWG.2016.3h.1: EUMETSAT to lias with SCIAMACHY team to investigate difference between the 2 instruments (GOME-2 and SCIAMACHY) using SNOs
Action GRWG.2016.3j.1: ISRO to contact Peter Miu to set up a standing order + submit user request through the EUM helpdesk.
Recommendation GRWG.2016.3k.1: (Fangfang) NOAA-JMA to corporate to resolve the scan dependency

## Slide 10: GEO-LEO IR
Recommendation GRWG.2016.3k.2: To share the achievement of JMA’s correction of diurnal variation of AHI during commissioning phase to GSICS user workshop
Action GRWG.2016.3n.1: Fred to report at next meeting on cooperation with KMA on black body calibration correction.
Action GRWG.2016.3o.1: Arata to check how the cold end corrections are behaving using AIRS.
Action GRWG.2016.3o.2: Arata to use the various regression methods and process the corrections as derived from AIRS and report back.

## Slide 11: GEO-LEO IR
Action GRWG.2016.3q.1: Rose to communicate the constraints for Metop-A end-of-life activities. And EUMETSAT to investigate the possibility for pitch maneuvers.
Action GRWG.2016.3q.3 : CrIS team (POC: Likun) work on the inter-comparison between CrIS and TANSO-FTS. EUM + CNES (POC: Denis Jouglet (CNES) and Dorothee Coppens (EUM)) will do the same with IASI. JAXA to provide info about TANSO FTS sampling (POC: Kei Shiomi, shiomi.kei -at- jaxa.jp)

## Slide 12: GEO-LEO IR
Action GRWG.2016.3r.1: Manik to circulate draft manuscript
Action GRWG.2016.3q.1: Likun Wang to coordinate a team to continue to monitor CrIS, IASI and AIRS and report to GSICS
Recommendation GRWG.2016.3s.1: recommended workshop on SI traceable hyperspectral reference instruments before/after the 2018 annual meeting (possible host is CMA)

## Slide 13: GEO-LEO IR
Action GRWG.2016.3s.1: Dave Tobin to repeat inter-calibration uncertainty analysis for CLARREO PATHFINDER on ISS and report.
Recommendation GRWG.2016.3t.1: NASA is encouraged to follow the approach adopted for the GEO-LEO IR to derive GSICS products.
Recommendation GRWG.2016.3t.2: NASA to investigate the relative calibration of MODIS and VIIRS cold-end

## Slide 14: VIS/NIR
Action GRWG.2016.4a.1: Aisheng and Tom to interact in order to investigate the discrepancy between the lunar calibration results and the Earth View results on both Terra and Aqua MODIS
Action GRWG.2016.4d.1: GSICS/WMO to provide a support letter for the ARCSTONE mission
Recommendation GRWG.2016.4d.1: JMA and USGS to work together on AHI data in support of ROLO development

## Slide 15: VIS/NIR
Recommendation GRWG.2016.4e.1: JMA is strongly encouraged to keep shared their data with the lunar calibration community as those data would greatly help in characterising phase dependency spectrally. It would help the community to achieve intercalibration for sensors with similar bands.
Action GRWG.2016.4f.1: Seb to verify that the policy reflects the needs of an Agency implementing a modification to the GIRO to ensure it is assessed against the benchmark

## Slide 16: VIS/NIR
Recommendation GRWG.2016.4g.1: CNES and EUM to resolve any differences in formulation of presented lunar inter-calibration approaches??
Action GRWG.2016.4h.1: NOAA and EUMETSAT to liaise for comparison with time series of MSG full disk irradiance measurements over same time period.
Action GRWG.2016.4h.2: NOAA to report back in one year time.

## Slide 17: VIS/NIR
Recommendation GRWG.2016.4h.1: NOAA to interact with JMA to understand the root cause of the differences between analyses (in particular wrt deep space counts).
Action GRWG.2016.4o.1: Dave to provide information on Aqua MODIS for GOES instruments