## Slide 1: GRWG Microwave Sub-Group Briefing
Ralph Ferraro (and entire MW Subgroup)
NOAA/NESDIS

## Slide 2: Outline
Scope of MW Subgroup
Membership
Focus for past/upcoming year
Quarterly Meetings/Highlights
Contributions to 2016 GUW
Outcome of joint CEOS/GSICS joint session
Summary of Accomplishments & Ongoing Endeavors

## Slide 3: Scope of Microwave Sub-Group
Understanding the users’ requirements for inter-calibration products for microwave instruments
  Imagers + sounders – passive only (initially, but eventually consider active if there is a need…)
  Retrospective calibration (CDR’s and their components like geolocation, scan biases, inter-satellite)
  Forward looking calibration (near-real time uses)
Identifying existing products that could meet those requirements, but first….
  Need to define criteria…Reference standards (sensor(s), models, calibration methodologies….)
  And then a process that adheres to GSICS principles
We should also focus on tools/algorithms like SNO, Double Difference, RTM, etc.
  Might be something more feasible in near term?
Define data standards (jointly with GDWG)
Encourage the creators of those products to submit them to the GSICS Procedure for Product Acceptance (GPPA), once its defined for MW
  Candidates include Cheng-Zhi Zou (MSU-AMSU), Karsten Fennig (SSMI), GPM X-Cal LUT’s
Coordination with other groups (e.g., CEOS WGCV MW, GPM X-Cal) would also be required to generate standards and best practices

## Slide 4: Membership Signed up as of January 2017 – We continue to grow!
NOAA (and affiliates) - Ralph Ferraro (Chair), Huan Meng, Cheng-Zhi Zou, Tony Reale, Manik Bali (Univ. Maryland), Isaac Moradi (Univ. Maryland), Hu (“Tiger) Yang (Univ. Maryland), Wenze Yang (Univ. Maryland), Johnny Luo (City College New York)
EUMETSAT (and affiliates) – Tim Hewison, Karsten Fennig, Viju John, Jörg Ackermann, Sabatino DiMichele, Sante Laviola, Vinia Mattoli, Sreerekha Thonipparambil, Christophe Accadia, Martin Burgdorf (Hamburg Univ.), Imke Hans (Hamburg Univ.), Ralf Bennartz
NASA (and affiliates) – Ed Kim (GSFC), Tanvir Islam (JPL), Linwood Jones (Univ. of Central Florida), Rachael Kroodsma (Univ. of Maryland), Wes Berg (Colorado State Univ.), Thomas Holmes
NIST – Derek Houtz, David Walker
CMA (and affiliates) – Songyan Gu, Qifeng Lu, Lin Chen, Hu Yang, Xiaolong Dong, Shengli Wu
KMA (and affiliates) – Jun Park, Dong-Bin Shin (Yonsei University, South Korea), Dohyeong Kim, Minju Gu
JAXA (and affiliates) - Misako Kachi, Takashi Maeda
IISC – Ram Ratan

## Slide 5: Focus Topics for 2016-2017
Defining CLEAR PATH for GSICS MW products and algorithms (formed sub-topical leaders; just getting started)
  Methodologies (Jun Park, Rachel Kroodsma)
    SNO, Double difference, etc.
  Reference Standards (Manik Bali, Isaac Moradi, David Walker)
    A particular sensor? Likely to be wavelength dependent (e.g., window, O2, H20); A RTM?
  LUT/Correction Tables (Karsten Fennig, Cheng-Zhi Zou, Viju John)
    Near real-time and climate; they will be different
Tying together other groups/opportunities
  Engaging more closely GPM X-Cal (Wes, Rachel)
    Participation our 2016 GUW; Participation at this meeting!
  Formalizing linkages to CEOS MW subgroup (Cheng-Zhi, Xiaolong Dong)
    CEOS-GSICS Microwave Coordination Meeting – 2016 July 5-6, Beijing, China
  Expanding active participation (Manik, Ralph)
Continued participation by subgroup at meetings of relevance:
  GSICS; CEOS;CALCON, Microrad 2017, AMS Sat. Met, EUMESAT Satellite, etc.

## Slide 6: MW Workspace http://gsics.atmos.umd.edu/bin/view/Development/MicrowaveSubGroup

## Slide 7: Recent Meetings of Microwave Sub-Group
Mostly web meetings
  Max 2.5hr; try to hold in the 1100 – 1400 UTC timeframe
  Materials and minutes always posted on Wiki
21 April 2016
26 July 2016
25 October 2016
11 January 2017
Some side-bar meetings:
  GRUAN
  GPM X-Cal
  In orbit reference standards

## Slide 8: Sample Presentations (1/2)
Tony Reale, 26 Jul 2016
Shengli Wu, 21 Apr 2016
23 H
GRUAN collocations with high quality satellite derived
Sounding (NUCAPS, AIRS and ECMWF)

## Slide 9: Sample Presentations (2/2)
David Walker, 25 Oct 2016
Johnny Luo and Viju John, 11 Jan 2017
18 GHz ε Verification
SSMT/2 Geolocation Errors

## Slide 10: Highlights from Aug 2016 GUW – Microwave Session
Wes Berg - Better RTM components needed to close loop on MW sensor calibration. Water vapor absorption and ocean surface emissivity highest priority. Use of high quality in-situ like ocean buoys and GRUAN raobs should be preferred over NWP model fields. From the GPM X-Cal perspective, GMI and MHS could be good reference instruments.
John Forsythe - Blended water vapor (TPW and layered WV) require good sensor calibration on both weather and climate scales. A L1C CDR would be useful for developing a better TPW climatology; dating back to SSM/T2 would be even better. He also stressed the importance of "image validation" where several LEO MW TPW products are put together and would demonstrate success/failure of calibrations/intercalibrations.
George Huffman - Global precipitation products use both GEO IR and LEO MW; both require a variety of calibrations and other GSICS tools (like a unified parallax correction). Going back to the SMMR era would enhance the global precipitation climatology. MW accuracy of 1 K or less needed.
Cheng-Zhi Zou - Much work done to develop the longest microwave time series for temperature monitoring - SSU/MSU to AMSU. Calibration and intersatellite calibration requires various methods to get at full dynamic range. Will continue forward with ATMS and MWS.

## Slide 11: CEOS/Joint Session Summary July 6-7, 2016 – Beijing, China
Session co-chaired by C-Z. Zou (NOAA) and Xialong Dong (NSSC/CAS); 15 participants
Collaboration between CEOS and GSICS MW subgroups; not to overlap effort
  CEOS/WGCV microwave subgroups is focusing on
    Guidelines for prelaunch calibration of microwave radiometer
    Guidelines for scatterometer calibration and data quality control
  GSICS is focusing on defining reference instrument
    Observations from instrument are widely used in operations and research
    Calibration theory should be well established and documented
    Pre-launch calibration meets specifications
    Once in space, performance is well characterized and meets specifications

## Slide 12: Past year accomplishments and ongoing endeavors
Continued expansion of group
  More ideas and new collaborations
Sub-topical leads/formation
  Develop tasks, move forward with them
    References, Methods, Correction Tables….
Wiki collaboration pages
  Still a work in progress….
GUW MW Session
  Ideas from users leading to some new directions…
Joint CEOS/GSICS meeting
  Building blocks for future collaborations
Annual issue of Newsletter/MW Focus
First dedicated MW parallel session here…
Hope to report on “true” accomplishments in 1-year