## Slide 1
S. Wagner, B. Viticchie, T. Hewison – EUMETSAT
M. Takahashi – JMA
Moving toward inter-calibration using the Moon as a transfer

## Slide 2: Rational for inter-calibration using the Moon
  Current DCC method implemented only for VIS0.6 micron band
  More reflective solar bands on SEVIRI and new generation of GEO imagers
  Need to have more inter-calibration methods to derive robust corrections
  Lunar inter-calibration can be performed across the whole ROLO/GIRO spectrum
  Offers the possibility to cross-calibrate any combination of instruments:
    No need to have coinciding observation times
    No need to have coinciding fields of regard
    Possibility for instance to inter-calibrate the GEOs to a same reference (MODIS or VIIRS for instance), or to cross calibrate GEOs between each other

## Slide 3: A possible scheme for inter-calibration
By definition:
Presume MODIS is the truth  we project MODIS in the irradiance space of the monitored instrument:
Reference instrument = Aqua MODIS
Phase angle range = [-56°,-54°]
λ, ϕ = Reference wavelength, Phase
ϕ = “-55” = MODIS range
λ’, ϕ’ = Monitored wavelength, Phase
From GLOD/NASA data, we derive the mean
If MODIS is perfectly calibrated and there is no phase dependence, it is assumed:
Consequently:
-55
-55
-55
-55
-55
-55
-55
-55
-55
-55

## Slide 4: Irradiance bias for Meteosat-9
Issue with calibration as provided in the level 1.5 headers

## Slide 5: Meteosat-9 – VIS0.6 – Preliminary results
Issue with calibration as provided in the level 1.5 headers

## Slide 6: Meteosat-9 – VIS0.8 – Preliminary results
Issue with calibration as provided in the level 1.5 headers

## Slide 7: Meteosat-9 – Preliminary results
  Inter-band calibration indicates a difference of ~2% between VIS0.6 and VIS0.8
  Consistent result with other findings (by cloud community)
  Link to the results from the DCC methods still to be established
  SEVIRI Level 1.5 calibration coefficients either:
    should be fixed to initial value  irradiance bias shows instrument drift
    or be based on SSCC full time series and de-trended  double difference shows absolute bias + residual drift

## Slide 8
M. Takahashi - JMA

## Slide 9
M. Takahashi - JMA

## Slide 10: A possible scheme for inter-calibration
Issue: the phase dependence must be removed from the relative bias: 2 solutions
Remove the dependence from the GIRO  Investigations in the ROLO
Correct the dependence using possible information from other satellites in a similar band (central wavelength + band width)  first order approach
Need to evaluate uncertainty, including SBAF and Phase-Angle-dependence
This uncertainty used as weight of the lunar method in the blend with DCC, etc.
This assume that all required parameters to estimate the observed irradiance are accurately calculated (i.e. the over-sampling factor).
Advantage of normalising with the GIRO instead of the reference instrument irradiance = no impact of the instrument noise at low irradiance levels.
Feedback and suggestions from GRWG-VIS/NIR are very welcomed 

## Slide 11: Conclusion
More work required on the current method
2016 action on EUM/CNES to compare proposed approaches
Possibility to cross calibrate any combination of instrument
Use of VIIRS data to inter-calibrate all bands
Possibility to monitor the inter-band
Should be possible to cancel-out phase dependency for instruments with similar bands
Verification/validation test: inter-calibrate the MSGs