## CMA
$ ncdump -h W_CN-CMA-NSMC,SATCAL+NRTC+GEOLEOIR,FY2D+SVISSR-MetOpA+IASI_C_BABJ_20150630000.nc
netcdf W_CN-CMA-NSMC\,SATCAL+NRTC+GEOLEOIR\,FY2D+SVISSR-MetOpA+IASI_C_BABJ_20150630000 {
dimensions: | dimensions:
chan = 4 ; | chan = <positive integer>;
chan_strlen = 5 ; | chan_strlen = <positive integer>;
date = UNLIMITED ; // (1 currently) | date = ONE OF (<positive integer>, "UNLIMITED");
validity = 2 ; | validity = 2;
lut_row = 1024 ;
variables: | variables:
float wnc(chan) ; | float wnc(chan);
wnc:units = "cm^-1" ; | :units = "cm^-1";
wnc:long_name = "channel central frequency of channel as wavenumber" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
char channel_name(chan, chan_strlen) ; | float beta(chan);
channel_name:long_name = "FY2D+SVISSR Channel Name" ; | :units = "K";
float central_wavelength(chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
central_wavelength:units = "m" ; | float alpha(chan);
central_wavelength:long_name = "FY2D+SVISSR Wavelength of Channel Centre" ; | :units = "1";
double date(date, validity) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
date:units = "seconds since 1970-01-01T00:00:00Z" ; | char channel_name(chan, chan_strlen);
date:long_name = "date of evaluation" ; | :standard_name = "sensor_band_identifier" ;
date:calendar = "gregorian" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
date:standard_name = "time" ; | float central_wavelength(chan);
double validity_period(date, validity) ; | :units = "m";
validity_period:units = "seconds since 1970-01-01T00:00:00Z" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
validity_period:long_name = "correction validity period" ; | :standard_name = "sensor_band_central_radiation_wavelength";
validity_period:calendar = "gregorian" ; | double date(date);
validity_period:standard_name = "time" ; | :units = "seconds since 1970-01-01T00:00:00Z";
float slope(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope:units = 1s ; | :calendar = "gregorian";
slope:long_name = "Regression Slope" ; | :standard_name = "time";
slope:valid_min = -2.f ; | double validity_period(date, validity);
slope:valid_max = 2.f ; | :units = "seconds since 1970-01-01T00:00:00Z";
float slope_se(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope_se:units = 1s ; | :calendar = "gregorian";
slope_se:long_name = "Standard Error of Regression Slope" ; | :standard_name = "time";
slope_se:valid_min = -2.f ; | float slope(date, chan);
slope_se:valid_max = 2.f ; | :units = "1";
float offset(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset:units = "mW m-2 sr-1(cm-1)-1" ; | :valid_min = -2.0f; // float
offset:long_name = "Regression Offset" ; | :valid_max = 2.0f; // float
offset:valid_min = -200.f ; | float slope_se(date, chan);
offset:valid_max = 200.f ; | :units = "1";
float offset_se(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset_se:units = "mW m-2 sr-1(cm-1)-1" ; | :valid_min = -2.0f; // float
offset_se:long_name = "Standard Error of Regression Offset" ; | :valid_max = 2.0f; // float
offset_se:valid_min = -200.f ; | float offset(date, chan);
offset_se:valid_max = 200.f ; | :units = "mW m-2 sr-1(cm-1)-1";
float covariance(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
covariance:units = "mW m-2 sr-1(cm-1)-1" ; | :valid_min = -200.0f; // float
covariance:long_name = "Regression Coefficients Covariance" ; | :valid_max = 200.0f; // float
covariance:valid_min = -200.f ; | float offset_se(date, chan);
covariance:valid_max = 200.f ; | :units = "mW m-2 sr-1(cm-1)-1";
float std_scene_tb(chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb:units = "K" ; | :valid_min = -200.0f; // float
std_scene_tb:long_name = "Brightness Temperature of Standard Scene" ; | :valid_max = 200.0f; // float
std_scene_tb:valid_min = 230.f ; | float covariance(date, chan);
std_scene_tb:valid_max = 290.f ; | :units = "mW m-2 sr-1(cm-1)-1";
float std_scene_tb_bias(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb_bias:units = "K" ; | :valid_min = -200.0f; // float
std_scene_tb_bias:long_name = "Brightness Temperature Bias for Standard Scene" ; | :valid_max = 200.0f; // float
std_scene_tb_bias:valid_min = -10.f ; | float std_scene_tb(chan);
std_scene_tb_bias:valid_max = 10.f ; | :units = "K";
float std_scene_tb_bias_se(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb_bias_se:units = "K" ; | :valid_min = 230.0f; // float
std_scene_tb_bias_se:long_name = "Standard Error of Brightness Temperature Bias for Standard Scene" ; | :valid_max = 290.0f; // float
std_scene_tb_bias_se:valid_min = -10.f ; | float std_scene_tb_bias(date, chan);
std_scene_tb_bias_se:valid_max = 10.f ; | :units = "K";
int number_of_collocations(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
number_of_collocations:units = 1s ; | :valid_min = 10.0f; // float
number_of_collocations:long_name = "Number of collocations used to calculate correction" ; | :valid_max = -10.0f; // float
number_of_collocations:valid_min = 1s ; | float std_scene_tb_bias_se(date, chan);
number_of_collocations:valid_max = -1s ; | :units = "K";
float beta(chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
beta:units = "K" ; | :valid_min = 10.0f; // float
beta:long_name = "radiance to brightness temperature conversion coefficient beta" ; | :valid_max = -10.0f; // float
float alpha(chan) ; | int number_of_collocations(date, chan);
alpha:units = 1s ; | :units = "1";
alpha:long_name = "radiance to brightness temperature conversion coefficient alpha" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float CAL_LUT(lut_row, chan) ; | :valid_min = 1; // int
CAL_LUT:long_name = "CAL_LUT" ; | :valid_max = 2147483647; // int
float CAL_slope(date, chan) ; | float a1(chan);
CAL_slope:units = 1s ; | :units = "K";
CAL_slope:long_name = "CAL Regression Slope" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients offset term";
float CAL_offset(date, chan) ; | float a2(chan);
CAL_offset:units = "K" ; | :units = "1";
CAL_offset:long_name = "CAL Regression Offset" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients first-order term";
float a3(chan);
:units = "1";
:long_name = "radiance to brightness temperature conversion band correction coefficients second-order term";
// global attributes: | // global attributes:
:Conventions = "CF-1.6" ; | :Conventions = "CF-1.6";
:Metadata_Conventions = "Unidata Dataset Discovery v1.0" ; | :Metadata_Conventions = "Unidata Dataset Discovery v1.0";
:standard_name_vocabulary = "CF Standard Name Table (Version 21, 22 March 2013)" ; | :standard_name_vocabulary = "CF Standard Name Table (Version 19, 22 March 2012)";
:project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>" ; | :project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>";
:title = "GSICS FY2D+SVISSR vs MetOpA+IASI GSICS Near Real-Time Correction" ; | :title = "TITLE MENTIONING THE PRODUCT TYPE, MONITORED, AND REFERENCE INSTRUMENTS";
:summary = "Coefficients of the GSICS Correction for the infrared channels of a GEOstationary imager using a LEO hyperspectral reference instrument" ; | :summary = "SUMMARY TEXT";
:keywords = "GSICS, satellite, remote sensing, inter-calibration, near real time correction, GEO-LEO-IR, FY2D+SVISSR, MetOpA+IASI, infrared" ; | :keywords = "GSICS, satellite, remote sensing, inter-calibration, ONE OF ('reanalysis correction', 'near real time correction'), GEO-LEO-IR, MONITORED INSTRUMENT, REFERENCE INSTRUMENT, infrared";
:references = "CMA GSICS Product documentation, " ; | :references = "DOCUMENTATION URL";
:institution = "National Satellite meteorological Center(NSMC), CMA" ; | :institution = "NAME OF DATA PRODUCER'S ORGANIZATION";
:license = "Information delivered as a GSICS product is generated in accordance with the GSICS principles and practices. GSICS products are public and may be used and redistributed freely. Any publication using GSICS products should acknowledge both GSICS and the relevant data creator organization. Neither the data creator, nor the data publisher, nor any of their employees or contractors, makes any warranty, express or implied, including warranties of merchantability and fitness for a particular purpose, or assumes any legal liability for the accuracy, completeness, or usefulness, of this information." ; | :license = "Information delivered as a GSICS product is generated in accordance with the GSICS principles and practices. GSICS products are public and may be used and redistributed freely. Any publication using GSICS products should acknowledge both GSICS and the relevant data creator organization. Neither the data creator, nor the data publisher, nor any of their employees or contractors, makes any warranty, express or implied, including warranties of merchantability and fitness for a particular purpose, or assumes any legal liability for the accuracy, completeness, or usefulness, of this information.";
:naming_authority = "cn.gov.cma.nsmc.gsics" ; | :naming_authority = "REVERSE DNS OF YOUR DOMAIN";
:creator_name = "CMA/NSMC for Satellite Applications and Research GPRC" ; | :creator_name = "DATA PRODUCER'S DEPARTMENT/OFFICE";
:creator_email = "xuna@cma.gov.cn" ; | :creator_email = "DATA PRODUCER'S CONTACT EMAIL";
:creator_url = "http://www.gsics.nsmc.cma.gov.cn" ; | :creator_url = "DATA PRODUCER'S WEBSITE";
:wmo_data_category = 30s ; | :wmo_data_category = 30; // type short
:wmo_international_data_subcategory = 4s ; | :wmo_international_data_subcategory = "4" FOR NRTC DATA, "5" FOR RAC DATA; // short
:local_data_subcategory = 1s ; | :local_data_subcategory = 1; // short
:geospatial_lat_min = -30.f ; | :geospatial_lat_min = SOUTHERNMOST LATITUDE; // float
:geospatial_lat_max = 30.f ; | :geospatial_lat_max = NORTHERNMOST LATITUDE; // float
:geospatial_lon_min = 75.f ; | :geospatial_lon_min = WESTERNMOST LONGITUDE; // float
:geospatial_lon_max = 160.f ; | :geospatial_lon_max = EASTERNMOST LONGITUDE; // float
:geospatial_lat_units = "degrees_north" ; | :geospatial_lat_units = "degrees_north";
:geospatial_lon_units = "degrees_east" ; | :geospatial_lon_units = "degrees_east";
:processing_level = "demonstration/v1.0.0" ; | :processing_level = "ONE OF ('demonstration', 'preoperational', 'operational')/vMAJOR.MINOR.REVISION";
:monitored_instrument = "FY2D S-VISSR" ; | :monitored_instrument = "SATELLITE INSTRUMENT";
:reference_instrument = "MetOpA IASI" ; | :monitored_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:date_created = "2016-12-23T02:23:45Z" ; | :reference_instrument = "SATELLITE INSTRUMENT";
:date_modified = "2016-12-23T02:23:45Z" ; | :reference_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:history = "none" ; | :date_created = "FILE CREATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:id = "W_CN-CMA-NSMC,SATCAL+NRTC+GEOLEOIR,FY2D+SVISSR-MetOpA+IASI_C_BABJ_20070523000000_demo_01.nc" ; | :date_modified = "FILE MODIFICATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:time_coverage_start = "2007-05-19T00:00:00Z" ; | :history = "VALUE OF DATE_MODIFIED PROCESSING SOFTWARE RUNTIME PARAMETERS";
:time_coverage_end = "2007-05-23T23:59:59Z" ; | :id = "FILE'S NAME";
:planck_function_constant_c1 = 1.19104e-05f ; | :time_coverage_start = "MINIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1" ; | :time_coverage_end = "MAXIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:planck_function_constant_c2 = 1.43877f ; | :window_period = "P-14D+14D" FOR GEO-LEO-IR RAC, "P-14D+0D" FOR GEO-LEO-IR NRTC (depends on each GPRC's definition);
:planck_function_constant_c2_unit = "K cm" ; | option1
:radiance_to_brightness_conversion_formula = "tb = ((c2 * wnc) / LN(1. + (c1*wnc^3)/radiance) - beta) / alpha" ; | :planck_function_constant_c1 = 1.19104E-5
:brightness_to_radiance_conversion_formula = "radiance = (c1 * wnc^3) / (EXP(c2 * wnc / (alpha*tb+beta)) - 1)" ; | :planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
} | :planck_function_constant_c2 = 1.43877
:planck_function_constant_c2_unit = "K cm"
:radiance_to_brightness_conversion_formula = "tb=((c2 *wnc)/ln(1.+(c1 * wnc^3)/radiance)-beta)/alpha"
:brightness_to_radiance_conversion_formula = "radiance=(c1 * wnc^3) / ((exp(c2 * wnc / (alpha*tb+beta)))-1.)"
option2
:planck_function_constant_c1 = 1.19104E-5
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
:planck_function_constant_c2 = 1.43877
:planck_function_constant_c2_unit = "K cm"
:radiance_to_brightness_conversion_formula = "tb = a1 + a2 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance)) + a3 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance))^2"
:brightness_to_radiance_conversion_formula = "radiance=(c1*wnc^3)/((exp(c2*wnc/(alpha*tb+beta)))-1.)"

## JMA
ncdump -h W_JP-JMA-MSC,SATCAL+NRTC,MTSAT2+Imager-MetOpA+IASI_C_RJTD_20130117000000_demo.nc
netcdf W_JP-JMA-MSC\,SATCAL+NRTC\,MTSAT2+Imager-MetOpA+IASI_C_RJTD_20130117000000_demo {
dimensions: | dimensions:
chan_strlen = 3 ; | chan = <positive integer>;
chan = 4 ; | chan_strlen = <positive integer>;
date = UNLIMITED ; // (1 currently) | date = ONE OF (<positive integer>, "UNLIMITED");
number_of_digital_counts_on_HRIT_table = 1024 ; | validity = 2;
validity = 2 ;
variables: | variables:
char channel_name(chan, chan_strlen) ; | float wnc(chan);
channel_name:units = "1" ; | :units = "cm^-1";
channel_name:long_name = "MTSAT2+Imager channel name" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
channel_name:standard_name = "instrument_channel_identifier" ; | float beta(chan);
double date(date) ; | :units = "K";
date:units = "seconds since 1970-01-01T00:00:00Z" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
date:long_name = "time of correction evaluation" ; | float alpha(chan);
date:standard_name = "time" ; | :units = "1";
date:calendar = "gregorian" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
date:bounds = "validity_period" ; | char channel_name(chan, chan_strlen);
int number_of_collocations(date, chan) ; | :standard_name = "sensor_band_identifier" ;
number_of_collocations:units = "1" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
number_of_collocations:long_name = "number of observations" ; | float central_wavelength(chan);
number_of_collocations:standard_name = "linear_term_of_spectral_radiance_correction_due_to_intercalibration number_of_observations" ; | :units = "m";
number_of_collocations:valid_min = 3389 ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
number_of_collocations:valid_max = 6730 ; | :standard_name = "sensor_band_central_radiation_wavelength";
float central_wavelength(chan) ; | double date(date);
central_wavelength:units = "m" ; | :units = "seconds since 1970-01-01T00:00:00Z";
central_wavelength:long_name = "MTSAT2+Imager wavelength of channel centre" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
central_wavelength:standard_name = "radiation_wavelength" ; | :calendar = "gregorian";
central_wavelength:valid_min = 3.8e-06f ; | :standard_name = "time";
central_wavelength:valid_max = 1.2e-05f ; | double validity_period(date, validity);
float offset(date, chan) ; | :units = "seconds since 1970-01-01T00:00:00Z";
offset:units = "1" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset:long_name = "regression offset" ; | :calendar = "gregorian";
offset:standard_name = "constant_term_of_spectral_radiance_correction_due_to_intercalibration" ; | :standard_name = "time";
offset:valid_min = 1023.095f ; | float slope(date, chan);
offset:valid_max = 1025.488f ; | :units = "1";
offset:ancillary_variables = "number_of_collocations" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float offset_se(date, chan) ; | :valid_min = -2.0f; // float
offset_se:units = "1" ; | :valid_max = 2.0f; // float
offset_se:long_name = "standard error of regression offset" ; | float slope_se(date, chan);
offset_se:standard_name = "constant_term_of_spectral_radiance_correction_due_to_intercalibration standard_error" ; | :units = "1";
offset_se:valid_min = 0.05270539f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset_se:valid_max = 0.1517862f ; | :valid_min = -2.0f; // float
float slope(date, chan) ; | :valid_max = 2.0f; // float
slope:units = "(mW m-2 sr-1(cm-1)-1)-1" ; | float offset(date, chan);
slope:long_name = "regression slope" ; | :units = "mW m-2 sr-1(cm-1)-1";
slope:standard_name = "linear_term_of_spectral_radiance_correction_due_to_intercalibration" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope:valid_min = -739.2736f ; | :valid_min = -200.0f; // float
slope:valid_max = -5.487474f ; | :valid_max = 200.0f; // float
slope:ancillary_variables = "number_of_collocations" ; | float offset_se(date, chan);
float slope_se(date, chan) ; | :units = "mW m-2 sr-1(cm-1)-1";
slope_se:units = "(mW m-2 sr-1(cm-1)-1)-1" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope_se:long_name = "standard error of regression slope" ; | :valid_min = -200.0f; // float
slope_se:standard_name = "linear_term_of_spectral_radiance_correction_due_to_intercalibration standard_error" ; | :valid_max = 200.0f; // float
slope_se:valid_min = 0.001346806f ; | float covariance(date, chan);
slope_se:valid_max = 0.1835704f ; | :units = "mW m-2 sr-1(cm-1)-1";
float covar(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
covar:units = "(mW m-2 sr-1(cm-1)-1)-1" ; | :valid_min = -200.0f; // float
covar:long_name = "covariance of correction slope and offset" ; | :valid_max = 200.0f; // float
covar:standard_name = "covariance_between_constant_and_linear_terms_of_spectral_radiance_correction" ; | float std_scene_tb(chan);
covar:valid_min = -0.01462537f ; | :units = "K";
covar:valid_max = -0.0004092093f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float std_scene_tb(date, chan) ; | :valid_min = 230.0f; // float
std_scene_tb:units = "K" ; | :valid_max = 290.0f; // float
std_scene_tb:long_name = "brightness temperature of standard scene" ; | float std_scene_tb_bias(date, chan);
std_scene_tb:standard_name = "toa_brightness_temperature_of_standard_scene" ; | :units = "K";
std_scene_tb:valid_min = 239.17f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb:valid_max = 286.7f ; | :valid_min = 10.0f; // float
float std_scene_tb_bias(date, chan) ; | :valid_max = -10.0f; // float
std_scene_tb_bias:units = "K" ; | float std_scene_tb_bias_se(date, chan);
std_scene_tb_bias:long_name = "brightness temperature bias for standard scene" ; | :units = "K";
std_scene_tb_bias:standard_name = "toa_brightness_temperature_bias_at_standard_scene_wrt_intercalibration" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb_bias:valid_min = -0.2630634f ; | :valid_min = 10.0f; // float
std_scene_tb_bias:valid_max = 0.0126828f ; | :valid_max = -10.0f; // float
float std_scene_tb_bias_se(date, chan) ; | int number_of_collocations(date, chan);
std_scene_tb_bias_se:units = "K" ; | :units = "1";
std_scene_tb_bias_se:long_name = "standard error of brightness temperature bias for standard scene" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb_bias_se:standard_name = "toa_brightness_temperature_bias_at_standard_scene_wrt_intercalibration standard_error" ; | :valid_min = 1; // int
std_scene_tb_bias_se:valid_min = 0.007338644f ; | :valid_max = 2147483647; // int
std_scene_tb_bias_se:valid_max = 0.07156626f ; | float a1(chan);
int number_of_digital_counts_on_HRIT_table(number_of_digital_counts_on_HRIT_table) ; | :units = "K";
number_of_digital_counts_on_HRIT_table:units = "1" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients offset term";
float calibration_table(date, chan, number_of_digital_counts_on_HRIT_table) ; | float a2(chan);
calibration_table:units = "K" ; | :units = "1";
calibration_table:long_name = "new calibration table created by GSICS Correction" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients first-order term";
calibration_table:standard_name = "toa_brightness_temperature_calibration_lookup_table" ; | float a3(chan);
calibration_table:valid_min = 118.019f ; | :units = "1";
calibration_table:valid_max = 330.1191f ; | :long_name = "radiance to brightness temperature conversion band correction coefficients second-order term";
double validity_period(date, validity) ;
validity_period:units = "seconds since 1970-01-01T00:00:00Z" ;
validity_period:long_name = "correction validity period start and end time" ;
validity_period:standard_name = "time" ;
validity_period:calendar = "gregorian" ;
int correction_info(date) ;
correction_info:units = "1" ;
correction_info:missing_value = -1 ;
correction_info:long_name = "unique reference id selection criteria set" ;
correction_info:standard_name = "Ancillary_information_about_corrections" ;
correction_info:flag_masks = "3, 12, 48, 192, 768, 3072, 12288, 49152, 196608, 786432, 3145728" ;
correction_info:flag_meanings = "smoothing time_of_day lat lon cloudy surface inc_ang azi_ang pol_ang sol_zen_ang sol_azi_ang" ;
correction_info:valid_min = 0 ;
correction_info:valid_max = 4194303 ;
// global attributes: | // global attributes:
:Conventions = "CF-1.5" ; | :Conventions = "CF-1.6";
:Metadata_Conventions = "Unidata Dataset Discovery v1.0" ; | :Metadata_Conventions = "Unidata Dataset Discovery v1.0";
:project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>" ; | :standard_name_vocabulary = "CF Standard Name Table (Version 19, 22 March 2012)";
:title = "GSICS Correction Coefficients" ; | :project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>";
:institution = "JMA" ; | :title = "TITLE MENTIONING THE PRODUCT TYPE, MONITORED, AND REFERENCE INSTRUMENTS";
:filename = "W_JP-JMA-MSC,SATCAL+NRTC,MTSAT2+Imager-MetOpA+IASI_C_RJTD_20130117000000_demo_01.nc" ; | :summary = "SUMMARY TEXT";
:creator_url = "http://mscweb.kishou.go.jp/monitoring/calibration.htm" ; | :keywords = "GSICS, satellite, remote sensing, inter-calibration, ONE OF ('reanalysis correction', 'near real time correction'), GEO-LEO-IR, MONITORED INSTRUMENT, REFERENCE INSTRUMENT, infrared";
:creator_email = "calmstr@dpc.kishou.go.jp" ; | :references = "DOCUMENTATION URL";
:wmo_data_category = 30s ; | :institution = "NAME OF DATA PRODUCER'S ORGANIZATION";
:wmo_international_data_subcategory = 4s ; | :license = "Information delivered as a GSICS product is generated in accordance with the GSICS principles and practices. GSICS products are public and may be used and redistributed freely. Any publication using GSICS products should acknowledge both GSICS and the relevant data creator organization. Neither the data creator, nor the data publisher, nor any of their employees or contractors, makes any warranty, express or implied, including warranties of merchantability and fitness for a particular purpose, or assumes any legal liability for the accuracy, completeness, or usefulness, of this information.";
:processing_level = "demonstration/v1.0.4" ; | :naming_authority = "REVERSE DNS OF YOUR DOMAIN";
:summary = "Inter-Calibration Results as regression coefficients and biases for reference scenes" ; | :creator_name = "DATA PRODUCER'S DEPARTMENT/OFFICE";
:comment = "Regression data period is 15 days." ; | :creator_email = "DATA PRODUCER'S CONTACT EMAIL";
:references = "http://mscweb.kishou.go.jp/monitoring/gsics/ir/techinfo.htm" ; | :creator_url = "DATA PRODUCER'S WEBSITE";
:history = "2013-01-22T04:52:04Z created by R script with ncdf library" ; | :wmo_data_category = 30; // type short
:time_coverage_start = "2013-01-03T00:00:00Z" ; | :wmo_international_data_subcategory = "4" FOR NRTC DATA, "5" FOR RAC DATA; // short
:time_coverage_end = "2013-01-17T23:59:59Z" ; | :local_data_subcategory = 1; // short
:monitored_instrument = "MTSAT2+Imager" ; | :geospatial_lat_min = SOUTHERNMOST LATITUDE; // float
:reference_instrument = "MetOpA+IASI" ; | :geospatial_lat_max = NORTHERNMOST LATITUDE; // float
:creator_name = "System Engineering Division, Meteorological Satellite Center, Japan Meteorological Agency" ; | :geospatial_lon_min = WESTERNMOST LONGITUDE; // float
:keywords = "GSICS, global space-based inter-calibration, GEO, LEO, geostationary, sun-synchronous, infrared, calibration coefficient,near real-time" ; | :geospatial_lon_max = EASTERNMOST LONGITUDE; // float
:date_created = "2013-01-22T04:52:04Z" ; | :geospatial_lat_units = "degrees_north";
:standard_name_vocabulary = "CF Standard Name Table (version 17, 24 March 2011)" ; | :geospatial_lon_units = "degrees_east";
} | :processing_level = "ONE OF ('demonstration', 'preoperational', 'operational')/vMAJOR.MINOR.REVISION";
:monitored_instrument = "SATELLITE INSTRUMENT";
:monitored_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:reference_instrument = "SATELLITE INSTRUMENT";
:reference_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:date_created = "FILE CREATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:date_modified = "FILE MODIFICATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:history = "VALUE OF DATE_MODIFIED PROCESSING SOFTWARE RUNTIME PARAMETERS";
:id = "FILE'S NAME";
:time_coverage_start = "MINIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:time_coverage_end = "MAXIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:window_period = "P-14D+14D" FOR GEO-LEO-IR RAC, "P-14D+0D" FOR GEO-LEO-IR NRTC (depends on each GPRC's definition);
option1
:planck_function_constant_c1 = 1.19104E-5
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
:planck_function_constant_c2 = 1.43877
:planck_function_constant_c2_unit = "K cm"
:radiance_to_brightness_conversion_formula = "tb=((c2 *wnc)/ln(1.+(c1 * wnc^3)/radiance)-beta)/alpha"
:brightness_to_radiance_conversion_formula = "radiance=(c1 * wnc^3) / ((exp(c2 * wnc / (alpha*tb+beta)))-1.)"
option2
:planck_function_constant_c1 = 1.19104E-5
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
:planck_function_constant_c2 = 1.43877
:planck_function_constant_c2_unit = "K cm"
:radiance_to_brightness_conversion_formula = "tb = a1 + a2 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance)) + a3 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance))^2"
:brightness_to_radiance_conversion_formula = "radiance=(c1*wnc^3)/((exp(c2*wnc/(alpha*tb+beta)))-1.)"

## KMA
ncdump -h W_KR-KMA-NMSC,SATCAL+NRTC+GEOLEOIR,COMS+MI-MetopA+IASI_C_RKSL_20170313000000_.nc
netcdf W_KR-KMA-NMSC\,SATCAL+NRTC+GEOLEOIR\,COMS+MI-MetopA+IASI_C_RKSL_20170313000000_ {
dimensions: | dimensions:
chan = 4 ; | chan = <positive integer>;
date1 = 1 ; | chan_strlen = <positive integer>;
chan_strlen = 5 ; | date = ONE OF (<positive integer>, "UNLIMITED");
validity = 2 ; | validity = 2;
variables: | variables:
float wnc(chan) ; | float wnc(chan);
wnc:units = "cm^-1" ; | :units = "cm^-1";
wnc:long_name = "channel central frequency of channel as wavenumber" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
wnc:_FillValue = -999999.f ; | float beta(chan);
wnc:valid_max = 2857.f ; | :units = "K";
wnc:valid_min = 800.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float alpha(chan) ; | float alpha(chan);
alpha:units = "K" ; | :units = "1";
alpha:long_name = "radiance to brightness temperature conversion coefficient alpha" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
alpha:_FillValue = -999999.f ; | char channel_name(chan, chan_strlen);
alpha:valid_max = 1.f ; | :standard_name = "sensor_band_identifier" ;
alpha:valid_min = 0.99f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float beta(chan) ; | float central_wavelength(chan);
beta:units = "-" ; | :units = "m";
beta:long_name = "radiance to brightness temperature conversion coefficient beta" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
beta:valid_max = 100.f ; | :standard_name = "sensor_band_central_radiation_wavelength";
beta:valid_min = 0.001f ; | double date(date);
beta:_FillValue = -999999.f ; | :units = "seconds since 1970-01-01T00:00:00Z";
int date(date1) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
date:units = "seconds since 1970-01-01T00:00:00Z" ; | :calendar = "gregorian";
date:long_name = "date of evaluation" ; | :standard_name = "time";
date:standard_name = "time" ; | double validity_period(date, validity);
date:calendar = "gregorian" ; | :units = "seconds since 1970-01-01T00:00:00Z";
char channel_name(chan, chan_strlen) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
channel_name:units = "-" ; | :calendar = "gregorian";
channel_name:long_name = "COMS MI Channel Name" ; | :standard_name = "time";
int number_of_collocation(date1, chan) ; | float slope(date, chan);
number_of_collocation:units = "1" ; | :units = "1";
number_of_collocation:long_name = "Number of collocations used to calculate correction" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
number_of_collocation:valid_max = 2147483647 ; | :valid_min = -2.0f; // float
number_of_collocation:valid_min = 1 ; | :valid_max = 2.0f; // float
number_of_collocation:_FillValue = -999999 ; | float slope_se(date, chan);
float central_wavelength(chan) ; | :units = "1";
central_wavelength:units = "m" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
central_wavelength:long_name = "COMS MI Wavelength of Channel Centre" ; | :valid_min = -2.0f; // float
central_wavelength:valid_max = 1.5e-05f ; | :valid_max = 2.0f; // float
central_wavelength:valid_min = 3.e-06f ; | float offset(date, chan);
central_wavelength:_FillValue = -999999.f ; | :units = "mW m-2 sr-1(cm-1)-1";
central_wavelength:standard_name = "radiation_wavelength" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float offset(date1, chan) ; | :valid_min = -200.0f; // float
offset:units = "mW m-2 sr-1(cm-1)-1" ; | :valid_max = 200.0f; // float
offset:long_name = "Regression Offset" ; | float offset_se(date, chan);
offset:valid_max = 200.f ; | :units = "mW m-2 sr-1(cm-1)-1";
offset:valid_min = -200.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset:_FillValue = -999999.f ; | :valid_min = -200.0f; // float
float offset_se(date1, chan) ; | :valid_max = 200.0f; // float
offset_se:units = "mW m-2 sr-1(cm-1)-1" ; | float covariance(date, chan);
offset_se:long_name = "Standard Error of Regression Offset" ; | :units = "mW m-2 sr-1(cm-1)-1";
offset_se:valid_max = 200.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset_se:valid_min = -200.f ; | :valid_min = -200.0f; // float
offset_se:_FillValue = -999999.f ; | :valid_max = 200.0f; // float
float slope(date1, chan) ; | float std_scene_tb(chan);
slope:units = "1" ; | :units = "K";
slope:long_name = "Regression Slope" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope:valid_max = 2.f ; | :valid_min = 230.0f; // float
slope:valid_min = -2.f ; | :valid_max = 290.0f; // float
slope:_FillValue = -999999.f ; | float std_scene_tb_bias(date, chan);
float slope_se(date1, chan) ; | :units = "K";
slope_se:units = "1" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope_se:long_name = "Standard Error of Regression Slope" ; | :valid_min = 10.0f; // float
slope_se:valid_max = 2.f ; | :valid_max = -10.0f; // float
slope_se:valid_min = -2.f ; | float std_scene_tb_bias_se(date, chan);
slope_se:_FillValue = -999999.f ; | :units = "K";
float covariance(date1, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
covariance:units = "mW m-2 sr-1(cm-1)-1" ; | :valid_min = 10.0f; // float
covariance:long_name = "Regression Coefficients Covariance" ; | :valid_max = -10.0f; // float
covariance:valid_max = 200.f ; | int number_of_collocations(date, chan);
covariance:valid_min = -200.f ; | :units = "1";
covariance:_FillValue = -999999.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float std_scene_tb(date1, chan) ; | :valid_min = 1; // int
std_scene_tb:units = "K" ; | :valid_max = 2147483647; // int
std_scene_tb:long_name = "Brightness Temperature of Standard Scene" ; | float a1(chan);
std_scene_tb:valid_max = 290.f ; | :units = "K";
std_scene_tb:valid_min = 230.f ; | :long_name = "radiance to brightness temperature conversion band correction coefficients offset term";
std_scene_tb:_FillValue = -999999.f ; | float a2(chan);
float std_scene_tb_bias(date1, chan) ; | :units = "1";
std_scene_tb_bias:units = "K" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients first-order term";
std_scene_tb_bias:long_name = "Brightness Temperature Bias for Standard Scene" ; | float a3(chan);
std_scene_tb_bias:valid_max = 10.f ; | :units = "1";
std_scene_tb_bias:valid_min = -10.f ; | :long_name = "radiance to brightness temperature conversion band correction coefficients second-order term";
std_scene_tb_bias:_FillValue = -999999.f ;
float std_scene_tb_bias_se(date1, chan) ;
std_scene_tb_bias_se:units = "K" ;
std_scene_tb_bias_se:long_name = "Standard Error of Brightness Temperature Bias for Standard Scene" ;
std_scene_tb_bias_se:valid_max = 10.f ;
std_scene_tb_bias_se:valid_min = -10.f ;
std_scene_tb_bias_se:_FillValue = -999999.f ;
int validity_period(date1, validity) ;
validity_period:units = "sec" ;
validity_period:long_name = "seconds since 1970-01-01T00:00:00Z" ;
validity_period:standard_name = "time" ;
validity_period:calendar = "gregorian" ;
// global attributes: | // global attributes:
:Conventions = "CF-1.6" ; | :Conventions = "CF-1.6";
:Metadata_Conventions = "Unidata Dataset Discovery v1.0" ; | :Metadata_Conventions = "Unidata Dataset Discovery v1.0";
:standard_name_vocabulary = "CF Standard Name Table (Version 19, 22 March 2012)" ; | :standard_name_vocabulary = "CF Standard Name Table (Version 19, 22 March 2012)";
:project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>" ; | :project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>";
:title = "GSICS COMS+MI vs MetOpA-IASI GSICS Real-Analysis Correction" ; | :title = "TITLE MENTIONING THE PRODUCT TYPE, MONITORED, AND REFERENCE INSTRUMENTS";
:summary = "Coefficients of the GSICS Correction for the infrared channels of a GEOstationary imager using a LEO hyperspectral reference instrument" ; | :summary = "SUMMARY TEXT";
:keywords = "GSICS, satellite, remote sensing, inter-calibration, near real time correction, GEO-LEO-IR, MONITORED INSTRUMENT, REFERENCE INSTRUMENT, infrared" ; | :keywords = "GSICS, satellite, remote sensing, inter-calibration, ONE OF ('reanalysis correction', 'near real time correction'), GEO-LEO-IR, MONITORED INSTRUMENT, REFERENCE INSTRUMENT, infrared";
:references = " NMSC GSICS Product documentation, http://nmsc.kma.go.kr/html/homepage/en/gsics/gsicsMain.do" ; | :references = "DOCUMENTATION URL";
:institution = "NMSC" ; | :institution = "NAME OF DATA PRODUCER'S ORGANIZATION";
:license = "Information delivered as a GSICS product is generated in accordance with the GSICS principles and practices. GSICS products are public and may be used and redistributed freely. Any publication using GSICS products should acknowledge both GSICS and the relevant data creator organization. Neither the data creator, nor the data publisher, nor any of their employees or contractors, makes any warranty, express or implied, including warranties of merchantability and fitness for a particular purpose, or assumes any legal liability for the accuracy, completeness, or usefulness, of this information." ; | :license = "Information delivered as a GSICS product is generated in accordance with the GSICS principles and practices. GSICS products are public and may be used and redistributed freely. Any publication using GSICS products should acknowledge both GSICS and the relevant data creator organization. Neither the data creator, nor the data publisher, nor any of their employees or contractors, makes any warranty, express or implied, including warranties of merchantability and fitness for a particular purpose, or assumes any legal liability for the accuracy, completeness, or usefulness, of this information.";
:naming_authority = "kr.go.kma.nmsc" ; | :naming_authority = "REVERSE DNS OF YOUR DOMAIN";
:creator_name = "NMSC - National Meteorological Satellite Center" ; | :creator_name = "DATA PRODUCER'S DEPARTMENT/OFFICE";
:creator_email = "dolong@korea.kr" ; | :creator_email = "DATA PRODUCER'S CONTACT EMAIL";
:creator_url = "http://nmsc.kma.go.kr/" ; | :creator_url = "DATA PRODUCER'S WEBSITE";
:wmo_data_category = 30s ; | :wmo_data_category = 30; // type short
:wmo_international_data_subcategory = 4s ; | :wmo_international_data_subcategory = "4" FOR NRTC DATA, "5" FOR RAC DATA; // short
:local_data_subcategory = 1s ; | :local_data_subcategory = 1; // short
:geospatial_lat_min = -90. ; | :geospatial_lat_min = SOUTHERNMOST LATITUDE; // float
:geospatial_lat_max = 90. ; | :geospatial_lat_max = NORTHERNMOST LATITUDE; // float
:geospatial_lon_min = -180. ; | :geospatial_lon_min = WESTERNMOST LONGITUDE; // float
:geospatial_lon_max = 180. ; | :geospatial_lon_max = EASTERNMOST LONGITUDE; // float
:geospatial_lat_units = "degrees_north" ; | :geospatial_lat_units = "degrees_north";
:geospatial_lon_units = "degrees_east" ; | :geospatial_lon_units = "degrees_east";
:processing_level = "demonstration/v1.0.0" ; | :processing_level = "ONE OF ('demonstration', 'preoperational', 'operational')/vMAJOR.MINOR.REVISION";
:monitored_instrument = "COMS MI" ; | :monitored_instrument = "SATELLITE INSTRUMENT";
:reference_instrument = "MetOpA IASI" ; | :monitored_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:date_created = "2017-03-16T14:00:38Z" ; | :reference_instrument = "SATELLITE INSTRUMENT";
:date_modified = "2017-03-16T14:00:38Z" ; | :reference_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:history = "2015-02-10 Collocation by NMSC GSICS Product" ; | :date_created = "FILE CREATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:id = "W_KR-KMA-NMSC,SATCAL+NRTC+GEOLEOIR,COMS+MI-MetopA+IASI_C_RKSL_20170313000000_demo_01.nc" ; | :date_modified = "FILE MODIFICATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:time_coverage_start = "2017-02-13T00:00:00Z" ; | :history = "VALUE OF DATE_MODIFIED PROCESSING SOFTWARE RUNTIME PARAMETERS";
:time_coverage_end = "2017-02-27T23:59:59Z" ; | :id = "FILE'S NAME";
:planck_function_constant_c1 = "1.19104E-5" ; | :time_coverage_start = "MINIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1" ; | :time_coverage_end = "MAXIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:planck_function_constant_c2 = 1.43877 ; | :window_period = "P-14D+14D" FOR GEO-LEO-IR RAC, "P-14D+0D" FOR GEO-LEO-IR NRTC (depends on each GPRC's definition);
:planck_function_constant_c2_unit = "K cm" ; | option1
:radiance_to_brightness_conversion_formula = "tb=((c2 *wnc)/ln(1.+(c1 * wnc^3)/radiance)-beta)/alpha" ; | :planck_function_constant_c1 = 1.19104E-5
:brightness_to_radiance_conversion_formula = "radiance=(c1 * wnc^3) / ((exp(c2 * wnc / (alpha*tb+beta)))-1.)" ; | :planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
} | :planck_function_constant_c2 = 1.43877
:planck_function_constant_c2_unit = "K cm"
:radiance_to_brightness_conversion_formula = "tb=((c2 *wnc)/ln(1.+(c1 * wnc^3)/radiance)-beta)/alpha"
:brightness_to_radiance_conversion_formula = "radiance=(c1 * wnc^3) / ((exp(c2 * wnc / (alpha*tb+beta)))-1.)"
option2
:planck_function_constant_c1 = 1.19104E-5
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
:planck_function_constant_c2 = 1.43877
:planck_function_constant_c2_unit = "K cm"
:radiance_to_brightness_conversion_formula = "tb = a1 + a2 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance)) + a3 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance))^2"
:brightness_to_radiance_conversion_formula = "radiance=(c1*wnc^3)/((exp(c2*wnc/(alpha*tb+beta)))-1.)"

## EUMETSAT
ncdump -h W_XX-EUMETSAT-Darmstadt,SATCAL+NRTC+GEOLEOIR,MSG3+SEVIRI-MetOpA+IASI_C_EUMG_2.nc
netcdf W_XX-EUMETSAT-Darmstadt\,SATCAL+NRTC+GEOLEOIR\,MSG3+SEVIRI-MetOpA+IASI_C_EUMG_2 {
dimensions: | dimensions:
chan = 8 ; | chan = <positive integer>;
chan_strlen = 5 ; | chan_strlen = <positive integer>;
validity = 2 ; | date = ONE OF (<positive integer>, "UNLIMITED");
date = UNLIMITED ; // (1 currently) | validity = 2;
variables: | variables:
char channel_name(chan, chan_strlen) ; | float wnc(chan);
channel_name:standard_name = "sensor_band_identifier" ; | :units = "cm^-1";
channel_name:long_name = "MSG3+SEVIRI Channel Name" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
int number_of_collocations(date, chan) ; | float beta(chan);
number_of_collocations:long_name = "number of collocations used to calculate correction" ; | :units = "K";
number_of_collocations:units = "1" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
number_of_collocations:valid_min = 1 ; | float alpha(chan);
number_of_collocations:valid_max = 2147483647 ; | :units = "1";
number_of_collocations:_FillValue = -10066329 ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float central_wavelength(chan) ; | char channel_name(chan, chan_strlen);
central_wavelength:standard_name = "sensor_band_central_radiation_wavelength" ; | :standard_name = "sensor_band_identifier" ;
central_wavelength:long_name = "MSG3+SEVIRI Wavelength of Channel Centre" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
central_wavelength:units = "m" ; | float central_wavelength(chan);
central_wavelength:valid_min = 3.e-06f ; | :units = "m";
central_wavelength:valid_max = 1.5e-05f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
central_wavelength:_FillValue = -999999.f ; | :standard_name = "sensor_band_central_radiation_wavelength";
float std_scene_tb(chan) ; | double date(date);
std_scene_tb:long_name = "brightness temperature of standard scene" ; | :units = "seconds since 1970-01-01T00:00:00Z";
std_scene_tb:units = "K" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb:valid_min = 200.f ; | :calendar = "gregorian";
std_scene_tb:valid_max = 300.f ; | :standard_name = "time";
std_scene_tb:_FillValue = -999999.f ; | double validity_period(date, validity);
float offset(date, chan) ; | :units = "seconds since 1970-01-01T00:00:00Z";
offset:long_name = "regression offset" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset:units = "mW m-2 sr-1(cm-1)-1" ; | :calendar = "gregorian";
offset:valid_min = -200.f ; | :standard_name = "time";
offset:valid_max = 200.f ; | float slope(date, chan);
offset:_FillValue = -999999.f ; | :units = "1";
float offset_se(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
offset_se:long_name = "standard error of regression offset" ; | :valid_min = -2.0f; // float
offset_se:units = "mW m-2 sr-1(cm-1)-1" ; | :valid_max = 2.0f; // float
offset_se:valid_min = -200.f ; | float slope_se(date, chan);
offset_se:valid_max = 200.f ; | :units = "1";
offset_se:_FillValue = -999999.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
float slope(date, chan) ; | :valid_min = -2.0f; // float
slope:long_name = "regression slope" ; | :valid_max = 2.0f; // float
slope:units = "1" ; | float offset(date, chan);
slope:valid_min = -2.f ; | :units = "mW m-2 sr-1(cm-1)-1";
slope:valid_max = 2.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope:_FillValue = -999999.f ; | :valid_min = -200.0f; // float
float slope_se(date, chan) ; | :valid_max = 200.0f; // float
slope_se:long_name = "standard error of regression slope" ; | float offset_se(date, chan);
slope_se:units = "1" ; | :units = "mW m-2 sr-1(cm-1)-1";
slope_se:valid_min = -2.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
slope_se:valid_max = 2.f ; | :valid_min = -200.0f; // float
slope_se:_FillValue = -999999.f ; | :valid_max = 200.0f; // float
float covariance(date, chan) ; | float covariance(date, chan);
covariance:long_name = "regression coefficients covariance" ; | :units = "mW m-2 sr-1(cm-1)-1";
covariance:units = "mW m-2 sr-1(cm-1)-1" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
covariance:valid_min = -200.f ; | :valid_min = -200.0f; // float
covariance:valid_max = 200.f ; | :valid_max = 200.0f; // float
covariance:_FillValue = -999999.f ; | float std_scene_tb(chan);
float std_scene_tb_bias(date, chan) ; | :units = "K";
std_scene_tb_bias:long_name = "brightness temperature bias for standard scene" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb_bias:units = "K" ; | :valid_min = 230.0f; // float
std_scene_tb_bias:valid_min = -10.f ; | :valid_max = 290.0f; // float
std_scene_tb_bias:valid_max = 10.f ; | float std_scene_tb_bias(date, chan);
std_scene_tb_bias:_FillValue = -999999.f ; | :units = "K";
float std_scene_tb_bias_se(date, chan) ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
std_scene_tb_bias_se:long_name = "standard error of brightness temperature bias for standard scene" ; | :valid_min = 10.0f; // float
std_scene_tb_bias_se:units = "K" ; | :valid_max = -10.0f; // float
std_scene_tb_bias_se:valid_min = -10.f ; | float std_scene_tb_bias_se(date, chan);
std_scene_tb_bias_se:valid_max = 10.f ; | :units = "K";
std_scene_tb_bias_se:_FillValue = -999999.f ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
double date(date) ; | :valid_min = 10.0f; // float
date:standard_name = "time" ; | :valid_max = -10.0f; // float
date:long_name = "date of evaluation" ; | int number_of_collocations(date, chan);
date:units = "seconds since 1970-01-01T00:00:00Z" ; | :units = "1";
date:calendar = "gregorian" ; | :long_name = "DESCRIPTION OF VARIABLE'S CONTENT";
date:bounds = "validity_period" ; | :valid_min = 1; // int
byte alert(date) ; | :valid_max = 2147483647; // int
alert:long_name = "alert for changes within window" ; | float a1(chan);
alert:units = "1" ; | :units = "K";
double validity_period(date, validity) ; | :long_name = "radiance to brightness temperature conversion band correction coefficients offset term";
validity_period:standard_name = "time" ; | float a2(chan);
validity_period:long_name = "correction validity period" ; | :units = "1";
validity_period:units = "seconds since 1970-01-01T00:00:00Z" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients first-order term";
validity_period:calendar = "gregorian" ; | float a3(chan);
float wnc(chan) ; | :units = "1";
wnc:long_name = "channel central frequency of channel as wavenumber" ; | :long_name = "radiance to brightness temperature conversion band correction coefficients second-order term";
wnc:units = "cm^-1" ;
wnc:valid_min = 545.f ;
wnc:valid_max = 2760.f ;
wnc:_FillValue = -999999.f ;
float alpha(chan) ;
alpha:long_name = "radiance to brightness temperature conversion coefficient alpha" ;
alpha:units = "1" ;
alpha:valid_min = 0.99f ;
alpha:valid_max = 1.f ;
alpha:_FillValue = -999999.f ;
float beta(chan) ;
beta:long_name = "radiance to brightness temperature conversion coefficient beta" ;
beta:units = "K" ;
beta:valid_min = 0.001f ;
beta:valid_max = 100.f ;
beta:_FillValue = -999999.f ;
// global attributes: | // global attributes:
:Conventions = "CF-1.6" ; | :Conventions = "CF-1.6";
:Metadata_Conventions = "Unidata Dataset Discovery v1.0" ; | :Metadata_Conventions = "Unidata Dataset Discovery v1.0";
:standard_name_vocabulary = "CF Standard Name Table (Version 19, 22 March 2012)" ; | :standard_name_vocabulary = "CF Standard Name Table (Version 19, 22 March 2012)";
:project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>" ; | :project = "Global Space-based Inter-Calibration System <http://gsics.wmo.int>";
:title = "MSG3+SEVIRI vs MetOpA+IASI GSICS Near Real-Time Correction" ; | :title = "TITLE MENTIONING THE PRODUCT TYPE, MONITORED, AND REFERENCE INSTRUMENTS";
:summary = "Coefficients of the GSICS Correction for the infrared channels of a GEOstationary imager using a LEO hyperspectral reference instrument" ; | :summary = "SUMMARY TEXT";
:institution = "EUMETSAT" ; | :keywords = "GSICS, satellite, remote sensing, inter-calibration, ONE OF ('reanalysis correction', 'near real time correction'), GEO-LEO-IR, MONITORED INSTRUMENT, REFERENCE INSTRUMENT, infrared";
:date_created = "2017-03-18T05:23:51Z" ; | :references = "DOCUMENTATION URL";
:date_modified = "2017-03-18T05:23:51Z" ; | :institution = "NAME OF DATA PRODUCER'S ORGANIZATION";
:license = "Calibration information delivered as a GSICS operational product is generated in accordance with GSICS principles and practices.;\n", | :license = "Information delivered as a GSICS product is generated in accordance with the GSICS principles and practices. GSICS products are public and may be used and redistributed freely. Any publication using GSICS products should acknowledge both GSICS and the relevant data creator organization. Neither the data creator, nor the data publisher, nor any of their employees or contractors, makes any warranty, express or implied, including warranties of merchantability and fitness for a particular purpose, or assumes any legal liability for the accuracy, completeness, or usefulness, of this information.";
"GSICS operational and demonstration products may be used and redistributed freely. Scientific publications using GSICS operational or demonstration products should however acknowledge both GSICS and the relevant producer organization.;\n", | :naming_authority = "REVERSE DNS OF YOUR DOMAIN";
"There is no warranty on the data express or implied, including warranties of merchantability and fitness for a particular purpose, or any assumed legal liability for the accuracy, completeness, or usefulness, of this information. The user of the data do so at their own risk." ; | :creator_name = "DATA PRODUCER'S DEPARTMENT/OFFICE";
:naming_authority = "int.eumetsat.gsics" ; | :creator_email = "DATA PRODUCER'S CONTACT EMAIL";
:creator_name = "EUMETSAT - European Organisation for the Exploitation of Meteorological Satellites" ; | :creator_url = "DATA PRODUCER'S WEBSITE";
:creator_email = "ops@eumetsat.int" ; | :wmo_data_category = 30; // type short
:creator_url = "http://www.eumetsat.int" ; | :wmo_international_data_subcategory = "4" FOR NRTC DATA, "5" FOR RAC DATA; // short
:references = "ATBD, Unidata NetCDF, Climate Format Conventions, EUMETSAT IASI 1C Native Format Guide" ; | :local_data_subcategory = 1; // short
:history = "2017-03-17T22:00:00Z hypirsno_match_file_nc collocation_criteria=v0.3;\n", | :geospatial_lat_min = SOUTHERNMOST LATITUDE; // float
"2017-03-17T22:00:00Z hypirsno_collocate v0.3 collocation_criteria=v0.3;\n", | :geospatial_lat_max = NORTHERNMOST LATITUDE; // float
"2017-03-17T22:00:00Z hypirsno_convolve v0.1 SRF=v1.95;\n", | :geospatial_lon_min = WESTERNMOST LONGITUDE; // float
"2017-03-17T22:00:00Z hypirsno_analyse v0.3 filter=0;\n", | :geospatial_lon_max = EASTERNMOST LONGITUDE; // float
"2017-03-18T05:23:51Z hypirsno_output v03.07.00 filter=0 corr=NRTC" ; | :geospatial_lat_units = "degrees_north";
:processing_level = "demonstration/v03.07.00" ; | :geospatial_lon_units = "degrees_east";
:time_coverage_start = "2017-03-17T00:00:00Z" ; | :processing_level = "ONE OF ('demonstration', 'preoperational', 'operational')/vMAJOR.MINOR.REVISION";
:time_coverage_end = "2017-03-17T24:00:00Z" ; | :monitored_instrument = "SATELLITE INSTRUMENT";
:geospatial_lat_min = -35.f ; | :monitored_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:geospatial_lat_max = 35.f ; | :reference_instrument = "SATELLITE INSTRUMENT";
:geospatial_lon_min = -35.f ; | :reference_instrument_code = "WMO_SATELLITE_CODE WMO_INSTRUMENT_CODE";
:geospatial_lon_max = 35.f ; | :date_created = "FILE CREATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:geospatial_lat_units = "degrees_north" ; | :date_modified = "FILE MODIFICATION TIME IN YYYY-MM-DDThh:mm:ssZ";
:geospatial_lon_units = "degrees_east" ; | :history = "VALUE OF DATE_MODIFIED PROCESSING SOFTWARE RUNTIME PARAMETERS";
:id = "W_XX-EUMETSAT-Darmstadt,SATCAL+NRTC+GEOLEOIR,MSG3+SEVIRI-MetOpA+IASI_C_EUMG_20170317000000_demo_03.nc" ; | :id = "FILE'S NAME";
:wmo_data_category = 30s ; | :time_coverage_start = "MINIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:wmo_international_data_subcategory = 4s ; | :time_coverage_end = "MAXIMUM OF THE VALIDITY_PERIOD VARIABLE AS YYYY-MM-DDThh:mm:ssZ";
:local_data_subcategory = 1s ; | :window_period = "P-14D+14D" FOR GEO-LEO-IR RAC, "P-14D+0D" FOR GEO-LEO-IR NRTC (depends on each GPRC's definition);
:keywords = "GSICS, satellites, inter-calibration, etc." ; | option1
:reference_instrument = "MetOpA IASI" ; | :planck_function_constant_c1 = 1.19104E-5
:monitored_instrument = "MSG3 SEVIRI" ; | :planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
:reference_instrument_wmo_code = 4s, 221s ; | :planck_function_constant_c2 = 1.43877
:monitored_instrument_wmo_code = 57s, 207s ; | :planck_function_constant_c2_unit = "K cm"
:window_period = "P14D" ; | :radiance_to_brightness_conversion_formula = "tb=((c2 *wnc)/ln(1.+(c1 * wnc^3)/radiance)-beta)/alpha"
:comment = "Use the NRTC with the time closest to the time of interest. Take great caution when applying it at a date where this difference is greater than the window_period." ; | :brightness_to_radiance_conversion_formula = "radiance=(c1 * wnc^3) / ((exp(c2 * wnc / (alpha*tb+beta)))-1.)"
:readMeDocURL = "http://www.eumetsat.int/Home/Main/DataProducts/Calibration/Inter-calibration/" ; | option2
:atbd_URL = "http://www.eumetsat.int/Home/Main/DataProducts/Calibration/Inter-calibration/" ; | :planck_function_constant_c1 = 1.19104E-5
:number_of_times = 1 ; | :planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1"
:number_of_validities = 2 ; | :planck_function_constant_c2 = 1.43877
:planck_function_constant_c1 = 1.19104e-05f ; | :planck_function_constant_c2_unit = "K cm"
:planck_function_constant_c1_unit = "mW(cm^-1)^-4 m^-2 sr^-1" ; | :radiance_to_brightness_conversion_formula = "tb = a1 + a2 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance)) + a3 * ((c2*wnc)/ln(1.+(c1*wnc^3)/radiance))^2"
:planck_function_constant_c2 = 1.43877f ; | :brightness_to_radiance_conversion_formula = "radiance=(c1*wnc^3)/((exp(c2*wnc/(alpha*tb+beta)))-1.)"
:planck_function_constant_c2_unit = "K cm" ;
:radiance_to_brightness_conversion_formula = "tb=((c2 * wnc)/LN(1.+(c1 * wnc^3)/radiance)-beta)/alpha" ;
:brightness_to_radiance_conversion_formula = "radiance=(c1 * wnc^3) / ((EXP(c2 * wnc / (alpha*tb+beta)))-1)" ;
}