## Slide 1
Preparation of LCWS 3 – 10.12.2019
S. Wagner – EUMETSAT
T. Stone - USGS
3rd Lunar Calibration Workshop – Potential topics

## Slide 2: Main sessions
Measurements and Moon observations
Model development
Instrument monitoring using lunar calibration
Alternative usages of lunar imagery
Any other topic?  in perspective with other activities
  SI traceability workshop (Sept. 2019)
  Pre-launch characterisation workshop (planned for Oct. 2020)
Workshop activities?  model inter-comparison exercise

## Slide 3: Measurements and Moon observations, (towards SI traceability)
Session to learn about:
Outcome of on-going efforts to achieve absolute calibration with lunar calibration
Campaigns to derive new calibration references / new approaches (irradiances / radiance)
On-going efforts to achieve SI-traceability
Status of the GLOD
Expending the spectral range?

## Slide 4: Measurements and Moon observations, (towards SI traceability)
ESA project with sun photometers
High-altitude aircraft measurements by NIST (Air-LUSI project)
NIST Mauna Loa project
ARCSTONE/CLARREO/Truth/etc. as a follow-on of the workshop on SI traceability
New measurements campaigns + potential for expending the spectral range?

## Slide 5: Model development
Current status of the ROLO + GIRO / traceability + updates
Related activities (reference solar spectrum, etc.)
New models, including radiance models
Interest for developing models for new regions of the solar spectrum  microwave
Model inter-comparison?  Workshop format as LCWS#1
See next presentation

## Slide 6
Recent efforts toward developing new lunar models
The logical next step after acquiring new measurements
Presenters should prepare to explain:
the instrument(s) and dataset(s) used
  types of measurements: direct irradiance | radiance images | line-scanned images, etc.
  instrument calibration
    traceability to radiometric reference standards
    checks on instrument effects: linearity, stray light, temperature sensitivity, etc.
    calibration uncertainties
  atmospheric corrections (for ground-based measurements)
  combined measurement uncertainties
  dataset phase and libration coverages
model formulation
  how the model addresses Moon behaviors:
    phase dependence, including waxing/waning difference, phase reddening
    libration dependence
    opposition surge

## Slide 7
Recent efforts toward developing new lunar models
model formulation (cont.)
  spectral resolution
    for both model development and operation
  solar irradiance
    model(s) and/or datset(s) used
model validation
  comparisons to ROLO or GIRO (use GIRO benchmark?)
  applying and comparing to lunar measurements (other than the data used to develop the model)
Potential presenters:
  ESA photometer project: Marc Bouvet, Stefan Adriaensen
  air-LUSI: Kevin Turpie
  SLIM: Hugh Kieffer
  Miller-Turner: Steve Miller
  CMA (if there is modeling progress to report): ???
  USGS-ROLO (if there is modeling progress to report): Tom Stone

## Slide 8: Model development – potential presenters
JAXA-AIST (Toru Kouyama): potentially, some information about sharing SP model, which is a JAXA-AIST lunar reflectance model in Japan
EUMETSAT: new model developed in collaboration with Earth Space Solutions (using SCIAMACHY + RELAB).
Who else?

## Slide 9: Instrument monitoring using lunar calibration
Lunar calibration and monitoring of Reflective Solar Bands  status provided by the various agencies participating, with potential issues (oversampling, straylight, etc.)
    Inter-band checks?
Inter-calibration (depending on progress)
Microwave domain
Examples:
  JAXA-AIST (Toru Kouyama)  Recent results of monitoring sensor status with the lunar calibration at the workshop (next topics)
  Same as GCOM-C/SGLI? (Hiroshi Murakami)
  Sentinel-3 OLCI/SLSTR lunar data (EUMETSAT/ESA)
  EUMETSAT’s future programs and lunar calibration (TBC + right session?)

## Slide 10: Alternative usages of lunar imagery
MTF post-launch characterization using lunar observations (project led NOAA)
Straylight correction assessment and improvement
Ghost / X-talk
Any other topic.

## Slide 11
Discussion