## Slide 1
Full Waveform Metrology Methods with Frequency-domain Techniques
Yichi Zhang
National Institute of Metrology, Beijing, China

## Slide 2: Outline
Full waveform metrology
Time-domain techniques and traceability
Frequency-domain approach
Typical Applications
Discussion

## Slide 3: Standards of Fundamental RF Parameters
Gain
(dB)
E
(V/m)
P
(watt)
VRF
(Volt)
Noise
(K)
A
(dB)
Z
(Ω)
Radio-Frequency
Metrology
Defined on Sine Waves (CW Signals)

## Slide 4: Impulse Waveform Standard
Electro-Optic Sampling (EOS) systems by NMIs
The ONLY primary standard for non-sine RF signals
Traditional application: ultra-fast measurement

## Slide 5: Development of Waveform Metrology
Increasing demand by 5G industry
From ultra-fast to wideband complex modulation
From impulse characteristics to point-by-point waveforms
t
V
Δt
t
V
h
Characteristics
Full waveform metrology
5G signals

## Slide 6: Full Waveform Metrology by NIST
Voltage to waveform: Technology trend from voltage to waveform measurements, voltage comparisons will become waveform comparisons at higher frequencies.
Digital communication, 5G, Internet of Things, THz technologies: Need for traceability of fundamental RF&MW measurement quantities at higher frequencies.
2015, concept proposed by the NIST
2017, strategy of CCEM

## Slide 7: Outline
Full waveform metrology
Time-domain techniques and traceability
Frequency-domain approach
Typical Applications
Discussion

## Slide 8: Classic Time-domain Approach
K. A. Remley, et al, “Millimeter-Wave Modulated-Signal and Error-Vector-Magnitude Measurement With Uncertainty,” IEEE Trans. Microw. Theory Techn., vol. 66, no. 5, pp.1710–1720, May 2015.
Sampling oscilloscope based measurement system
Precise synchronization between test and auxiliary signals

## Slide 9: Traceability and Applications
Direct traceability to the EOS primary standard
2015, 64-QAM (44 GHz, 1 GS/s)
2020, OTA reference (92.4 GHz , 1.1 GS/s)
K. Remley, IEEE T-MTT, 2015.
P. Manurkar, IEEE T-MTT, 2020.

## Slide 10: Outline
Full waveform metrology
Time-domain techniques and traceability
Frequency-domain approach
Typical Applications
Discussion

## Slide 11: Measurement Principle
Vector Network Analyzer (VNA) based measurement system
Magnitude and phase spectra characterization
Waveform reconstruction

## Slide 12: Magnitude and Phase Calibration
Sweep-sine magnitude calibration using power sensor
Dense-spectral-grid phase calibration using pulsed-RF signals

## Slide 13: Comparison with Time-domain Technique
Traceability
Time-domain: EOS standard
Frequency-domain: Power standard
Precise synchronization
Time-domain: test signals (LO & IF) and time-base-correction signals
Frequency-domain: test signals and phase REF. / CAL. signals
Advantages
Dynamic range
Simplicity

## Slide 14: Outline
Full waveform metrology
Time-domain techniques and traceability
Frequency-domain approach
Typical Applications
Discussion

## Slide 15: Standard of Digital Modulation Signal
User-defined 64-QAM / Multisine / Pulsed-RF
Precise synchronization between IF and LO signals

## Slide 16: Standard of Digital Modulation Signal
EVM traceable to magnitude and phase measurements
Modulation bandwidth up to 2 GHz
Y. Zhang et al, “Precisely Synchronized NVNA Setup for Digitally Modulated Signal Generation and Measurement at 5G-Oriented Millimeter-Wave Test Bands,” IEEE Trans. Microw. Theory Techn., 2021.

## Slide 17: OTA Test of IBFD Antenna Systems
In-band full-duplex (IBFD) test scenario
Non-overlapping spectral design of test stimuli

## Slide 18: OTA Test of IBFD Antenna Systems
Easy separation of TR and RX signals
EVM performance under ON- and OFF-axis setups
Y. Zhang et al, “NVNA Test Bench for Characterizing In-band Full Duplex Performance of Millimeter-Wave Antennas,” IEEE Trans. Antennas Propag., 2021

## Slide 19: FMCW Calibration for Automotive Radar
Frequency modulation continuous wave (FMCW)
Characterization of chirp parameters

## Slide 20: FMCW Calibration for Automotive Radar
Traceable FMCW parameters
Instrument calibration for automotive radar systems
Y. Zhang et al, “Frequency-domain Characterization of Millimeter-wave FMCW Signal based on a precisely synchronized NVNA Measurement Setup,” accepted by IMS2022

## Slide 21: Outline
Full waveform metrology
Time-domain techniques and traceability
Frequency-domain approach
Typical Applications
Discussion

## Slide 22: Potential Applications for Remote Sensing
Signal level
Measurement standard of wideband complex signals
Traceability to primary RF standards
Instrument level
Calibration of wideband transmitters and receivers
Non-classic parameters of RF metrology
System level
OTA test and verification under realistic working scenarios

## Slide 23
Thanks for your attention