## Slide 1
Alessandra Cacciari, Rosemary Munro, Ruediger Lang,
Rasmus Lindstrot, Sebastian Gimeno Garcia, Frank Ruethrich, Gabriele Poli, Malcolm Taberner
GOME-2 Level1

## Slide 2: The GOME-2 instrument on Metop
Wavelength [nm]
GOME-2 main channel transmittance
Aerosol
O3
HCHO
SO2
BrO
OClO
NO2
(O2)2
O3
H2O
O2
I/I0
GOME-2:
series of 3 instruments on Metop
sun-synchronous orbit, 09:30
412 orbits (29 days) repeat cycle
Global coverage 1.5 days
240 nm to 800 nm
0.25 to 0. 5 nm spectral resolution (FWHM)
4 channels with 4098 energy measurements of polarisation corrected radiances (40 x 80 km2)
2 channels with 512 energy measurements of linear polarised light in perpendicular direction (S/P) (40 x 10 km2)
240
790

## Slide 3: Metop satellites in mid-morning orbit
Metop-B launched 2012
is the prime satellite (LST 09:30 LST desc. node)
Metop-A launched 2006
is drifting since 2017
de-orbiting planned by mid November 2021
Metop-C launched 7 Nov. 2018
operational since 3 July 2019 (LST 09:30 LST desc. node)
GOME-2 FM3 Metop-A
GOME-2 FM2 Metop-B
GOME-2 FM1 Metop-C

## Slide 4
GOME-2 optical layout
Scanning grating spectrometer with a random-access linear silicon photodiode array
Earthshine
Sun (daily)
Spectral Light Source
SLS (daily)
White Light Source
WLS (daily)
Solar diffuser
Calibration
Unit
Common (Earth/Solar/Cal) path
Scan Mirror

## Slide 5
Instrument design aspects
Thermal control and degradation
Spectra stability (long-term and orbital)
Spectral resolution (long-term and orbital)
Quality on-ground calibration measurements
On-ground to in-orbit changes
The correction/control over contamination and its dynamic
- thermally uncontrolled optical bench
degradation in the optical path through degradation and contamination of optical surfaces
dominate large parts of the observed in-orbit continuous calibration aspects
Throughput of SMR GOME-2 Metop-B
Optical bench temperature over 1 orbit
DT=1K
Optical bench temperature (long term)
DT=3K
DT=7K

## Slide 6
The change in the centre line position does not exhibit any long-term trend
It is predominantly correlated with seasonal changes of the OB temperature
(and orbital as known from level-2 retrievals)
Spectral calibration and stability full mission to Feb 2021
GOME-2 FM2 Metop-B
GOME-2 FM1 Metop-C

## Slide 7
Spectral calibration and stability full mission to Feb 2021
GOME-2 FM3 Metop-Ac
The different regimes are most likely triggered by the change in OB temperature.
Jumps observed
0.4 nm around 315nm,
0.01 nm around 340,
0.03 nm around 380nm
Impact observed on Lev2 retrieval
(SO2, O3)
~ + 2% O3 TOC
Negative SO2 Col

## Slide 8
GOME-2 FM2 Metop-B
Spectral calibration and stability full mission to Feb 2021
Jumps observed
0.01 nm around 315nm,
0.004 nm around 340,
0.02 nm around 380nm
Impact observed on Lev2 retrieval
(SO2, O3)
~ - 2% O3 TOC

## Slide 9
Spectral calibration and stability full mission to Feb 2021
GOME-2 FM1 Metop-C

## Slide 10
GOME2 /A EOL test campaigns Test EOL 09
understanding spectral calibration and its stability
NOMINAL CONDITIONS
GOME-2 detectors are cooled and actively controlled whereas the Optical Bench and therefore pre-disperser prism controlling spectral dispersion are not
during nominal operations spectral calibration measurements are taken at a fixed point in the orbit
 fixed pixel to wavelength assignment with no dependence on temperature
 effect of orbital variation in temperature of the OB and PDP on spectral assignment not captured
temperature dependence of spectral calibration can only be assessed using long-time series due to gradual change in platform temperature
TEST
SLS active for one full orbit to capture the variation along the orbit
1st instance 16.06.2020
2nd instance 28.09.2020
3rd instance April 2021
FPA1
FPA2
FPA3
FPA4
16/06/2020 28/09/2020
Optical Bench Temperature
average shift per detector pixel
Average changes (min – max)
found in the pixel to wavelength assignment
FPA1 Δλ [nm] (0.0005 – 0.0035)
  FPA2 Δλ [nm] (0.004 – 0.006)
  FPA3 Δλ [nm] (0.02 – 0.04)
  FPA4 Δλ [nm] (0.0025 – 0.008)
GOME-2 FM3 Metop-A

## Slide 11
Comparison between two solar spectra calibrated with the daily spectral calibration SLS based algorithm
GOME-2 FM3 Metop-A
Spectral calibration and stability alternative Fraunhofer-based method

## Slide 12
Comparison between two solar spectra calibrated with Fraunhofer algorithm prototype
Spectral calibration and stability alternative Fraunhofer-based method
GOME-2 FM3 Metop-A

## Slide 13
Throughput of GOME-2 sources
Full mission to Feb 2021 normalised to mission’s beginning
GOME-2 FM3 Metop-A

## Slide 14
Throughput of GOME-2 sources
Full mission to Feb 2021 normalised to mission’s beginning
GOME-2 FM2 Metop-B

## Slide 15
Throughput of GOME-2 sources
Full mission to Feb 2021 normalised to mission’s beginning
GOME-2 FM1 Metop-C

## Slide 16
Throughput of GOME-2 SMR
Full mission to Feb 2021 normalised to mission’s beginning FPA channels
GOME-2 FM3 Metop-A
GOME-2 FM2 Metop-B
GOME-2 FM1 Metop-C
Colorbar limits
[0.05 ,1]
Colorbar limits
[0.1 ,1]
Colorbar limits
[0.6 ,1]

## Slide 17
PPF 6.3.3 and Repro R3 campaign
Reprocessing campaign R3 (GOME2-A/B) - 2007-2018
R3. PPF 6.3.3 (current CGS settings)
      Repro data-set production completed end of Nov 2020 (~ 130 TB)
      L1b Validation process ongoing
Offline L1C processor with degradation correction for Earthshine and solar path
  Updated GOME-2 level-1C coefficients
        Evaluation ongoing of the Degradation correction coefficients
R4 PPF 7.1 – next reprocessing campaign
  A/B/C beginning of missions – 2020

## Slide 18
PPF 6.3.3 and Repro R3 campaign
  Updated GOME-2 level-1C coefficients
        Evaluation ongoing of the Degradation correction coefficients

## Slide 19
PPF 6.3.3 and Repro R3 campaign
GOME-2 FM3 Metop-A

## Slide 20
PPF 6.3.3 and Repro R3 campaign
GOME-2 FM2 Metop-B

## Slide 21
PPF 7.0.1
Implementation of solar model for solar gaps (PPF 6.2 / Jan 2018)
  Updated SMR error calculation (formulation for SMR values from solar model)
  Added SMR_Backup (SMR measured values, also in case of solar visibility loss)
Spectral calibration
  Continuous over-orbit spectral calibration shift using LUT w.r.t. PDP temperature  to be integrated with results from Metop-A EOL tests
Fresco+ version 2 with GOME-2 directional LER database
Update of product format to version 13.0
  Test-data and documentation available for reader update
PPF 7.1.0
Spectral calibration from solar measurements - Fraunhofer based algorithm
  Improved stability and accuracy
  Including slit-function fitting and provision of Super-gauss slit-function parameters
PPF 7.0 and beyond OPE processing
Test ongoing in the TEST OPE computing environment
Planned to be operational
May 2021
Test ongoing in Offline + TEST OPE computing environments
Planned for Q4 2021
PPF development Status

## Slide 22
Thank you