## Slide 1: OMI collection 4 calibration and instrument performance
David Haffner1,2, Quintus Kleipool3, Nico Rozemeijer3, Antje Ludewig3, Glen Jaross2, Jonatan Leloux3, Erwin Loots3, Mirna van Hoek3, Emiel van der Plas3, Matthew Bandel1,2, Zachary Fasnacht1,2
1SSAI, 2NASA GSFC, 3KNMI
GSICS Annual Meeting UVNS Breakout Session
10 March 2022

## Slide 2: Outline
OMI Instrument
OMI Collection 4
Radiance and Irradiance Calibration
Other important calibration/performance changes
Feedback from Science Team

## Slide 3: Ozone Monitoring Instrument (OMI)
2D CCD spectrometer operating since 2004 on EOS Aura (LTAN 13:45)
2600 km swath; ground pixel size at nadir 13x24 km2
Three hyperspectral bands:

## Slide 4: Motivation for OMI Collection 4
Importance of OMI data in global AC/AQ observing system
Calibration and data issues to address
Prepare for Exit from A-Train
Consolidate institutional knowledge
Much more data available since start of Collection 3 (2007)
Responsibility for OMI has been transferred KNMI to NASA

## Slide 5: Collection 4 and NASA Transition Activities
Instrument Calibration
Degradation corrections
Fundamentally revised calibration
Full reconstruction of cal. chain
Operations and Monitoring
Thermal Stabilization
Operations Baseline
Preparations for A-Train Exit
Calibration trending overhaul
Processing Algorithms and Software
Entirely new L0-1b processor
L2 Science algorithm updates
Major coordination effort between NASA & KNMI, L1B & L2 teams, Science & Support Teams

## Slide 6: OMI Collection 3 vs. Collection 4
Calibration registration basis
wavelength
pixel

## Slide 7: OMI Instrument Design
Radiance: M1*M2*S*E
Irradiance: D*FM*M2*S*E
M2
M1
D
S
FM
M1. Primary Mirror
M2. Secondary Mirror
D. Diffuser
S. Spectrometer
E. Electronics

## Slide 8: Changes in Irradiance Signal

## Slide 9: 340 nm Ice Radiance Trends

## Slide 10: Radiance Degradation Correction

## Slide 11: Changes in Band 2 & 3 Radiance Channels

## Slide 12: 340/500 nm Spectral Dependence

## Slide 13: Recent thermal stabilization of OPB and detector

## Slide 14: RTS over-flagging issues now resolved
Gain ratio drift corrected
Collection 4 gain ratios address a 0.4% drift

## Slide 15
Glyoxal
“Retrievals using Collection 4 look more stable than those using Collection 3 and low and high biases disappear.”
June 21 2020
Daily OMI Tropospheric Column ozone maps
Collection 4
Collection 3
Juseon Bak (PNU), Xiong Liu (SAO)
Feedback from the Science Team on Collection 4 L1B Data
2005
Solar Activity
“(the Collection 4) solar indices are less noisy than the Collection 3 … in 2019 the data come to better agreement with the benchmark Bremen composite index. Both things are quite important.”
Profile/Tropospheric Ozone
“In both UV1 and UV2 bands, the fitting accuracies are improved with Collection 4, especially for UV2.”
Sergey Marchenko (SSAI/NASA)

## Slide 16: Backup Slides

## Slide 17: Improved Pixel Flagging

## Slide 18: Recent Row Anomaly Shift