## Slide 1: Impact analysis of change in input data on the AHI vicarious calibration
EIKI Misaki
Meteorological Satellite Center of Japan Meteorological Agency

## Slide 2: Outline
・Himawari-8/9 AHI visible and near-infrared data calibration accuracy has been monitored by referring radiative transfer calculation.
・Input data of the vicarious calibration was updated.
・Impact of the change was investigated.

## Slide 3: Himawari-8/9
Band | (um)
B01 | 0.47
B02 | 0.51
B03 | 0.64
B04 | 0.86
B05 | 1.6
B06 | 2.3
B07 | 3.9
B08 | 6.2
B09 | 6.9
B10 | 7.3
B11 | 8.6
B12 | 9.6
B13 | 10.4
B14 | 11.2
B15 | 12.4
B16 | 13.3
Himawari-8 began operation on 7 July 2015.
Switchover of operational satellite from Himawari-8 to -9 was carried out on 13 December 2022.
Himawari-8 began operation as a backup for Himawari-9 on 13 December 2022.
Advanced Himawari Imager (AHI)

## Slide 4: AHI VNIR vicarious calibration
・Radiative transfer calculation using the model "RSTAR" for a few types of targets
  Input: Cloud and aerosol parameters retrieved from MODIS L1B(Aqua,Terra), Aura/OMI Ozone L3, JRA-55 (JMA‘s reanalysis data)
・Targets in use
  Water cloud
  Sea surface
    used in
    Band3-Band6(0.64-2.3um)
・Web page
https://www.data.jma.go.jp/mscweb/data/monitoring/gsics/vis/monit_visvical.html

## Slide 5: Input data update
Change in input data on 29 October 2022.
(including a minor bug fix)
・Atmospheric profile (JMA’s Reanalysis data)
JRA-55 → JRA-3Q
・Ozone
Aura/OMI → SNPP/OMPS

## Slide 6: Japanese Reanalysis for Three Quarters of a Century (JRA-3Q)
・JRA-3Q is the Japanese long-term reanalysis.
It covers the period from September 1947 to the current period.
・JRA-3Q is made by a high performance data assimilation system incorporating development results from the operational NWP system and sea surface temperature analysis since previous Japanese reanalysis.(JRA-55)
・JRA-3Q data is distributed in near real time(only inside of JMA).
The details about JRA-3Q are available from:
https://jra.kishou.go.jp/JRA-3Q/index_en.html

## Slide 7: Impact analysis
Switchover of the operational satellite from Himawari-8 to Himawari-9 was carried out on 13 December 2022.
However, this comparison was made use of AHI on Himawari-8 data.
Case studies
1. JRA-55 vs. JRA-3Q(2020/08)
2. OMI vs. OMPS(2021/12)
3. OMI,JRA-55 vs. OMPS,JRA-3Q(2022/3-2022/12)

## Slide 8: 1. JRA-55 vs. JRA-3Q
JRA-55
B01
B02
B04
B03
B06
B05
B01
B02
B03
B04
B05
B06
Vertical:
Simulated reflectivity
Horizontal:
Observed reflectivity
B01: 0.47um
B02: 0.51um
B03: 0.64um
B04: 0.86um
B05: 1.6um
B06: 2.3um
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Aqua/MODIS
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Terra/MODIS
0.0 0.2 0.4 0.6 0.8 1.0

## Slide 9: 1. JRA-55 vs. JRA-3Q
JRA-3Q
B01
B02
B04
B03
B06
B05
B01
B02
B03
B04
B05
B06
Vertical:
Simulated reflectivity
Horizontal:
Observed reflectivity
B01: 0.47um
B02: 0.51um
B03: 0.64um
B04: 0.86um
B05: 1.6um
B06: 2.3um
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Aqua/MODIS
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Terra/MODIS
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0

## Slide 10: 1. JRA-55 vs. JRA-3Q
There is no significant difference in appearance.
Difference of slope is about 0.2%
 | JRA-55 (Aqua/ MODIS) | JRA-3Q (Aqua /MODIS) | JRA-55 (Terra/ MODIS) | JRA-3Q (Terra/ MODIS)
B01 | 1.014 | 1.014 | 1.001 | 1.001
B02 | 1.026 | 1.026 | 1.012 | 1.013
B03 | 1.009 | 1.008 | 0.991 | 0.991
B04 | 1.000 | 0.999 | 0.982 | 0.983
B05 | 0.960 | 0.961 | 0.969 | 0.970
B06 | 1.058 | 1.060 | 1.095 | 1.097
Slope of regression

## Slide 11: 2. OMI vs. OMPS
OMI
B01
B02
B04
B03
B06
B05
B01
B02
B03
B04
B05
B06
Vertical:
Simulated reflectivity
Horizontal:
Observed reflectivity
B01: 0.47um
B02: 0.51um
B03: 0.64um
B04: 0.86um
B05: 1.6um
B06: 2.3um
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Aqua/MODIS
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Terra/MODIS
0.0 0.2 0.4 0.6 0.8 1.0

## Slide 12: 2. OMI vs. OMPS
OMPS
B01
B02
B04
B03
B06
B05
B01
B02
B03
B04
B05
B06
Vertical:
Simulated reflectivity
Horizontal:
Observed reflectivity
B01: 0.47um
B02: 0.51um
B03: 0.64um
B04: 0.86um
B05: 1.6um
B06: 2.3um
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Aqua/MODIS
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
0.0 0.2 0.4 0.6 0.8 1.0
Terra/MODIS
0.0 0.2 0.4 0.6 0.8 1.0

## Slide 13: 2. OMI vs. OMPS
There is no significant difference in appearance.
Difference of slope is about 0.9%
 | OMI (Aqua/ MODIS) | OMPS (Aqua /MODIS) | OMI (Terra/ MODIS) | OMPS (Terra/ MODIS)
B01 | 1.033 | 1.033 | 1.022 | 1.021
B02 | 1.045 | 1.045 | 1.034 | 1.033
B03 | 1.024 | 1.025 | 1.011 | 1.011
B04 | 1.014 | 1.015 | 1.002 | 1.001
B05 | 0.967 | 0.971 | 0.969 | 0.969
B06 | 1.059 | 1.065 | 1.069 | 1.068
Slope of regression

## Slide 14: 3. OMI,JRA-55 vs. OMPS,JRA-3Q
Aqua/MODIS
Blue:OMI,JRA-55
Red:OMPS,JRA-3Q
Difference of slope is about 0.4%
B06
B05
B04
B01
B02
B03
Slope
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
May Jul Sep Nov
2022
0.95 1.00 1.05 1.10
Slope
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
0.95 1.00 1.05 1.10
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
May Jul Sep Nov
2022
Slope of the regression(2022/03 to 2022/12)

## Slide 15: 3. OMI,JRA-55 vs. OMPS,JRA-3Q
Terra/MODIS
Blue:OMI,JRA-55
Red:OMPS,JRA-3Q
Difference of slope is about 0.3%
B06
B05
B04
B01
B02
B03
Slope
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
May Jul Sep Nov
2022
0.95 1.00 1.05 1.10
Slope
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
0.95 1.00 1.05 1.10
0.95 1.00 1.05 1.10
May Jul Sep Nov
2022
May Jul Sep Nov
2022
Slope of the regression(2022/03 to 2022/12)

## Slide 16: Summary and Future work
・Summary
JMA/MSC compares Himawari-8/9 AHI visible and near-infrared data with radiative transfer calculation to check its calibration accuracy.
Input data of vicarious calibration was changed.
There is no significant difference, which indicates that the vicarious calibration approach robust for the input atmospheric profiles.
・Future work
Transition from MODIS to VIIRS

## Slide 17
Thank you for your attention

## Slide 18: Reference
Kobayashi, S., Y. Kosaka, J. Chiba, T. Tokuhiro, Y. Harada, C. Kobayashi, and H. Naoe, 2021: JRA-3Q: Japanese Reanalysis for Three Quarters of a Century. Joint WCRP-WWRP Symposium on Data Assimilation and Reanalysis/ECMWF Annual Seminar 2021, online, 13-17 September 2021, O4-2.

## Slide 20: 3. OMI,JRA-55 vs. OMPS,JRA-3Q Himawari-9
Aqua/MODIS
Bule:OMI,JRA-55
Red:OMPS,JRA-3Q
B06
B05
B04
B01
B02
B03
Slope
0.95 1.00 1.05 1.10
Nov Jan
2022 2023
Nov Jan
2022 2023
0.95 1.00 1.05 1.10
Slope
0.95 1.00 1.05 1.10
Nov Jan
2022 2023
0.95 1.00 1.05 1.10
Nov Jan
2022 2023
0.95 1.00 1.05 1.10
0.95 1.00 1.05 1.10
Nov Jan
2022 2023
Nov Jan
2022 2023
Slope of the regression(2022/09 to 2023/1)

## Slide 21: 3. OMI,JRA-55 vs. OMPS,JRA-3Q Himawari-9
Terra/MODIS
Bule:OMI,JRA-55
Red:OMPS,JRA-3Q
B06
B05
B04
B01
B02
B03
Slope
0.95 1.00 1.05 1.10
Oct Nov Dec Jan
2022 2023
0.95 1.00 1.05 1.10
Slope
0.95 1.00 1.05 1.10
0.95 1.00 1.05 1.10
0.95 1.00 1.05 1.10
0.95 1.00 1.05 1.10
Slope of the regression(2022/10 to 2023/1)
Oct Nov Dec Jan
2022 2023
Oct Nov Dec Jan
2022 2023
Oct Nov Dec Jan
2022 2023
Oct Nov Dec Jan
2022 2023
Oct Nov Dec Jan
2022 2023

## Slide 22
Input factors | 
Atmospheric profile temperature pressure water vapor sea surface wind speed | Japanese reanalysis
Ozone amount | OMI,OMPS
Cloud optical parameters optical thickness effective radius | MODIS
Input factors to radiative transfer calculation for water cloud

## Slide 23
http://gsics.atmos.umd.edu/pub/Development/AtbdCentral/MTSAT_vis_vicarious_calibration_outline.pdf