## Slide 1: Report Out for UV/Vis/NIR Spectrometer Subgroup (UVN-S Subgroup)
L. Flynn (NOAA), Alessandra Cacciari (EUMETSAT)

## Slide 2: Disclaimer
"The contents of this presentation are those of the authors and do not necessarily reflect any position of the US Government or the National Oceanic and Atmospheric Administration."

## Slide 3
28 Feb 2023/ UVN Spectrometer Break Out Session Auditorium |  |  | 
Chair: Larry Flynn: Minutes: |  |  | 
Time (EST) | Title | Presenter | 
13:30 | 3a. CMA OMS pre-launch calibration & instrument performance | Yuan Li CMA (Remote) | 
13:45 | 3b. TropoMI Calibration | Melanie Coldewey-Egbers DLR (Remote) | 
14:00 | 3c. Changes in observed straylight in TROPOMI | Antje Ludewig KNMI (Remote) | 
14:15 | 3d. GOME-2 End of Life tests | Alessandra Cacciari EuMetSat (Remote) | 
14:30 | 3e. ESA FDR4ATMOS project | Melanie Coldewey-Egbers DLR (Remote) | 
14:45 | 3f. OMPS Calibration | Banghua Yan NOAA | 
15:00 | 3g. GEMS Calibration and Solar | Mijin Eo EWHA | 
15:15 | 3h. EPIC Calibration | Jay Herman (Remote) | 
15:30 | Break |  | 
15:45 | 3i. TEMPO Calibration | Xiong Liu CFA (Remote) | 
16:00 | 3j. OMI and TropoMI V2 solar records | Sergey Marchenko SSAI/NASA | 
16:15 | 3k. Inter-calibration approaches for GEMS | Yeeun Lee EWHA | 
16:30 | 3l. OCO-3/GEMS XCO2 and NO2 Near-Simultaneous Observations | Thomas Kurosu JPL (Remote) | 
16:45 | 3m. V8TOz as a transfer standard | Larry Flynn NOAA | 

## Slide 4: Quick Summary of presentations (1/3)
A good mix of updates ranging from CDRs for past instruments (GOME/SCIAMACHY), to End-of-Life (Metop-A GOME-2), to “operational” sensors (EPIC, NPP OMPS), to newer sensors (GEMS / TropoMI), to recently launched (NOAA-21 OMPS), to soon to be launched (TEMPO, OMS) with excursions to solar irradiance studies (OMI / TropoMI) and product comparisons (OCO-3 and GEMS). Further details will be in the minutes, or you can view an entire talk at the meeting website.
The first presentation by Yuan Li (CMA) gave the status of calibration for the OMS instrument. The planned date of the OMS Launch on FY-3F is August 2023.
The second presentation by Melanie Coldewey-Egbers (DLR) gave information on the status of TropoMI calibration and reprocessing.
The third presentation by Antje Ludewig (KNMI) continued with results for the reprocessing with emphasis on the improved straylight corrections for TropoMI.

## Slide 5: Quick Summary of presentations (2/3)
The fourth presentation by Alessandra Cacciari (EuMetSat) gave a summary of end-of-life tests and analysis for the Metop-A GOME-2.
The fifth presentation by Melanie Coldewey-Egbers (DLR) introduced the ESA FDR4ATMOS project with initial target of harmonization of GOME and SCIAMACHY Level 1 records.
The sixth presentation by Banghua Yan (NOAA) gave an update on the validation of the New NOAA-21 OMPS Nadir Mapper and Nadir Profiler measurements.
The seventh presentation by Mijin Eo (EWHA) gave information on the status of GEMS in-flight characterization and reprocessing including solar measurements.
The eighth presentation by Jay Herman (UMBC) discussed the use of EPIC and its hourly measurements of the full sunlit disk for comparisons to instruments on all platforms.

## Slide 6: Quick Summary of presentations (3/3)
The ninth presentation by Xiong Liu (CFA) gave an extensive description of the planned pre- and post-launch calibration and validation activities for the TEMPO instrument (April 2023 launch date).
The tenth presentation by Sergey Marchenko (SSAI/NASA) looked at the state-of-the-art capability of using solar measurements of Fraunhofer lines to identify drifts in stray light correction performance with OMI and TropoMI as examples.
The eleventh talk by Yeeun Lee (EWHA) gave the status of current and planned comparisons of GEMS measurements to other GEO and LEO instruments.
The twelfth talk by Thomas Kurosu (JPL) looked at SNO comparisons of OCO-3 XCO2 and GEMS NO2 products.
The thirteenth talk by Larry Flynn (NOAA) presented results using the V8TOz retrieval algorithm to compare the calibration of sensors in the UV for three channels (318 nm, 331 nm and 372 nm) for OMPS, GOME-2, TropoMI and GEMS.
Notes: *CMA SIM could be compared to OMI time series with Sergey’s methods

## Slide 7: Summary
UVN-S Subgroup members are making use of a range of GSICS methods including
  DCC Methods
  Ray tracing
  SNOs with/without Double Differencing
  Radiative Transfer modeling
  Rayleigh scattering
  Comparisons to TSIS HSRS reference and OMI time series for solar
  PICS and other ground sites (e.g., Open Ocean, Ice fields)
There is good communication across the community.
OCO, TropoMI and CO2M gave four NIR-related talks in various sessions.
The OCO/GOSAT/TropoMI Calibration Team have productive quarterly meetings and have invited participation by GSICS and CO2M in those meetings.

## Slide 8
There is significant overlap with the Vis/NIR group and we will continue to hold topical meetings with participation by both subgroups.