GSICS Product Acceptance Form

Version 1.2

GSICS Coordination Center

May 2010

Please remit completed form and supporting documents to:

Bob Iacovazzi, Jr.

GSICS Coordination Center, Deputy Director

E-Mail: Bob.Iacovazzi@noaa.gov

Address: NOAA Science Center, Room 712, Camp Springs, MD, USA  20746

Phone: 1-301-763-8346 x358

GSICS Product Acceptance Form

Document ID: GSICS_GCC_GPAF_V01.2

Change History

| Version | Date (MM/DD/YYYY) | Point of Contact | Change |
| --- | --- | --- | --- |
| 1.0 | 30/11/2009 | Bob Iacovazzi, GCC | Baseline |
| 1.1 | 29/03/2010 | Bob Iacovazzi, GCC | Changed the ordering of the product form elements to better align with the GPPA workflow plan. |
| 1.2 | 04/05/2010 | Bob Iacovazzi GCC | Clarifications and grammatical edits |

Form Overview.

The GSICS Procedure for Product Acceptance (GPPA) is the

- GSICS product developers pathway to obtain a “Stamp of Approval” for a potential product;

- GSICS data users window to GSICS product quality and “fitness for purpose”;

- GSICS governing body reference for judging GSICS product fitness.

The GPPA was inspired by the need to find a mechanism to assess GSICS product quality, as well as by the Quality Assurance Framework for Earth Observations (QA4EO) spearheaded by the Committee on Earth Observation Satellites (CEOS) Working Group on Cal/Val (WGCV).  To aid in understanding of the GPPA, the most recent version of the procedure and its workflow milestones can be found at the GSICS Wiki at the following URL: https://cs.star.nesdis.noaa.gov/GSICS/GppaWorkflow.

The GSICS Product Acceptance Form (GPAF) is designed to help the GSICS product developers and governing body evaluate and track product quality through the product acceptance procedure.  Furthermore, it allows a data user to clearly understand what product quality measures are in place once a product has been accepted as a GSICS product.  Finally, the GPAF can be used as a product quality maintenance tool, since product quality assurance is a living process requiring updates to product quality indicators and their associated documentation.

Directions.

Fill out blanks in the form as directed from the GPPA Workflow found at https://cs.star.nesdis.noaa.gov/GSICS/GppaWorkflow.  If a supporting document can be found on-line, then giving a link to the document is acceptable.  If a supporting document cannot be found on-line, then electronic copies of the document can be attached along with the submission of the GPAF.  Remit the GPAF electronically to the e-mail address given on the cover page of this document.

Also, for further ideas about implementing the GPPA, please see the Quality Assurance Framework for Earth Observations web site at http://qa4eo.org/.

SECTION I.  Product Provider Information

| I.1. Proposed Product Name | GSICS VNIR product for Meteosat imagers |
| --- | --- |
| I.2. Submitting Organization Name | EUMETSAT |
| I.3. Point of Contact of Product Provider |  |
| I.3.A. Name | Sébastien Wagner |
| I.3.B. E-Mail Address | sebastien.wagner@eumetsat.int |
| I.3.C. Physical Address | Eumetsat-Allee 1, 64295 Darmstadt, Germany |
| I.3.D. Phone | +49 6151 807 7344 |
| 1.3.E. FAX (Optional) |  |
| 1.3.F. URL (Optional) | http://www.eumetsat.int |

SECTION II.  Product Information

II.1.  Brief Product Description (1 page or less)

These GSICS VNIR products combine the results from EUMETSAT’s facilities operating GSICS inter-calibration algorithms. Currently only the GSICS Deep Convective Clouds (DCC) method is available for the visible band. The products are produced in Re-Analysis mode and will be also provided in Near-Real Time mode.

These products can be derived from Meteosat First and Second Generation, as the GSICS DCC method is applicable to all geostationary imagers with a reflective solar band around 0.6 or 0.7μm to be inter-calibrated and an 11μm band to detect the DCC. However, at present, the demonstration data sets are available only for Meteosat-9/SEVIRI. It is planned to extend the range of products to Meteosat-8, 10 and 11. Additionally, it is foreseen that this method will be applied to more channels in the future such once the current reference instrument (Aqua MODIS) will be replaced by Suomi NPP/VIIRS.

II.2. What is the product scope within GSICS? (Describe the general significance and purpose of the product to the GSICS mission.)

These products aim to support the operational use of the reflective solar bands available on the monitored instrument. They also support the generation of Fundamental Climate Data Records (FCDRs) for monitored instruments operating over extended periods using pseudo invariant targets as calibration transfer.

II.3. What are the general product function and performance specifications? (These are the high-level design requirements of the product, which include what the product will do and how well it will do it.)

The general requirements are to provide the ability to monitor the calibration of the GEO imager and functionality to correct any significant biases found within a stated uncertainty of less than about 1%. To apply the GSICS VNIR products, the user needs:

- The L1.5 Meteosat/SEVIRI data to be corrected,

- Regularly updated GSICS Products, available from GSICS Data and Products Server

SECTION III.  Product Documentation

III.1  Product Development

Product providers, evaluators, and users all need to know the detailed physical basis of the product, and the basic structure of the product data files.  The documentation created for this section will be evidence of fulfillment of this goal.

III.1.A  Product Output Adherence to GSICS Standards

This documents that the product output is designed to meet GSICS accepted file naming and format conventions.

III.1.A.1. Product is designed to have data output files that meet GSICS file naming conventions documented on the GSICS Wiki at https://cs.star.nesdis.noaa.gov/GSICS/FilenameConvention?

| x | Yes | W_XX-EUMETSAT-Darmstadt,SATCAL+RAC+GEOLEOVNIR,MSG2+SEVIRI-AQUA+MODIS_C_EUMG_20121231000000_demo_blend_v1.nc |
| --- | --- | --- |

III.1.A.2. Product is designed to have data output files that meet GSICS file format conventions documented on the GSICS Wiki at https://cs.star.nesdis.noaa.gov/GSICS/NetcdfConvention?

| x | Yes | Examples available from EUMETSAT’s GSICS Data and Products Server (http://gsics.eumetsat.int) at above hyperlinks |
| --- | --- | --- |

III.1.B  Algorithm Theoretical Basis Document (ATBD)

Discussion of physical principles supporting the product.  In its preliminary draft, this could be in the form of references to journal article(s), or stand-alone technical information. Needs to include an algorithm flowchart, including data I/O and logic, and process element descriptions.

| Is the ATBD completed? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: The ATBD is ready for review on the GSICS wiki https://gsics.nesdis.noaa.gov/pub/Development/AtbdCentral/ATBD_for_EUMETSAT_GSICS_Inter-Calibration_with_MODIS_using_Deep_Convective_Clouds.docx Once accepted following this review, the ATBD will also be available for download from EUMETSAT’s Inter-Calibration Product Status Summary website: http://www.eumetsat.int/website/home/Data/Products/Calibration/Intercalibration/index.html |

III.1.C  Plan to Establish Measurement Traceability to Reference Standards

Describes the traceability chain to reference standards (preferably international measurement standards).  If the measurement reference standard is not traceable to international standards, this clearly needs to be stated and justified.

| Is the measurement traceability plan completed? |  |  |
| --- | --- | --- |
| x | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: The availability of the documentation on the traceability of Aqua MODIS to SI standards needs to be checked with NASA GSFC. The location for making the documentation available still needs to be agreed with NASA GSFC and NASA GPRC. |

III.2 Product Implementation

Procedures that meet current "best practices" in regards to establishing analysis software, harnessing radiative transfer models, and making calibration/validation measurements that are fundamental to implementing theory to create products.

III.2.A Harnessing Radiative Transfer Models

III.2.A.1. Model Description

| Does the model contain a detailed model description? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | The GSICS DCC method uses the Hu model to describe the reflectance at the top of the convective cloud. It is applied to correct the observations from both the monitored and reference instruments to overhead-sun reflectance conditions to account for geometrical differences between the viewing and illumination conditions. The reference to the paper is available in the GSICS DCC ATBD. Web or FTP Site Location: https://gsics.nesdis.noaa.gov/pub/Development/AtbdCentral/GSICS_ATBD_DCC_NASA_2011_09.pdf |

III.2.A.2. Model Users’ Guide.

| Does the model come with a users’ guide? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | A description on how to use the model is given in the GSICS wiki as part of the verification package. Web or FTP Site Location: https://gsics.nesdis.noaa.gov/wiki/Development/DccWorkArea |

III.2.A.3. Model Input Description.

| Is there a description of data or input atmospheric soundings and boundary conditions used by the model? |  |  |
| --- | --- | --- |
| x | Not /Applicable | What is the justification? NASA GPRC provides the Hu model as a look-up table (LUT). The LUT entry points are the measured reflectance and the observation geometrical conditions. It returns a top-of-cloud albedo as an output for an equivalent overhead sun. As this albedo is divided by the input reflectance, the remaining output is in fact the correction factor to move from the observed count/radiance to the equivalent overhead-sun observation. |

III.2.A.4.  Model Verification and Validation.

| Is there documents that report model verification results or test studies? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Several models were tried. The Hu model was judged to be the most appropriate (see CMA presentation https://gsics.nesdis.noaa.gov/pub/Development/20150203/2015-01-12-DCC_Analysis-Lin.ppt). The reference to the paper on the Hu model is available in the GSICS DCC ATBD. Web or FTP Site Location: https://gsics.nesdis.noaa.gov/pub/Development/AtbdCentral/GSICS_ATBD_DCC_NASA_2011_09.pdf |

III.2.B Making Measurements to Support Cal/Val  (For example, measurements made to characterize a calibration target, such as monitoring platinum resistance thermometer temperatures of an external blackbody in thermal vacuum or making sea surface temperature measurements for SST validation.)

During the cal/val process, supporting measurements are sometimes made to assess or ensure the quality of the calibration activity. To properly record these measurements, in addition to documenting the data, a measurement procedure outline needs to be written that gives a description of the instruments involved, as well as information needed to know how the measurement(s) was taken and under what conditions.

| Are there documents available that outline the process of taking measurements that support cal/val, as well as summarize the results of these measurements? |  |  |
| --- | --- | --- |
| x | Not /Applicable | What is the justification? |

III.2.C Establishing Analysis Software

Software documentation - consists of flow charts, module descriptions, revision descriptions, and programmer contact information.

| Is the software documentation complete? |  |  |
| --- | --- | --- |
| x | No | When is it to be completed and available? |
|  |  | The implementation of the GSICS VNIR product is part of a EUMETSAT internal effort to increase its monitoring capabilities for the reflective solar bands available on the instruments the organisation is operating. As such this algorithm will be documented following EUMETSAT standards for Configuration Management (ATBD, Algorithm Specification Document, software manual, operation manual, etc.). However, these documents are for internal use only and cannot be provided to third parties unless previously agreed by EUMETSAT’s management. Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |

III.2.D  Version Control Plan

A configuration management plan, or version control strategy, for documents, software, models, and measurements is a key activity in preserving product institutional memory and communicating product release characteristics to users?

III.2.D.1.  Documents

| Is there a version control plan for documents? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: Detailed of software and parameter versions are included in the metadata included in the GSICS Corrections as netCDF global attributes. Furthermore, the User Guide, to be published on EUMETSAT’s GSICS Inter-Calibration Products web page will include a version control document. Additional, EUMETSAT internal configuration management procedures ensure the traceability of the documentation and software. |

III.2.D.2.  Software

| Is there a version control plan for software? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: The implementation of the GSICS VNIR product is part of a EUMETSAT internal effort to increase its monitoring capabilities for the reflective solar bands available on the instruments the organisation is operating. As such, EUMETSAT internal configuration management procedures ensure the traceability of the documentation and software. The relevant information is included in the products’ metadata. |

III.2.D.3.  Models

| Is there a version control plan for models? |  |  |
| --- | --- | --- |
| x | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: The version of the Hu model as implemented within the EUMETSAT GSICS VNIR products production chain is under configuration management. However, further evolutions of this model are not under the responsibility of EUMETSAT and should be addressed with the GSICS Research Working Group. |

III.2.D.4.  Measurements

| Is there a version control plan for supporting cal/val measurements? |  |  |
| --- | --- | --- |
| x | Not /Applicable | What is the justification? No supporting measurements. However, future versions may undergo further validation by users. |

III.3  Product Quality Assessment and Operations/Distribution

Product quality assessment documents the estimated product uncertainty, and its sources, in the product.  Product operations and distribution describes the process of product creation and dissemination to users.

III.3.A Product Quality Documents

These documents describe and quantify, as much as possible, the one-sigma uncertainties related to each product error source, as well as the product root-sum-square uncertainty.  These documents also give results of product validation studies, and a clear description of the quality indicator – preferably traceable to SI standards - to be assigned to the product.

| Are there product quality document(s)? |  |  |
| --- | --- | --- |
|  | No | When is it to be completed and available? |

III.3.B Operations/Distributions Plan

Outlines how the data or results are to be stored and shared through GSICS network computers.  Statements about the level of access need to be included here.

| Is there an Operations/Distribution Plan? |  |  |
| --- | --- | --- |
|  | No | When is it to be completed and available? |

III.3.C Data User’s Guide

Documents detailed data format, quality flag and parameter descriptions.  It must identify how data format meets GSICS standards, and the limitations of product use.

| Is there a Data Users Guide? |  |  |
| --- | --- | --- |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: A User guide will be written and distributed on EUMETSAT’s GSICS Product Status Summary web page. |