## Slide 1: Some Issues of Traceability to Reference Instrument
Fred Wu
GRWG Web Meeting

## Slide 2
“It’s 3.14159”
“OK – my 2.71828 should be 3.14159”
Concept of Inter-Calibration

## Slide 3
“It’s 3.14159”
“OK – my 2.71828 should be 3.14159”
Concept of Inter-Calibration
But there is more to it …

## Slide 4: Collocated in Space
GEO FOV, may be square or overlapping
LEO FOV, relative to GEO FOV
Collocation FOV, may depend on GEO and LEO FOVs
Collocation environment, may depend on time window and wind speed
Non-uniform features
Notes: Basic requirement is to average the 3-by-3 GEO FOV for comparison with LEO FOV. But environment stdv matters.

## Slide 5: Concurrent in Time

## Slide 6: Concurrent in Time

## Slide 7: Concurrent in Time

## Slide 8: Matched in Spectrum
GOES is brighter than MODIS for dark scenes

## Slide 9: Matched in Spectrum

## Slide 10: Matched in Spectrum

## Slide 11: Aligned in View Geometry
No illustration yet

## Slide 12: Summary
The followings are required to transfer calibration of reference instrument to instrument-under-test:
  Collocated in space
  Concurrent in time
  Matched in spectrum
  Aligned in view geometry
  …
Traceability is the uncertainty in each of them and their impacts on how well the target radiances are known