## Slide 1: Second GSICS Users’ Workshop:
Preliminary Findings
R. Iacovazzi, M. Koenig, and
J. Lafeuille

## Slide 2: Outline
Initial questions and answers
User feedback on current GSICS deliverables
  General points
  Feedback from numerical weather prediction (NWP)
  Feedback from climate applications
  Feedback from research project(s)
  Feedback from satellite operators
GSICS development plan
Requests and recommendations
  Additional or different satellites/sensors, products, and services
  Other recommendations

## Slide 3: Questions/Comments from the Floor
Important to understand impacts of Point Spread Function (PSF) errors, in addition to Spectral Response Function (SRF) errors
Need to consider Total Solar Irradiance variability
Is there scope for stratification according to latitude for GSICS Correction?
What is impact of GSICS Correction uncertainties on applications (Product dependent - uncertainty requirement to be specified by the users, e.g. NWP and climate monitoring)
Physical relevance of tuning the SRF? (e.g. ice contamination)
GEO-LEO colocation limited to near-nadir cases?
Relevance of GSICS Procedure for Product Acceptance to R&D agencies/missions?
Scope for post-operational instruments?
GSICS funding? (in-kind contributions, but sponsors welcome)
Synchronize delivery with ECMWF ERA project

## Slide 4: General Feedback
GOES Correction impact on Cloud Top Height
  GSICS correction compared to “in house” correction
  Doubt on time variability: need time averaging corrections
  Correction at detector level?
AMSU-B time series:
  Large bias, not constant over time
  Need MHS – AMSU-B intercomparison

## Slide 5: GSICS Impact for NWP
JMA: MTSAT water vapor correction and monitoring of derived clear sky radiance: consistency with NWP bias
NOAA: SEVIRI and GOES-12 correction impact (significant benefit for forecast > 96hr)

## Slide 6: GSICS Impact on Climate Products
CM-SAF:
  Use of GSICS IR correction has strong impact on cloud detection and related statistics
  Need VIS calibration to properly determine cloud thresholds
SCOPE-CM:
  Historic/current AVHRR: IR calibration and clock errors
  Albedo: GEO VIS channels and precise subsatellite point
  Investigate impact of drifting equatorial crossing time

## Slide 7: Feedback from Research Users
For long-term monitoring of water cycle in tropics
  1984-1996 time series shows bias in Meteosat water vapor
  Meteosat: MFG/MSG intercalibration correction needed
For Meghatropiques: Interest for intercalibration with GEO IR,VIS and with LEO MW
Consider navigation errors as well

## Slide 8: Satellite Operators Feedback: GSICS and Operational Calibration
CMA: FY-2 correction allows stable calibration (checked against AIRS)
NOAA: Intercomparisons used for anomaly resolution
  Identifies discrepancies and finds root causes (e.g. effects of decontamination, midnight blackbody effects, etc.)
  Allows correction of operational calibration

## Slide 9: GSICS Development Plan
Review error budget
Refine GSICS monitoring
Refine GSICS Corrections (product definition / format)
VIS channel intercalibration:
  GEO-LEO and LEO-LEO
  CLARREO - define transfer standard
  Operational intercalibration
Microwave
  Refine requirements and work with partners (e.g., GPM X-Cal)
  Define references and traceability
  Start with AMSU-A

## Slide 10: Additional/Different Satellites/Sensor Products and Services
Satellite/sensors:
  VIS channels (for cloud products, albedo, etc.)
  HIRS
  Meteosat MVIRI–SEVIRI
  Microwave
Relevant time window - time averaging
Navigation error monitoring - NOAA/POES Clock
Investigate/monitor effect of drifting equatorial crossing time
Simpler access to GSICS correction coefficients
Embrace research activities in GPPA

## Slide 11: Other Comments/Recommendations
Improve dialogue with users
Further beta testing activities
  Met Office (R. Saunders) - Microwave Sounding Unit (MSU)
  CIMSS (S. Ackerman) and MetOffice (R. Saunders) - Further assess GEO results
  SCOPE-CM (J.Bates) - Refine its statement of needs
  ISCCP (poc: F. Wu and W. Rossow) - Continuing
  NOAA: GOES Imager Water Vapor correction impact on Total Precipitable Water, with reference to ground-based GPS Total Column Water Vapor