## Slide 1
KMA’s Activities of GSICS
Korea Meteorological Administration
National Meteorological Satellite Center
Joint meeting of GRWG and GDWG, 22-26 March, Daejeon, Korea

## Slide 2: Current GSICS Activity of KMA
IR inter-calibration system for GEO with MODIS
  Test using MTSAT-1R data: ~2010
  COMS data: 2011~
GEO-LEO IR radiation Calibration with AIRS/IASI
  MTSAT-1R data during 2009-2010
  COMS data from Jan 2011~
VI vicarious Calibration
  Desert Target: 2011~
  Deep Convective Cloud: 2011~
Notes: This is current GSICS activity of KMA. Implement IR inter-calibration system for COMS with MODIS. Test with MTSAT-1R data instead of COMS. Installation of GSICS GEO-LEO AIRS IR radiation calibration Software. Test with MTSAT-1R data during 2007.

## Slide 3
COLLOCATED IN SPACE
COLLOCATED IN TIME
ALIGNED IN LINE-OF-SIGHT
UNIFORM ENVIRONMENT
NORMAL GEO FOV
SPATIAL AVERAGING
SPECTRAL FILLING
Spectral filling method
Convolution method
  Linear interpolation using only US profile
  Proposed by NESDIS
Constraint method
  Least square method using 8-profile
  Proposed by JMA
GEO:
COMS
LEO: IASI
LEO: AIRS
Valid channel
Missing channel
GEO(COMS) vs. LEO(AIRS) IR Calibration

## Slide 4
GEO(COMS) vs. LEO(AIRS) constraint method (1/3)

## Slide 5
GEO(COMS) vs. LEO(AIRS) constraint method (2/3)

## Slide 6
GEO(COMS) vs. LEO(AIRS) constraint method (3/3)

## Slide 7
TB vs. TB(COMS – AIRS) (1/3)

## Slide 8
TB vs. TB(COMS – AIRS) (2/3)

## Slide 9
TB vs. TB(COMS – AIRS) (3/3)

## Slide 10
Albedo Monitor for COMS VI channel
  A degradation rate = 0.1%/day (0.5% accuracy)
  * The linear fit of the average among all VIS detectors
August 25th (Mirror N1)
August 13th (Mirror N2)

## Slide 11
To measure the total degradation of the instrument visible channel
Comparison between the Moon signal and ROLO model of USGS – as a Function of Phase angle(Sun-Moon-Earth)
Imager Response
Where
is the Moon irradiance as measured by the Imager
is the Moon irradiance computed from the ROLO model,
under the same conditions
Moon Calibration of COMS visible (1/2)

## Slide 12
Moon Calibration of COMS visible (2/2)
  Mean Moon Slope Factor Trend = 2.9%
  * Monthly averaged value over 5 months
k(tref) : k value at last valid reference

## Slide 13
~ -1.5%
~ -0.5%
COMS vs. MTSAT-2 [Visible]
COMS 2011. 0316. 2315 - MTSAT2 2011. 0316. 2333

## Slide 14
COMS vs. MTSAT-1R [IR1]
~ -2.5K
COMS 2011. 0316. 2315 - MTSAT2 2011. 0316. 2333

## Slide 15
~ -2.5K
COMS vs. MTSAT-1R [IR2]
COMS 2011. 0316. 2315 - MTSAT2 2011. 0316. 2333

## Slide 16
~ -1.5K
COMS vs. MTSAT-1R [WV]
COMS 2011. 0316. 2315 - MTSAT2 2011. 0316. 2333

## Slide 17
~ -5.0K
COMS vs. MTSAT-1R [SWIR]
COMS 2011. 0316. 2315 - MTSAT2 2011. 0316. 2333

## Slide 18
IR1
IR2
SWIR
WV
0215 UTC
2011 0316

## Slide 19
IR1
IR2
0515 UTC
SWIR
WV
2011 0316

## Slide 20: 고맙습니다 Thank you