## Slide 1: Accounting for midnight calibration problem in GEO IR channels
GSICS Web Meeting
2011-07-276

## Slide 2: Background
From Daejeon and Web Meeting (20110427)
Need a single reference for each GSICS Product
  For traceability and consistency
Agreed to define
  IASI as the reference for GSICS GEO-LEO IR products
  AIRS as a transfer standard
  Delta Corrections to convert between two references

## Slide 3: Defining Delta Corrections
Can define Delta Corrections
  by double-differencing LGEO|AIRS-LGEO|IASI
    But this assumes no AIRS and IASI sample same scenes
    Maybe OK for spin-stabilised, but not for 3-axis stabilised sats
  Or by SNOs
    after convolution with GEO SRFs
Only then can we investigate diurnal variations in GSICS Correction for GEO

## Slide 4: Diurnal Variations
After applying delta corrections, GEO-AIRS and GEO-IASI results should be comparable
Allows us to analyse diurnal variations
Check Midnight Calibration Correction
Need to provide clear, consistent advice to users on how to apply GSICS Corrections