## Slide 1: Spectral Conversion Strategy for inter-calibration of satellite series
We should ask the following questions, which are general to inter-calibration of satellite series
(re-processing type activities)
Tim Hewison
EUMETSAT
August 2011

## Slide 2: Choice of Spectral Conversion
Do we want a spectral conversion function that relies on multiple channels of the reference instrument?
How complex do we want the spectral conversion function to be?
Should it have the same form for each pair of satellite/instruments?
Should it have the same channel combinations for each pair of satellite/instruments?
Should it have the same form for each channel?
Should we allow any subjectivity in the selection of the form/channel combinations?
Should the spectral conversion apply to global range of conditions?
Should the spectral correction be based on modelled radiance or observations?
Any other questions?

## Slide 3: Discussion 1
Do we want a spectral conversion function that relies on multiple channels of the reference instrument?
  This reduces the errors in the spectral correction
  But makes it sensitive to changes in more channels
  Need to ensure same channels are available on all instrument pairs in series
How complex do we want the spectral conversion function to be?
  probably not important
  but if non-linear need to ensure training data covers all observational space

## Slide 4: Discussion 2
Should it have the same form for each pair of satellite/instruments?
  may help ensure consistency
Should it have the same channel combinations for each pair of satellite/instruments?
  - may help ensure consistence
  but channels aren't the same on each of a series of satellites
Should it have the same form for each channel?
  - probably not important

## Slide 5: Discussion 3
Should we allow any subjectivity in the selection of the form/channel combinations? (if we allow them to vary)
  if not then we should analyse multiple instrument pairs first before selecting a form, channel combinations and method of calculating coefficients.
Should the spectral conversion apply to global range of conditions?
  Or just sub-set covered by inter-calibration product (e.g. clear sky and/or tropics)?
Should the spectral correction be based on modelled radiance or observations?
  e.g. Synthesised from hyperspectral observations
  Both could potentially introduce biases
Any other questions?