## Slide 1
COMS Visible Calibration by using Moon images

## Slide 2
Contents
Moon images from Jul. to Dec. in 2010
Radiometric Document
Results during Commissioning Period
Results after Commissioning Period

## Slide 3
Moon images from Jul. to Dec. in 2010

## Slide 4
Date | 07/08 |  | 08/24 |  | 08/25 | 09/21 | 
Time | 04:15 | 05:15 | 02:15 | 03:15 | 02:45 | 02:13 | 02:20
Mode | Special | Special | Special | Special | FD | LA | LA
Moon images from July to Dec in 2010 (1/2)

## Slide 5
07-08.04:15
Observing the Moon 20 times
07-08.05:15
Observing the Moon 16 times
Moon images in 2011-07-08

## Slide 6
Date | 09/23 |  |  | 09/24 |  |  | 
Time | 02:20 | 03:43 | 03:45 | 03:13 | 03:15 | 04:13 | 04:20
Mode | LA | LA | LA | LA | LA | LA | LA
Date | 11/17 | 11/18 | 12/25
Time | 23:45 | 00:43 | 07:28
Mode | FD | LA | LA
Moon images from July to Dec in 2010 (2/2)

## Slide 7
Radiometric Document

## Slide 8
: The Moon irradiance as measured by the Imager
: ROLO Irradiance
: The Moon irradiance computed from the ROLO model, under the same conditions.
Then,
Let and
The behaviour slope is directly correlated to the behaviour of the coefficient :
Radiometric Document (1/2)
※ 384400 : the average distance of the Moon-Earth in km
: The Moon-satellite distance in km
: The Moon-Sun distance in AU

## Slide 9
All Imager responses are linearly trended over the various Moon images with the ratio expressed in percentage.
As soon as
Then, a change of slope for the visible detectors can be considered with :
linearly trended value of at current time
being value at last valid reference, with being time of last valid reference Time of first reference is and , =1.
Radiometric Document (2/2)

## Slide 10
Results during Commissioning Period

## Slide 11: MI IOT – Visible Image Quality Results VIS Channel Degradation Monitoring (1) Ref. MI_VIS_SLOPE
Selection of Moon Images
  Full (or close to full) Moon images have been used for VIS Channel Degradation Monitoring
  Partial (crescent) Moon images have not been used
  Side 1, 2010/09/24 at 04:13 Side 2, 2010/08/13 around 18:15
Results during Commissioning Period (1/3) -- Astrium

## Slide 12: MI IOT – Visible Image Quality Results VIS Channel Degradation Monitoring (2) Ref. MI_VIS_SLOPE
Verification of Moon Calibration Results
  The results in the IMPS moon calibration report have been checked for :
  Result of Instrument Irradiance, Ephemerides of moon imaging time,
  Result of ROLO equivalent Irradiance,
  Result of the Distance corrected Irradiance, Imager Response and Trend,
  Values are correct with a difference of less than 0.01% for the ROLO based Moon irradiance and 0.1% for the count based moon irradiance.
Visible Slope Trend : Conclusion
  With one monthly averaged value over 5 months, the mean Moon Slope Factor Trend is : 2.92%
  This is slightly above the criteria of 2.5% of the COMS MI Radiometric Model.
  Note : heritage instrument show a slope degradation of 5–6% per year.
Results during Commissioning Period (2/3)

## Slide 13: MI IOT – Visible Image Quality Results VIS Channel Degradation Monitoring (3) Ref. MI_VIS_SLOPE
Visible Slope Trend : Results of Side 1
  When comparing the Moon slope factor values, the condition of image acquisition shall be also considered : - the position of the Moon wrt the Earth : West or East - the temperature of the VIS detectors
Results during Commissioning Period (3/3)

## Slide 14
Results after Commissioning Period(Preliminary Results)

## Slide 15
Date | 04/17 |  | 
Time | 01:43 | 02:15 | 02:43
Mode | LA | FD | LA
Date | 02/18 |  |  | 03/20 | 
Time | 02:42 | 02:45 | 03:58 | 03:13 | 04:28
Mode | LA | FD | LA | LA | LA
Moon images from Feb. to Jun. in 2011 (1/2) -- KMA

## Slide 16
Date | 05/14 | 05/24 | 06/20 | 
Time | 00:43 | 09:43 | 06:28 | 07:43
Mode | LA | LA | LA | LA
 |  | The moon is not found |  | 
Moon images from Feb. to Jun. in 2011 (2/2) -- KMA

## Slide 17
시간 |  | Instrument irradiance | ref. irradiance | 1-k | Average (month) | Average for excepting some abnormal data
2011-02-18.02-42-54 |  | 3.354004436e-03 | 3.404052736e-03 | 0.00% | 0.37% | 0.37%
2011-02-18.02-45-22 | 9.864007816e-01 | 3.394336601e-03 | 3.441133325e-03 | -0.11% |  | 
2011-02-18.03-58-21 | 9.702082897e-01 | 3.573389596e-03 | 3.683115919e-03 | 1.53% |  | 
2011-03-20.03-13-14 | 1.007394497e+00 | 3.465667660e-03 | 3.440228896e-03 | -2.24% | -0.56% | -0.56%
2011-03-20.04-28-23 | 9.839953254e-01 | 3.196728752e-03 | 3.248723515e-03 | 0.13% |  | 
2011-04-17.01-43-13 | 9.646603947e-01 | 2.460036222e-03 | 2.550157792e-03 | 2.09% | 7.41% | -2.16%
2011-04-17.02-15-22 | 7.348853803e-01 | 1.958644668e-03 | 2.665238309e-03 | 25.41% |  | 
2011-04-17.02-43-14 | 1.048430089e+00 | 2.799044510e-03 | 2.669748361e-03 | -6.41% |  | 
2011-05-14.00-43-14 | 2.170790295e+00 | 2.675872396e-03 | 1.232671992e-03 | -120.32% | -120.32% | 
2011-06-20.06-28-23 | 9.988149677e-01 | 8.169619247e-04 | 8.179311996e-04 | -1.37% | -1.05% | -1.05%
2011-06-20.07-43-12 | 9.925403389e-01 | 7.632163325e-04 | 7.689524572e-04 | -0.74% |  | 
2011-07-18.05-13-12 | 9.968273406e-01 | 1.292919179e-03 | 1.297034227e-03 | -1.17% | 0.19% | 0.19%
2011-07-18.06-28-22 | 9.699767353e-01 | 1.219319463e-03 | 1.257060524e-03 | 1.55% |  | 
2011-08-14.03-13-13 | 9.933966707e-01 | 2.689095703e-03 | 2.706970722e-03 | -0.82% | -0.80% | -0.80%
2011-08-14.04-13-14 | 9.930244918e-01 | 2.601804075e-03 | 2.620080467e-03 | -0.78% |  | 
2011-09-11.01-43-13 | 9.905332699e-01 | 2.046863682e-03 | 2.066425980e-03 | -0.53% | -7.66% | -0.53%
2011-09-11.02-58-23 | 1.128283188e+00 | 2.458265772e-03 | 2.178766642e-03 | -14.78% |  | 
Slope factor from Feb. to Sep.
Results after Commissioning Period (1/3) -- KMA
Preliminary results

## Slide 18
Plot for 1-k
Average value of 1-k
Results after Commissioning Period (2/3) -- KMA
Chart: 
| 2-18.02-42 | 2-18.02-45 | 2-18.03-58 | 3-20.03-13 | 3-20.04-28 | 4-17.01-43 | 4-17.02-15 | 4-17.02-43 | 5-14.00-43 | 6-20.06-28 | 6-20.07-43 | 7-18.05-13 | 7-18.06-28 | 8-14.03-13 | 8-14.04-13 | 9-11.01-43 | 9-11.02-58
 | 0 | -0.0011 | 0.0153 | -0.0224 | 0.0013 | 0.0209 | 0.2541 | -0.0641 | -1.2032 | -0.0137 | -0.0074 | -0.0117 | 0.0155 | -0.0082 | -0.0078 | -0.0053 | -0.1478
Chart: 
| 2-18 | 3-20 | 4-17 | 5-14 | 6-20 | 7-18 | 8-14 | 9-11
 | 0.0037 | -0.0056 | 0.0741 | -1.2032 | -0.0105 | 0.0019 | -0.008 | -0.0766
Preliminary results

## Slide 19
Results after Commissioning Period (3/3) -- KMA
Plot for 1-k (Excepting some abnormal data)
Average value of 1-k (Excepting some abnormal data)
Chart: 
| 2-18.02-42 | 2-18.02-45 | 2-18.03-58 | 3-20.03-13 | 3-20.04-28 | 4-17.01-43 | 4-17.02-43 | 6-20.06-28 | 6-20.07-43 | 7-18.05-13 | 7-18.06-28 | 8-14.03-13 | 8-14.04-13 | 9-11.01-43
 | 0 | -0.0011 | 0.0153 | -0.0224 | 0.0013 | 0.0209 | -0.0641 | -0.0137 | -0.0074 | -0.0117 | 0.0155 | -0.0082 | -0.0078 | -0.0053
Chart: 
| 2-18 | 3-20 | 4-17 | 6-20 | 7-18 | 8-14 | 9-11
 | 0.0037 | -0.0056 | -0.0216 | -0.0105 | 0.0019 | -0.008 | -0.0053
Preliminary results