## Slide 1
GOES Lunar Calibration
Comparison of GOES lunar calibration vs. other vicarious calibration methods

## Slide 2: Lunar Calibration of GOES Visible Channel
X. Wu F. Yu T. Stone G. Rancic M. Grotenhuis
NOAA ERT, Inc USGS IMGS ERT, Inc
- Based on the presentations in SPIE’06 and Calcon’06

## Slide 3: GOES Imager Visible Channel
Linear array of 8 detectors
IGFOV = 28 µrad
Only one calibration source: space clamp
Scan the field of regard (FOV) back and forth
Multiple scan modes

## Slide 4: GOES-10 (GOES West) Scan Modes

## Slide 5: Good Data

## Slide 6: Clipped by edge Challenging to know the fraction and orientation of the unclipped part

## Slide 7: Clipped by the Earth Little hope to derive lunar irradiance

## Slide 8: Unscheduled Data Collection
Predicted gibbous Moon appearance within the GOES FOR (about three times a month on average)
Found 21 suitable observations for GOES-10 in 7.5 years between July 1998 to December 2005.
Five of the 21 cases have a second lunar image within ~ one hour

## Slide 9: Scheduled Data Collection
Began in November 2005
One or two scheduled gibbous lunar image every month for each GOES
  Used ~one minute of star view time with negligible impact on navigation

## Slide 10
y(t) is the least-squares fit of R(t)

## Slide 11: ROLO Irradiance Model
EModel: Modeled lunar irradiance
EModel = A ΩM ES / π

## Slide 12: Measured Lunar Irradiance
EGOES = ωS∑i(CiR – CS)
i: Index of Moon pixel
Ri: Radiance from pixel i
ωi: Solid angle subtended by pixel i
Since
So

## Slide 13: Moon Location
Baseline – 400 X 700 pixels containing the Moon
Alternative – fit to ellipse
  Finding the edge
  Least squares fit
  Further adjustment
    Growing
    Fixed mask of ten extra pixels – works best so far

## Slide 14: 1998_221_210021

## Slide 15: 1998_221_220035

## Slide 16: 2005_208_013551

## Slide 17: Space View
Most critical
  If well known, Moon location becomes less relevant
  If poorly known, best knowledge of Moon location can still lead to error in lunar irradiance
Baseline – Constant of 29
  Drift (between clamps)
  Truncation – half count is 0.4-1.4% of signal (so mode is also inadequate)
Concerns
  Stray light near the Moon edge?
  Striping – space count for individual detector/line

## Slide 18: Fussy Moon Edge

## Slide 19: Identification of Space Pixel

## Slide 20: Striping

## Slide 21: Result
 |  | Constant | Mode | Selected Mean
All Pixels | A | 1.081 | 1.010 | 1.029
 | β | -0.048 | -0.045 | -0.049
 | SE | 0.038 | 0.042 | 0.030
Growing Moon | A | 1.064 | 1.030 | 1.038
 | β | -0.048 | -0.046 | -0.048
 | SE | 0.033 | 0.033 | 0.030
Masking Moon | A | 1.0494 | 1.0255 | 1.031
 | β | -0.050 | -0.048 | -0.049
 | SE | 0.029 | 0.030 | 0.029

## Slide 22: Plots of Result

## Slide 23: Paired Images

## Slide 24: Angle of Incidence Dependent Scan-mirror Reflectance
Separated by about one hour (no instrument degradation)
MIT/LL tested the witness sample
  Consistent with GOES-13/14 measurements (observed irradiance : modeled irradiance).
  Unprecedented moon data collected during the GOES-15 PLT period. Unexpected pattern.
    Earth shine effect?
    Noise drift?

## Slide 25: Error Sources
Source of Uncertainties, assuming invariable SRF
  illuminated moon area
    Edge at sub-pixels
  Detector responsivity variations
    Reference detector
  Scan angle effect
    ~2.2% based on MIT Lincoln Lab
  USGS model
    1% for geometric uncertainty
    5-10% for absolute uncertainty
  Others (e.g. straylight/earth shine/?)

## Slide 26: Comparison of lunar Calibration vs. other vicarious calibration methods
F.Yu, X. Wu and many other contributors

## Slide 28: Summary
Lunar calibration provides comparable calibration accuracy with the other methods
To reduce the uncertainty
  Need to characterize the angular dependent scan mirror reflectance
  Accurate computation of space count to derive the lunar irradiance
  Stray-light effect
  Earth shine effect?