## Slide 1: NOAA GPRC Report
Fangfang Yu and Fred Wu
05 March 2012

## Slide 2: Outline
Operation Status
  GEO Imager vs. AIRS/IASI
  Bias monitoring Web
Support NOAA’s Satellite Operations
  GOES-14/15 PLT
  METOP-B AVHRR Re-calibration
  GOES-13 Stray Light Correction
Emerging Capacity
  NPP
  METOP-B

## Slide 3
MTSAT-1R
FY-2C
AIRS
IASI
GOES-10
GOES-8
Aug2003
Jun2007
Aug08
Meteosat-7
Jun06
GOES-12
GOES-11
Jun06
Meteosat-8
Aug08
Jan2004
Oct2004
Jun2005
105W
GEO-LEO Retro-Processing
Apr/04
Jan07
Jan07
Jun07
Jun07
Aug08
Aug08
Completed!
GCC
GCC
GCC
GCC
GCC
GCC

## Slide 4: Time-series of mean Tb bias for GOES-12 Imager IR Channels
G12 Ch2 (3.9μm, midnight)
G12 Ch3 (6.5μm, daytime)
G12 Ch4 (10.7μm, daytime)
G12 Ch6 (13.3μm, daytime)

## Slide 5: SRF Correction for G12 Imager Ch13.3um during its Mission Life using back-processing + forward-processing data
Yu and Wu, 2012, “Correction for GOES Imager spectral response function using GSICS II: Applications ”, submitted to IEEE special issue on the instrument inter-calibration.
Relation between the mean Tb bias and the optimal SRF shift
Mean Tb Bias before SRF Correction
Mean Tb Bias after SRF Correction
Decontamination Events

## Slide 6: GEO-LEO Inter-Calibration Products
Products download server:
  http://gsics.nesdis.noaa.gov:8080/thredds/catalog.html
  Near Real-time Correction – update everyday
  Re-analysis Correction – updated once per month
New product monitoring wiki-website:
  https://gsics.nesdis.noaa.gov/wiki/GPRC/WebHome

## Slide 7: GOES-14/15 PLT Imager Ch3 & Ch 6 SRF
Time-series of Tb bias to AIRS/IASI for GOES-14 Ch3 (left) and GOES-15 Ch3 (right)
Tb bias to IASI with RevE SRF (black) and RevG SRF (red). Left: GOES-14, right: GOES-15
 | Bias with ITT Rev. E (K) | Bias with ITT Rev. H (K) | Bias with NOAA Correction (K) | NOAA Correction (Shift) (cm-1)
GOES-14 Ch. 3 | +0.98 | +0.93 | +0.09 | −8.25
GOES-14 Ch. 6 | -0.48 | -0.22 | -0.06 | -0.25
GOES-15 Ch. 3 | +2.15 | +0.70 | +0.05 | -6.25
GOES-15 Ch. 6 | +0.79 | +0.48 | +0.15 | +0.50

## Slide 8: METOP-B AVHRR Re-calibration
A307 was calibrated in June 2002
Re-calibration in Jan 2011 found several issues
NOAA worked with NASA, ITT, and EUMETSAT to resolve the anomalies.
One of the tools was Instrument Performance Monitoring
 | Ch 3B | Ch 4 | Ch5
NOAA-19, last year | +1.6% | -0.3% | -0.0%
METOP-A, last year | +1.3% | +0.8% | +0.3%
METOP-A, since 2006/10/30 | +4.0% | +2.8% | +1.3%

## Slide 9
Stray Light

## Slide 10: GOES-13 Imager 12/053/04:39 Southern Hemi, Channel 2
Uncorrected for SL
SL Corrected
J. Paul Douglas

## Slide 11: GOES-13 Imager 12/053/05:09 Southern Hemi, Channel 2
Uncorrected for SL
SL Corrected
J. Paul Douglas

## Slide 12: GOES-13 Imager 12/053/05:39 Southern Hemi, Channel 2
Uncorrected for SL
SL Corrected
An artifact has been introduced
J. Paul Douglas

## Slide 13: Artifact in the 5:39 Corrected Frame (0 GVAR count issue can be addressed next release)
J. Paul Douglas

## Slide 14: Suomi National Polar-orbiting Partnership Satellite

## Slide 15: Suomi National Polar-orbiting Partnership Satellite
ATMS SDR Team

## Slide 16: Suomi National Polar-orbiting Partnership Satellite
VIIRS SDR Team

## Slide 17: Suomi National Polar-orbiting Partnership Satellite
CrIS SDR Team

## Slide 18: Suomi National Polar-orbiting Partnership Satellite
OMPS SDR Team

## Slide 19: Suomi National Polar-orbiting Partnership Satellite
M. Goldberg

## Slide 20: AIRS and CrIS image at 900cm-1
CrIS
02/25/2012, 22:38:02 UTC,
AQUA at (76.71S, 98.17W),
NPP at (76.71S, 98.17W),
0.24 km, 28 second
L. Wang

## Slide 21: AIRS CrIS SNO Comparison (740 – 840 cm-1)
Reduced spectral resolution
No missing or bad channels
Agrees well
L. Wang

## Slide 22: GOES-13 Imager IR SRF & Simulated AIRS/CrIS/IASI TOA Tb over Clear Tropic Ocean

## Slide 23: GOES-13 vs. CrIS Collocation Scenes on 2/24/2012
Collocations range across multiple LEO orbits, ~5-6 hours
Scene Tb range from extremely cold (~210K at Ch10.7um) to very hot (~300K)

## Slide 24: Mean Tb bias (GEO-LEO) vs. median time of the collocated scenes – Ch2 (6.5um)
UTC time
GOES-13 day-time
GOES-13 night-time

## Slide 25: Mean Tb bias (GEO-LEO) vs. median time of the collocated scenes – Ch3 (10.7um)
UTC time
GOES-13 day-time
GOES-13 night-time

## Slide 26: Mean Tb bias (GEO-LEO) vs. median time of the collocated scenes – Ch6 (13.3um)
UTC time
GOES-13 day-time
GOES-13 night-time
Notes: Possible reasons causing the relatively large Tb bias different at AIRS:
Larger Tb bias uncertainty
Uncertainty of JMA’s gap filling method to fill the bad AIRS detectors
Need more data for further investigation

## Slide 27: Mean Tb bias (GEO-LEO) vs. median time of the collocated scenes – Ch6 (13.3um)
UTC time
GOES-13 day-time
GOES-13 night-time
METOP-A
METOP-b
Notes: Possible reasons causing the relatively large Tb bias different at AIRS:
Larger Tb bias uncertainty
Uncertainty of JMA’s gap filling method to fill the bad AIRS detectors
Need more data for further investigation

## Slide 28: Suomi National Polar-orbiting Partnership Satellite
S. Blonski and C. Cao
Traditional SNO
SNOx for Aqua & NPP (15 min apart – extended to low latitude)
Also for METOP-A/B?

## Slide 29: Summary
Operation Status
  Normal
Support NOAA’s Satellite Operations
  Several examples
Emerging Capacity
  Expect new challenges and opportunities with NPP and METOP-B