## Slide 1: Characterization of Sonoran Desert for GOES Imager Visible Vicarious Calibration - Some Early Results and lessons learned
Fangfang Yu, Xiangqian Wu and Haifeng Qian

## Slide 2: Sonoran Desert
The only desert that can be observed by both GOES-West (135W) and GOES-East (75W)
Served as the operational calibration target for GOES-8 and 10 Imager visible channels
  http://www.oso.noaa.gov/goes/goes-calibration/vicarious-calibration.htm
The operational target switched to Terra MODIS in 2004
  http://www.star.nesdis.noaa.gov/smcd/spb/fwu/homepage/GOES_Imager_Vis_OpCal.php
  ENSO effect
Revisit the Sonoran desert calibration in 2012 for the GSICS project
  Traceable to Aqua MODIS C6
  Combined method

## Slide 3: Challenges
Target characterizations for trending purpose; predictable and traceable to Aqua MODIS C6 data
  Spatial – spatial distribution observed by the instrument; fixed boundary vs. moving boundary
  Temporal - diurnal/seasonal/long-term observations
  Spectral – hyper-spectral data for the SBAF
  Directional – BRDF model/measurements
  Image processing – determine the reflectance/radiance/irradiance to represent the target
Target reflectance, traceable to Aqua MODIS C6
  Spectral band adjustment factor (SBAF)
  Bidirectional reflectance distribution faction (BRDF)
Degradation function

## Slide 4: Sonoran Desert
Operational calibration for GOES-8/10 Imager visible channels
  34.0N, 114.1W (Rao, 2001, http://www.oso.noaa.gov/goes/goes-calibration/vicarious-calibration.htm)
GOES-R ABI risk-reduce project
  32.0N, 114.39W, ROI: 20kmx20km (Uprety and Cao, 2012, JARS)
MODIS vicarious calibration project
  32.25N, 114.65W, ROI:15kmx15km (Angal et al. 2010, JARS)

## Slide 5: Sonoran Desert
[32.05N-32.65N, 114.4W-114.8W]
[32.05N-32.37N, 114.4W-114.8W]
50x49 pixels
25 pixels
Seasonal variability
GOES image
MODIS image: 50x50km
Subset data available since 1998

## Slide 6: Viewing Geometry - GOES
GOES-East
GOES-West

## Slide 7: Viewing Geometry – Aqua MODIS

## Slide 8: Observation Time Difference
> 1 hour observation time difference
GOES-West
GOES-East

## Slide 9: Ray-matching method?
Cannot apply strict ray-matching threshold for the collocations
  Small viewing zenith angle difference
  1-2 hours difference -> large solar zenith angle difference
  Azimuth angle difference can be relatively small at GOES-East, yet relative viewing azimuth angle ~60o at GOES-West
  BRDF correction

## Slide 10: Screening of Vegetation and Cloud contaminated pixels
Yu and Wu, 2008, JTECH

## Slide 11: BRDF Correction – Impact of SZN

## Slide 12: GOES Imager Visible SRFs and Atm. Trans.

## Slide 13: Sensitivity to Dynamic Atmospheric Components

## Slide 14: Seasonal Variation
Aqua MODIS C6 in 2008

## Slide 15: Spatial Uniformity
GOES-10
Wet year
Cause of sudden change of surface spatial heterogeneity in late 2002, instrument, desert surface or atm. change?
GOES-12
?

## Slide 16: Long-term stability
Before BRDF correction
After BRDF correction

## Slide 17: GOES Imager Visible SRFs and Atm. Trans.

## Slide 18
GOME and SCIAMACHY are not appropriate to generate SBAF at the Sonoran Desert
now working with the Hyperion data

## Slide 19: Summary
Use of the sub-area [32.05-32.37N, 114.4-114.8W] as the reference
  Low seasonal variation, avoid of vegeted pixels
Sonoran desert (sub-area) is long-term stable
Sudden change of spatial uniformity pattern can be found in 2002.
  Root cause unknown
Hyperion data should be used to generate the spectral band adjustment factor
An accurate BRDF model is needed to account for the impact of different viewing geometry.