## Slide 1: Inter-Sensor Comparison for Soumi NPP CrIS
Likun Wang1, Yong Han2*, Denis Tremblay3, Fuzhong Weng2, and Mitch Goldberg4
1. CICS/ESSIC/University of Maryland, College Park, MD; wlikun@umd.edu
2. NOAA/NESDIS/STAR, College Park, MD
3. Earth Resources Technology, Inc., Laurel, MD
4. NOAA/NESDIS/JPSS Program Office, Greenbelt, MD
* CrIS SDR Team Lead
GSICS GRWG+GDWG Annual Meeting, 4-8 March 2013,Williamsburg, VA

## Slide 2: Motivation
Hyperspectral IR sounders have served as benchmark measurements for the GSICS community.
  Polar orbiting sensor: HIRS, AVHRR, AATSR
  Geostationary : Imagers and Sounders
With more hyperspectral IR sounders on-orbit, are there any radiometric and spectral differences among them?
  Now: AIRS →Metop-A/IASI → NPP/CrIS → Metop-B/IASI
  Future: JPSS-1/CrIS and MetOp-C/IASI ….
If so, we need to understand the root causes of the differences based on sensor physics.
  Benefit for each sensor’s calibration
  Basis for climate data records

## Slide 3: Instrument and Spectral Characteristics
From Hank Revercomb
Spectral Coverage and Resolution of
AIRS, IASI, and CrIS

## Slide 4: Approach
Direct comparison
  CrIS versus IASI/AIRS
Indirect comparison:
  Through the third sensor, CrIS-VIIRS versus IASI-VIIRS
Objectives
  Reduce uncertainties caused by the methodology
  Identify the differences at the sensor calibration level
  Understanding the root causes of these differences
VIIRS
CrIS

## Slide 5: Simultaneous Nadir Overpass (SNO) from 10/22-10/24 and 12/10-12/14: a total of 125 cases
IASI
CrIS
All data are from IDPS.
Only nadir and uniform scenes were selected.
Using the same collocation algorithms to collocate CrIS/IASI with VIIRS.
Time Difference: <= 120 Sec
Pixel distance difference: <=(12+14)/4.0 km = 6.5 km
Angle Difference: ABS(cos(a1)/cos(a2)-1) <= 0.01

## Slide 6: Accurately computing FOV Shape
Satellite Direction
CrIS Scan Direction
VIIRS Scan Direction
EP V35 Upload
VIIRS Geolocation errors
M6.3x released, code bugs were fixed
The method based on the algorithm
can detect the VIIRS geolocation errors

## Slide 7: Collocate VIIRS with CrIS/IASI
50%
CrIS/IASI FOV Spatial Response
VIIRS Pixels
CrIS FOV footprint
Histogram of VIIRS M16 radiances in CrIS FOV

## Slide 8: Scene Uniformity Effects

## Slide 9: Resample IASI to CrIS
Fourier Transform
Inverse Fourier Transform
De-Apodization
2) Truncation
3) Apodization
CrIS – IASI
Re-sampling error very small

## Slide 10: SNO Spectra: 770 Pairs
North (339)
South (431)
Average Spectra

## Slide 11: CrIS vs. IASI: CrIS Band 1
North Pole
South Pole
CrIS
IASI
CrIS-IASI
At band 1, CrIS is slightly warmer than IASI.
CrIS-IASI BT differences show the slope feature and BT differences decrease with wavenumbers.

## Slide 12: CrIS vs. IASI: CrIS Band 2
North Pole
South Pole
CrIS
IASI
For band 2 at water vapor absorption region, CrIS and IASI are well consistent and the BT difference is less than 0.1 K.
CrIS-IASI

## Slide 13: CrIS vs. IASI: CrIS Band 3
North Pole
South Pole
CrIS
IASI
At band 3, CrIS is warmer than IASI .
BT differences are large at the spectral transition region (~2380 cm-1)
CrIS-IASI

## Slide 14: How about CrIS/IASI versus VIIRS?
CrIS/IASI spectra are overlapped with VIIRS SRFs for M13, M15, and M16, and I5
10.8 µm
12.0 µm
4.05 µm

## Slide 15: Be careful for out-of-band response!
CrIS Band 1 end point
Center wavenumber and band correction coefficients are calculated using the above SRFs.

## Slide 16: OOB effects in BTs
M15
This relationship is used to compensate
CrIS convolution results.
M16
M15
M13
M16
IASI-IASI2CrIS vs. IASI2CrIS

## Slide 17: Band Correction
M15
M13
M16
From VIIRS radiances to BTs
    Unit: [wm-2 sr-1 μm-1]
From CrIS/IASI radiances to BTs
    Unit: [mw m-2 sr-1 cm-1]
Band correction at a BT domain should give identical values.

## Slide 18: CrIS/IASI versus VIIRS
CrIS is warmer than all sensors; CrIS-VIIRS at Band 15 has larger scene-dependence than M16
IASI seems close to VIIRS and does not show scene dependence features.
Using VIIRS as a reference, CrIS is warmer than IASI , especially for cold scenes.
M15
M16
Notes: CrIS is warmer than all the sensors, Band 15 have more large scene-dependence than M16
IASI seems close to VIIRS and doesn’t show scene dependence bias.
CrIS and IASI

## Slide 19: For a non-linear detector
From Abrams et al. 1994
Hypothetical detector-response curve exhibiting nonlinearity. The horizontal axis represents the absolute magnitude of the photon flux and the vertical axis represents the measured dc signal.
F(Ifg1): linear response
F(Ifg2): non-linear response
F(Ifg3): convolution term
Flux
measured dc signal.
Non-linearity responses in spectral domain.

## Slide 20: Non-linearity Values (a2) from TVAC, DM, and Earth Scenes
From UW
Different from Band 2, a2 values are close to each other in band 1 and it is not easy to
find a reference FOV.
3x3 Array of CrIS FOVs
(Each at 14-km Diameter at Nadir)

## Slide 21: a2 Sensitivity Study How do CrIS-VIIRS patterns change with a2?
a2
Changed a2 values
M15
M16

## Slide 22: a2 Sensitivity Study How do CrIS-IASI patterns change with a2?
a2
Changed a2 values
2012/12/12-14 SNO cases South Pole
CrIS
IASI

## Slide 23: Conclusion Remarks
Inter-comparison of CrIS with IASI indicate that the consistency between CrIS and IASI is around 0.1-0.2 K at most spectral regions.
Given current consistency level (0.1-0.2K), it is very hard to find the root causes of the differences. However, in order to generate long-term climate data records, some issues still need further investigation:
  CrIS is warmer than IASI at the longwave band, especially for cold scenes
  CrIS-VIIRS scene-dependent features at M15
  Spectral inconsistency for shortwave sharp transition regions between CrIS and IASI
Looking forward: we really need MetOp-B IASI data to join in inter-comparison, which will facilitate the diagnosis.

## Slide 24: Thank you

## Slide 25: AIRS vs. CrIS
AIRS
CrIS
CrIS-AIRS
: North Pole SNOs