## Slide 1: GRWG+GDWG Web Meeting on Calibration Change Alerts
2013-06-11
Tim Hewison

## Slide 2: 2013 GSICS Users’ Workshop
Per the GOES-15 Imager calibration anomaly event in March 2012, users also expressed the desire of satellite operational anomaly alerting system [Tim Schmidt]
  See Hot Summary

## Slide 4: GEO-LEO IR ATBD §5.d

## Slide 5: GEO-LEO IR ATBD §5.e

## Slide 6: GEO-LEO IR ATBD §5.f

## Slide 7: Example E-mail Alert

## Slide 8: Basic Contents of Alerts
Date, Time of anomaly
Satellite, Instrument, Channel
Bias of anomaly (current value) in K for IR
Medium-term trend (from Near Real-Time Correction?)
Significance of anomaly (e.g. 5σ)
  Number of collocations used, number days in trend
Limits used – soft & hard => Severity
Hyperlink to bias plotting – or include plot
How many alerts within given period
Link to anticipated change notifications – for future v2
Disclaimer:
  This alert has been generated by an automatic algorithm and not been checked by human, as a service to users interested in investigating calibration anomalies.

## Slide 9: Distribution of Alerts
Through GSICS User Messaging Service?
  Would need to be processed centrally
  Requires manually adding interested users to mailing lists
Email
  Difficult for non-operational groups to send out
  Set up another GSICS Google Groups for alerts
    Includes RSS feeds
    Allows users to subscribe/unsubscribe
    Provides archive function
Archive

## Slide 10: Update Frequency
Daily From GEO-LEO IR – with more frequent update possible?
Hourly would require GEO-GEO bias monitoring
  Don’t need GSICS Corrections from GEO-GEO comparisons
    Complicated by SRF differences
    Redundant
    But potentially good validation of GEO-LEO Corrections
    See Three-way Inter-Calibration of SEVIRI on Meteosat-8 and -9 with IASI [Hewison et al., EUMETSAT Conference poster, 2010]
How many alerts do users want per year?
  3-sigma threshold should give ~0.3% ≈ 1d/365d
  User-selectable thresholds?

## Slide 11: Calibration Change Alerts from other GSICS Products
GEO-LEO VIS
  Deep Convective Clouds (DCCs)
  Rayleigh Scattering
  Monthly update cycle
    Or rolling average with daily updates?
GEO-GEO VIS?
  As GEO-GEO IR?
Any others?

## Slide 12: Thank You