## Slide 1: DCC algorithm application meeting, part 2 Agenda and goals for GEO DCC algorithm implementation
Aug 14, 2013
David Doelling, Rajendra Bhatt, NASA

## Slide 2: DCC calibration algorithm components
Stability monitoring
  Identification, IR 11µm temperature threshold
  BRDF model, to define the most isotropic part
  PDF statistic
Aqua-MODIS absolute calibration transfer
  Working on DCC ray-matching, if successful then the stability monitoring is independent of calibration transfer
  If not successful, then the DCC algorithm must be identical to Aqua-MODIS to transfer calibration (current algorithm)
Spectral band adjustment factor (SBAF)
  Should be small, since the DCC are at the tropopause
  Use SCIAMACHY SBAF

## Slide 4: Regional DCC Radiance Variability (Stability Monitoring)
T<205°K
• If you assume that the DCC microphysics, diurnal seasonal and regional distribution and radiance is replicated annually, then the choice of GEO domain is arbitrary as long you sample consistently.
• If the GEO domain includes land, you must sample at the same local time
Jan 2010
Jul 2010
CERES high thick cloud amount

## Slide 7: DCC algorithm implementation schedule
May 2013 Meeting
  NASA to provide DCC pixel level radiance file for each GEO domain for July 2012
  NASA to implement the DCC algorithm for each GEO domain for comparison
Aug 2013 Meeting
  Invite GPRC to implement the DCC algorithm and replicate the NASA results
  Discuss the DCC components for improvements in stability monitoring over GEO domain
Fall 2013 Meeting
  NASA to present DCC ray-matching to transfer Aqua-MODIS calibration to GEO
  Discuss SBAF correction
  More discussion of the DCC components and harmonize DCC stability monitoring among GPRCs
GSICS Annual Meeting, March 2014
  Discuss development of demonstration prototype among GPRC

## Slide 8: Agenda
DCC BRDF characteristics produced by SBDART model for COMS visible calibration
  Min-Jin CHOI (NMSC/KMA)
Implementation of DCC algorithm for MTSAT-2/Imager
  Masaya Takahashi (JMA)
On the comparison of NOAA and NASA DCC selections and the implementation of DCC algorithm for GOES
  Fangfang Yu (NOAA)
Review of DCC algorithm for implantation on SEVIRI
  Sebastien Wagner (EUMETSAT)
Discussion