## Slide 1: GOES-13/15 Cold/DCC Pixels Comparisons of the NASA and NOAA Datasets
Fangfang Yu and Xiangqian Wu
08/14/2013

## Slide 2: Outlines
GOES-13/15 cold pixels comparison
  Daily difference
  Histograms of szn, vzn, raz, raw count, Tb, standard deviations
  Spatial distributions
  Possible causes to the differences
DCC pixels comparison
  Histograms
  Possible causes to the differences
Some sensitivity analyses
  Bin size
  Bi-mode fitting
  DCC number for a robust reflectance

## Slide 3: Data Processing
Test data ordered from NOAA CLASS
Input format: McIDAS AREA format
Data are processed with mcidas-x functions
  Ingest for lat/lon/satzenith/solzenith/relative azimuth angles
  Pixel scan time is assigned with the corresponding scan line time
Standard deviation = sqrt(mean^2/(n-1))
Homo. Test for the visible = stdv/center_count
GOES IR channel
  Ch 10.7um Tb is calculated from radiance using non-linear conversion coefficients
  http://www.oso.noaa.gov/goes/goes-calibration/gvar-conversion.htm
GOES visible channel processing at NOAA/OSDPD
  Visible count at GVAR and mcidas area format
    Relativization, that is, relative to the detector’s space reference signal
    Adjust with the BOOST value of 29

## Slide 4: The Number of Daily Cold Pixels – G13
Chart: 
| 41091 | 41092 | 41093 | 41094 | 41095 | 41096 | 41097 | 41098 | 41099 | 41100 | 41101 | 41102 | 41103 | 41104 | 41105 | 41106 | 41107 | 41108 | 41109 | 41110 | 41111 | 41112 | 41113 | 41114 | 41115 | 41116 | 41117 | 41118 | 41119 | 41120 | 41121
Diff(NOAA-NASA) | -54 | 0 | 0 | 6 | 0 | -8 | 0 | -19 | -21 | -15 | 0 | 0 | -7 | 0 | -3 | 0 | -10 | -2 | 0 | 0 | -12 | -26 | -4 | 0 | 0 | 0 | -53 | -4 | 0 | -17 | 0
GOES-13 Cold pixels Diff (NOAA-NASA)
Monthly number: NASA=396,897 NOAA=396,648
Total Diff (NOAA-NASA)=-249
Pixel # Diff (NOAA-NASA)

## Slide 5: The Number of Daily Cold Pixels – G15
Monthly number: NASA=82,031 NOAA=83,644
Total Diff (NOAA-NASA)= 1613
Chart: GOES-15 Cold Pixels#
| 41092 | 41093 | 41094 | 41095 | 41096 | 41097 | 41098 | 41099 | 41100 | 41101 | 41102 | 41103 | 41104 | 41105 | 41106 | 41107 | 41108 | 41109 | 41110 | 41111 | 41112 | 41113 | 41114 | 41115 | 41116 | 41117 | 41118 | 41119 | 41120 | 41121
NASA | 58 | 133 | 353 | 1665 | 2325 | 3355 | 3676 | 1567 | 1987 | 1639 | 3884 | 3072 | 216 | 144 | 332 | 901 | 3560 | 4997 | 4039 | 1903 | 1692 | 1744 | 410 | 13480 | 16885 | 4778 | 1154 | 274 | 51 | 43 | 1714
NOAA | 173 | 37 | 600 | 2471 | 1701 | 5674 | 1796 | 1360 | 2500 | 1190 | 5986 | 492 | 4 | 398 | 0 | 1650 | 5362 | 5076 | 2857 | 1085 | 2843 | 53 | 875 | 26293 | 7897 | 1121 | 818 | 18 | 94 | 7 | 3213

## Slide 6: Visible Count Histogram – Month data
Bin size = 1 count
NOAA: count = mcidas_raw/32
G13: 1count=0.116% reflectance
G15: 1count=0.111% reflectance

## Slide 7: Cold Pixels: Obs. Time Histogram
NOAA: the scan line time of each cold pixel

## Slide 8: Satellite Zenith Angle Histogram – Month data

## Slide 9: Solar Zenith Angle Histogram – Month data
This difference can result in different reflectance:
Reflectance = count * cal_coeff * d_sun_earth^2/cos(szn)
VZN, SZN and relative azimuth angle are the outputs of mcidas-x function nv1opt

## Slide 10: Spatial Distribution – G13
Very Identical for GOES-13 daily data

## Slide 11: Spatial Distribution – G15 07/24/2012
NASA #=13,480
NOAA #=26,293

## Slide 12: Spatial Distribution – G15 07/25/2012
NASA #=16,885
NOAA #=7,897
In this case, it seems that I missed one image

## Slide 13: Ch10.7um Tb and Stdv Histogram
NOAA: one cold pixel Tb=139.4K
NOAA calculated the Tb from the radiance value, using RevH+Star Correction SRFs for GOES-15
http://www.oso.noaa.gov/goes/goes-calibration/docs/table3_8.htm
lower Tb mode

## Slide 14: Cold pixels – CoV histogram
??

## Slide 15: Possible reasons to the Differences
Tb calculation
  Pixels number is sensitive to Tb
  Suggest deriving the Tb values from radiance
    ITT/NOAA released several versions of GOES-15 SRFs before it became operational in Dec. 2010. Therefore need most recent version of mcidas-x for direct Tb output.
    http://www.oso.noaa.gov/goes/goes-calibration/goes-imager-srfs.htm
Need to look into the cause(s) of different solar zenith angles and CoV

## Slide 16: DCC Comparisons
Latitude
Longitude
Notes: Similar geographic distribution

## Slide 17: Visible count histograms – G13
DCC count = (cold_count * sun_earth_dist ^ 2 / cos(szn) * ADM
Cold pixel count – 29 - 29
Cold pixel count - 29

## Slide 18: Visible count histograms – G15
DCC count = (cold_count * sun_earth_dist ^ 2 / cos(szn) * ADM
Cold pixel count – 29 - 29
Cold pixel count - 29

## Slide 19: Solar Zenith Angle Difference

## Slide 20: Tb Difference

## Slide 21: Possible causes to the difference
Similar geographic distribution
The BOOST of 29 seems to be removed twice from the cold count.
Impact of Tb difference is apparent at GOES-15
  More warmer scenes at NASA data
The shifted solar zenith angle also affect the visible count

## Slide 22: Questions on applying the Hu’s ADM model
It seems that the SZN has much larger weighting than azimuth and viewing angles to interpolate the ADM value.
The valid relative azimuth angle bins to calculate DCC reflectance seems not consistent with the thresholds defined at the documents 10 < RAA < 170.

## Slide 23: Some Sensitivity Analysis
Bin size
G13: 1count=0.116% reflectance
G15: 1count=0.111% reflectance
Bin size = 3 count or 0.3-0.4% reflectance

## Slide 24: Shall we fit the bi-mode histogram?
Polynomial fitting:
Y = a + b * x + c * x^2
Could be 1-2 bin size difference from the mode value (highest frequent value)
For operation, suggest avoiding of fitting bi-mode histograms, if sufficient DCC pixels are available
If multiple counts with the same highest frequency, suggest using the mean of the counts.

## Slide 25: Minimum DCC pixels for a robust mode reflectance Preliminary Results
No-fitting Mode
Polynomial fitting of bi-mode
Median reflectance of DCC pixels
DCC#>4,000, 1-sigma stdv = 0.5%

## Slide 26: Conclusions
Cold pixels:
  GOES-13: Cold pixels agrees very well
  GOES-15: Difference seems mainly from the different Tb. Tb should be converted from radiance or use of most recent version of mcidas-x
  Need to investigate the difference in solar zenith angle and CoV
DCC
  A shift of 29 between NASA and NOAA visible count
  Differences in Tb and solar zenith angle may both attribute to the DCC reflectance at GOES-15
Confirm that the optimal histogram smoothing bin size for GOES is 3-5 count or corresponding reflectance (~0.4-0.5%)
Confirm that a minimum of about 4,000 DCC pixels is needed for a robust DCC mode reflectance
Suggest avoiding of bi-mode fitting if there is sufficient DCC pixels.

## Slide 27: Minimum DCC pixels for a robust mode reflectance Preliminary Results
Mode without any fitting
Polynomial fitting of bi-mode
DCC#>4,000, 1-sigma stdv = 0.5%