## Slide 1: “Is it good enough?”
Manik Bali

## Slide 2
Reference instrument characteristics change in space.
Target Instrument characteristics change in space.
We cannot ensure traceability in space either
If in space, traceability is not possible should we detect pre-launch like behavior from target instrument.
Introduction

## Slide 3
Temperature trends as
small as 0.10 C/dec
Introduction
~±( 0.1 K–0.2 K)
(Allen et al. 1994, Kidwell 1998)
Magnitude of climate signals
Expected Accuracy and Stability of EO instrument
Accuracy Criterion
~ 0.1K( 1 w/m2).
Stability criterion
~0.05 K ( 0.3 w/m2/dec).
Instruments that conforms to these accuracy and stability criterion are called Climate Ready. Example A/ATSR series.
GCOS(2011)
Leroy et al, 2007 , 34 Yrs of continuous observation at this level of accuracy to get climate signal.
Notes: The fundamental aim of the CDR is to fuel the research on climate change.

## Slide 4
Prelaunch Vs Post Launch
IASI captures some of the prelaunch features
IASI relates well with SI –traceable standard
Bali & Mittaz
Notes: State why the offset was made???

## Slide 5
Can we retrieve pre-launch variables such as SRF’s by comparing with reference instrument ?
If yes then it becomes a good candidate

## Slide 6: AIRS ATSR2
Bali & Mittaz
AIRS captures some of the prelaunch features
Of ATSR2.

## Slide 7: Conclusion
Accuracy Criterion ~0.1K and Stability criterion of 0.05 K/Decade could be a starting point
A good reference should be able to replicate pre-launch behavior when in orbit.
IASI and AIRS have acted as good references.