## Slide 1: Self-introduction for L. Flynn of NOAA NESDIS
I primarily work with measurements and products from the SBUV(/2), OMPS, OMI, and GOME-2 instruments.
I am interested in measurement and product validation and comparisons. I lead the OMPS product validation team and NESDIS Atmospheric Chemistry Product Oversight Panel.

## Slide 2: Possible Goals/Topics for the UV Subgroup
1. Exchanges and traceability of standards
  NIST and SIRCUS
  Integrating Spheres, diffusers, lamps, lasers, etc.
2 . Establish a library of solar measurements
  Reference high resolution solar (SOLSTICE, SIM, Kitt Peak, etc.)
  Mg II Index time series
3. Establish a library of instrument data bases
  Bandpasses, calibration constants, wavelength scales
  Day 1 solar
  Mg II Indices and scale factors
4. Absorption data bases
  O3 in the UV with wavelength and temperature dependence
    at instrument resolution – from DOAS?
  UV compared to Visible and IR
  other species -- SO2, NO2, etc.
5. Standard climatologies; vicarious calibration &residual studies
  Ozone and temperature profiles, covariances
  Neural net, with tropopause information
  Averaging kernels or efficiency factors, measurement contribution functions, and Jacobians
6. Analysis of on-board systems
  Diffusers
  White lights and spectral lamps
  Moon views
7. Considerations for comparisons
  Zonal means
  Simultaneous nadir overpass
  Formation flying / Chasing orbits
  No-local-time differences
  Ice and desert targets
  Pacific Box
  LEO to GEO to L1
  Complications from diurnal variations
8. Internal consistency techniques
  Ascending/descending -- Langley methods
  Pair justification
  Stray light correlation (and EOF analysis)
  DOAS
  Wavelength scale, shift and squeeze, etc.
9. Forward model and measurements
  Rayleigh
  Absorption
  Spherical geometry
  Inelastic scattering (Ring Effect)
  Aerosols
  Polarization
  TOMRAD, VLIDORT, SCIATrans, CRTM, etc.
10. Reflectivity
  Surface (database and snow/ice forecasts)
  Clouds (Cloud top pressure)
  Cloud-optical-centroids (Ring Effect, 02-02, O2 A band)
11. Aerosols
  Climatology/Type
  Wavelength dependence
12. Nadir Instruments LEO
TropOMI, GOME(-2), OMPS, TOU/SBUS,
SCIAMACHY, OMI, TOMS, SBUV(/2)
12. Nadir Instruments GEO or L1
TEMPO, GEMS, UVN and EPIC
13. Limb instruments
SAGE III, ACE/MAESTRO, OSIRIS, MLS,
GOMOS, SCIAMACHY, OMPS-LP
14. Ground-based
WOUDC, Dobson, Brewer, Lidar, MW, and Ozonesondes