## Slide 1: GSICS visible calibration discussions
Jan 8, 2014

## Slide 2: Discussion
GSICS DCC visible calibration product, format and content
GSICS DCC outstanding issues
GSICS visible calibration goals

## Slide 3: DCC visible calibration product, format and content
Calibration frequency
  Weekly, use 30-day rolling window PDF
  There will be weekly or monthly noise about a long-term trend
Calibration gain in radiance or reflectance
  Provide band solar constant, count offset
  Must use MODIS solar spectral radiance to convert
User web plotting (monitoring) interface
  Do we plot the gains over the record of the GEO
  Offer a long term trend

## Slide 4: DCC calibration issues
Stability monitoring
  11µm temperature, DCC ADMs, PDF statistic
Aqua-MODIS absolute calibration transfer
  Assume that the GEO image taken during the MODIS overpass DCCs are similar (current method)
  DCC ray-matching (will not work historically)
Spectral band adjustment factor (SBAF)
  Adjustment should be small, spectrally flat, no WV absorption
  Use SCIAMACHY SBAF
Anything else?

## Slide 5: Suggested GSICS visible calibration priorities
1st priority | 2nd priority | 3rd priority
DCC | Rayleigh | LEO/LEO SNO
Lunar |  | LEO Polar Ice (Dome C)
SBAF/SRF |  | Desert
Synergy |  | 
Aqua/VIIRS transfer |  | 
Can DCC or Lunar calibration methods be applied to GEO, LEO, historically?
What are the outstanding issues for lunar? Aqua-MODIS as reference?
Synergy to tie multiple calibration methods
Need to agree that NPP-VIIRS is the next calibration reference.
What about the other calibration methods not listed?
We want to prioritize based on the demands from the GPRCs and users