## Slide 1: GSICS Research Working Group UV Subgroup Report
L. Flynn, Interim Chair
Darmstadt, March 25

## Slide 2: Past: 2014/02/06 Minutes and Actions
Larry Flynn agreed to act as interim chair of the sub-group and to chair the next meeting.
The UV Subgroup has four proposed projects up for consideration:
  1. Reflectivity and Aerosol Index comparisons (340 nm - 390 nm) by using vicarious methods for ocean, desert and ice sheet targets. (For each instrument, subgroup members should identify a reflectivity/aerosol expert.)
  2. Solar measurement comparisons by using high resolution reference data sets along with instrument wavelength scales, bandpasses and Mg II scale factors. (For each instrument, subgroup members should identify a contact who will be responsible for providing the bandpass data and time series of solar measurements.)
  3. Comparisons of radiance/irradiance measurements (240 nm - 290 nm) by using initial measurement residuals with respect to a priori ozone profiles (For each instrument, subgroup members should identify a contact who makes ozone profile products.)
  4. Identify calibration requirements and capabilities
Each project will have a team lead. L. Flynn has agreed to be team lead for Project 3, O. Torres is considering acting as lead for Project 1, and R. Lange is considering acting as lead for Project 4.
Everyone is asked to distribute these project ideas to appropriate experts within their organizations.
We are creating a list of instruments that will participate in each project and contact points.
Additional project proposals, offers to lead projects and chair the sub-group are welcome and will be discussed at the next meeting.
The next meeting of the UV Sub-Group will take place during the 2014 Annual Meeting of the GRWG and GDWG - on Thursday 27 March 12:00-14:00 UTC - with Webex connectivity.
  special issue on UV in Fall GSICS Quarterly Newsletter
  involvement in annual GRWG meeting in March
  invite non-members as experts to the meeting

## Slide 3: Present: GRWG: UV Subgroup Agenda for March 27, 2014
ESA activities of interest to GSICS UV Sub-Group (B. Bojkov, ESA)
Instrument On-Ground and In-Orbit Calibration – Lessons learnt (R. Lange EuMetSat)
Solar References and Variability as Measured by OMI and SBUV/2 (M. DeLand NASA/SSAI)
Reflectivity and Aerosol Index Presentations (O. Torres NASA, L. Flynn NOAA)
Ozone Profile Retrieval Residuals (L. Flynn NOAA)
Invitation to contribute to a Special Issue on UV: GSICS Fall Quarterly Newsletter
Notes: Reflectivity and Aerosol Index Presentations
Solar References and Variability Presentations
Ozone Profile Retrieval Presentations
Instrument Calibration Requirements Review
Identification of nominees for chair
Identification of nominees for vice-chair

## Slide 4: Future: Instrument and Project Leads
Instrument | Main Contact | Reflectivity/ Aerosols | Solar Spectra | Ozone Profiles | Calibration
ACE/MAESTRO |  |  |  |  | 
EPIC |  |  |  |  | 
GEMS |  |  |  |  | 
GOME |  |  |  |  | 
GOME-2 | R. Lange EuMetSat |  |  |  | R. Lange
GOMOS |  |  |  |  | 
MLS |  |  |  |  | 
OMI |  | O. Torres | M. DeLand |  | 
OMPS Nadir | L. Flynn NOAA |  |  | L. Flynn | 
OMPS Limb | G. Jaross NASA |  |  |  | 
OMS |  |  |  |  | 
OSIRIS |  |  |  |  | 
SAGE III | D. Flittner NASA |  |  |  | 
SBUS | F-X. Huang CMA |  |  | F-X. Huang | 
SBUV/2 | L. Flynn NOAA |  |  | L. Flynn | 
SCIAMACHY | M. Weber Bremen |  | M. Weber |  | 
TEMPO | K. Chance SAO |  |  |  | 
TOMS |  |  |  |  | 
TOU | W-H. Wang CMA |  |  |  | 
TropOMI |  |  |  |  | 
UVN |  |  |  |  | 

## Slide 5: Project to Compare Reflectivity Channels from 340 nm to 390 nm
Absolute Radiance/Irradiance check
  Ice, desert and open ocean targets
Reflectivity range/distribution, 1-percentile
Wavelength Dependence – Aerosol Indices
Complications
  Surface pressure
  Partially cloudy scenes
  Viewing and Solar angle considerations
  Sun Glint
  Polarisation
  Inelastic Scattering
Notes: Glen Jaross ; Arlin J. Krueger, Ice radiance method for backscatter UV instrument monitoring
Proc. SPIE 2047, Atmospheric Ozone, 94 (November 2, 1993); doi:10.1117/12.163469
Changes in the Nimbus-7/TOMS instrument response at long wavelengths are monitored within 1% accuracy over the lifetime of the instrument.

## Slide 6: Reasonable Goals for Comparisons
Agreement at 1% on cloud free scene reflectivity for 340 nm. (Desert, Equatorial Pacific, Polar Ice) (Does this require specified surface pressure and a forward model?)
Agreement at 1% on aerosol index – wavelength dependence of reflectivity. (Note closure polynomials may remove this dependence)
Long-term reflectivity channels at 0.5% (Ice characterization of BRDF and stability, Minimum sea and land reflectivity, pressure variations, angular and wind dependence)

## Slide 7: Project to Compare Solar Measurements
High resolution solar reference spectra
  Reference high resolution solar Spectra (SOLSTICE, SIM, Kitt Peak, etc. – Everybody has a favorite. How do they compare?)
  Mg II Index time series, Scale factors at high resolution
Instrument data bases
  Bandpasses, wavelength scales (Shift & Squeeze codes)
  Day 1 solar, time series with error bars (new OMI product) (Formats, Doppler shifts, 1 AU adjustments)
  Mg II Indices and scale factors at instrument resolution
  Reference calibration and validation papers
Using the information from above we can compare spectra from different instruments and times
Notes: Composite Mg II solar activity index for solar cycles 21 and 22
Matthew T. DeLand, Richard P. Cebula
DOI: 10.1029/93JD00421
Creation of a composite solar ultraviolet irradiance data set
Matthew T. DeLand, Richard P. Cebula
DOI: 10.1029/2008JA013401

## Slide 8: Reasonable Goals for Solar Comparisons
Agreement at 1% on solar spectra relative to bandpass-convolved high resolution spectra as transfer.
Long-term solar from OMI at 0.2% relative (with confirmation from Mg II Index and scale factors)

## Slide 9: Project to Compare radiance/irradiance ratios from 240 nm to 290 nm
Compute the measurement residuals using a forward model with the effective scene reflectivity of the clouds and surface determined from longer channel measurements, and the ozone profile prescribed by the an a priori climatology. Viewing geometries and bandpasses are as reported for each instrument.
Compare residuals for channels λ1 and λ2 where S1*α1 = S2* α2, where S values give the path lengths and α values give the ozone absorption cross sections.
Notes: I believe a similar method was used to check the GOME long-term calibration by assuming stable equatorial ozone profiles.

## Slide 10: Reasonable Goals for Ozone Profile Comparisons
Agreement at 2% for Profile channels by using the Version 8 A Priori Profiles with TOMRad and single scattering. We can use contribution function equivalences to compare measurements at appropriate wavelengths for different angles.

## Slide 11: Laboratory Calibration Requirements and State-of-the Art Capabilities
Discussion topic.

## Slide 12: Reasonable Goals for Internal Consistency
Wavelength registration – 0.01 nm. (2% of BP FWHM?)
Reflectivity channels – 1% from 340 to 380 nm
TOZ channels – 1% over 5-nm separation discrete channels, 0.05% 10-nm relative DOAS patterns after closure polynomial
Long term stability of Reference diffusers?
In-orbit sources WLS, Spectral, Moon, LED, etc.
Linearity?
Stray light?

## Slide 13: Reasonable Goals for Time-Dependent Characterization
Long-term solar from OMI at 0.2% relative (with confirmation from Mg II Index and scale factors)
Long-term reflectivity TOMS channels at 0.5% (Ice characterization of BRDF and stability, Minimum sea reflectivity, pressure variations, angular and wind dependence, pair justification)
SBUV/2 Profiling Channel radiance/irradiance at 2%