## Slide 1
EUMETSAT implementation of the DCC algorithm
Sébastien Wagner
Notes: EUM/STG-SWG/36/14/VWG/15

## Slide 2: Implementation and processing: a summary... 1/2
ATBD is implemented (prototype)
Uncertainty analysis still missing
Data processing:
  Meteosat Second Generation:
    Meteosat-09: data extracted and processed from 10/2006 till 12/2012 for VIS06 and VIS08.
    Data from Rapid Scan Service?  Need to be tested BUT low confidence in data availability (5 degree only [lower limit = 15deg N], mostly above desert)
    Met-8 and -10: can be processed but needs SBAF + thresholds from NASA.
  MODIS data processed (same algorithm) from 01/2003 till 08/2004. 2002, end 2004, 2005 and 2006 still missing.
  Meteosat First Generation  implementation of Met-7 on its way
   See previous presentations at Web Meetings (all available on the WIKI)

## Slide 3: Implementation and processing: a summary... 2/2
For further analysis + uncertainty analysis:
  Extraction of the land/sea mask
  PDFs are build-up after a first coarse extraction  intermediate datasets without homogeneity checks.
   See previous presentations at Web Meetings (last one in January 2014)
In preparation  automation of the extraction (intermediate dataset) on our operational system for all current GEOs
  Step 1 = instrument monitoring
  Step 2 = generation of GSICS corrections

## Slide 4
saturation
Effects of the saturation for Met-9 VIS0.6

## Slide 5
Saturation in MET-09 counts
Saturation removed taking out the last bin
BRDF correction
BRDF correction
Potential shift in the mode value due to the reshuffling
Effect on the gain?
Effects of the saturation

## Slide 6
Effect on the gain
(DCC above sea only)
With saturation
Without saturation
Effects of the saturation for Met-9 VIS0.6

## Slide 7
Is a product a yearly-derived drift derived from a linear drift?
Is it a monthly-cumulated drift derived from a linear fit?
Is a product a monthly window moving from month to month?
Can it be a daily moving window of N days as for IR products (NRTC + RAC)?
Questions raise as we observe seasonality, at least with SEVIRI
What is a GSICS DCC product?

## Slide 8: Effect of the saturation MET-9/VIS0.6
K-K0
MODE
MODE – No saturation
MEAN
MEAN – No saturation
SKEWNESS + smoothed over 30 days
Number of DCCs
KURTOSIS + smoothed over 30 days

## Slide 9: Effect of the saturation MET-9/VIS0.6
Effects of saturation decreases with time  Instrument degradation helps us!

## Slide 10: Variogram analysis of the time series
Variogram
30 days (interval used for the NRT product)
 | Mode | Mean | Mode (no saturation) | Mean (no saturation)
Drift Stability | 0.1538 | 0.1110 | 0.1374 | 0.1046

## Slide 11: Drift, offset and uncertainty for various products
 | VIS0.6 | VIS0.8 | NIR1.6 | HRVIS
Meteosat-9 | 0.475 ± 0.022 (0.359 ± 0.255) | 0.468 ± 0.020 (0.467 ± 0.249) | 0.033 ± 0.025 (-0.051 ± 0.220) | 0.550 ± 0.062 (0.510 ± 0.285)
 | Mean | Mode | Mean (No saturation) | Mode (No saturation)
NRT D-30 | A = -0.4168% yr-1 B = 858.85 DC Err = 0.011 | A = -0.4365% yr-1 B = 880.26 DC Err = 0.008 | A = -0.3999% yr-1 B = 857.93 DC Err = 0.016 | A = -0.4148% yr-1 B = 879.03 DC Err = 0.008
NRT D-15 | A = -0.4199% yr-1 B = 859.06 DC Err = 0.012 | A = -0.4389% yr-1 B = 879.83 DC Err = 0.009 | A = -0.4041% yr-1 B = 858.20 DC Err = 0.013 | A = -0.4197% yr-1 B = 878.70 DC Err = 0.008
NRT D-30 (sea only) | A = -0.3837% yr-1 B = 858.96 DC Err = 0.027 | A = -0.3952% yr-1 B = 879.78 DC Err = 0.026 | A = -0.3601% yr-1 B = 857.67 DC Err = 0.027 | A = -0.3779% yr-1 B = 878.50 DC Err = 0.025
RAC 15+D-15 | A = -0.4310% yr-1 B = 860.39 DC Err = 0.012 | A = -0.4480% yr-1 B = 881.47 DC Err = 0.008 | A = -0.4068% yr-1 B = 859.08 DC Err = 0.013 | A = -0.4298% yr-1 B = 880.16 DC Err = 0.007
Yearly drift (bold = lunar calibration; between bracket = SSCC)
MOON + SSCC