## Slide 1: Synergy How to merge results from various methods ? Is it possible to derive a unique approach ? Bertrand Fougnie, CNES

## Slide 2: Introduction
  Several calibration methods could be available
    Desert, Rayleigh, Sunglint, Cloud-DCC, Antarctica, Moon…
  Each target has its own behavior :
    Magnitude: from very dark to very bright
    Spectral shape : from white to very pronounced
    Angular signature : from nearly uniform to large BRDF
    Polarized properties : from non-polarized to nearly fully polarized
    Short-term stability : from variable to fully stable
    Long-term stability : from seasonal variable to fully stable
    So efficiency range …
Indicative behavior of targets
May sensitively vary with various parameters

## Slide 3: Introduction
  Several calibration methods could be available
    Desert, Rayleigh, Sunglint, Cloud-DCC, Antarctica, Moon…
  Implement several methods will provide
    various results which will differ (in general) : sometimes consistant, sometimes not at all
  GSICS has to face the way to provide to users not only a list of various calibration sets, but also a way to use it :
    propose a combined mean calibration set, if possible and relevant
    recommande the use one set instead of others depending on the user needs

## Slide 4
The One-method matrix
Uncertainty from sensor
Uncertainty from implemented method
(depending on data sampling)
Sensor to calibrate
Spectral response knowledge
Straylight
Linearity
Polarization
Radiometric noise
…
DCC
Characterization
to be addressed
Trending
Absolute
Interband
Cross-calibration
…
To be evaluated for each band

## Slide 5
The Synergy matrix
Uncertainty from sensor
Uncertainty from implemented method
(depending on data sampling)
Sensor to calibrate
Spectral response knowledge
Straylight
Linearity
Polarization
Radiometric noise
…
Moon
DCC
PICS-desert
PICS-snow
SNO
Rayleigh
Sunglint
Characterization
to be addressed
Trending
Absolute
Interband
Cross-calibration
…
To be evaluated for each band

## Slide 6
The Synergy matrix
Uncertainty from sensor
Uncertainty from implemented method
(depending on data sampling)
Sensor to calibrate
Spectral response knowledge
Straylight
Linearity
Polarization
Radiometric noise
…
Moon
DCC
PICS-desert
PICS-snow
SNO
Rayleigh
Sunglint
Characterization
to be addressed
Trending
Absolute
Interband
Cross-calibration
…
To be evaluated for each band
Example : combination of Desert, DCC and Rayleigh
for MERIS and PARASOL

## Slide 7
443nm band
as a function of VZA
MERIS
PARASOL
Desert
DCC
Rayleigh

## Slide 8: Example
Generale baseline
Application to PARASOL

## Slide 9: Ex: PARASOL - Monitoring
  Synergy : calibration of the temporal monitoring
Calibration versus month
D=0.018
B1020 = 0.018
B865 = 0.024
B765 = 0.01
B670 = 0.062
B490 = 0.16
B565 = 0.11
Best compromise

## Slide 10: Ex: MODIS&MERIS – Absolute/Interband
Deviations are
  Know limitation of methods
  If not : are they significant
    But often close to the accuracy of each individual method
    for 1 method : very difficult to conclude
    Becomes (very) significant when observed by several methods
    not so easy to define an automized synergetic mean

## Slide 11: Strategy – step 1
Derive the theoretical budget for each Method
  This Method budget depends on the considered sensor :
    Geometrical sampling
    Geophysical range
    Available spectral bands
  Method budget(RadAspect) depends on the considered aspect :
    temporal, cross-cal, absolute, interband, field-of-view…
Evaluate how the sensor impacts the result for each method
  This Sensor(Method) budget depends on :
    Radiometric performances : straylight, noise, non-linearity, polarization, rejection…
  Sensor(Method, RadAspect) budget depends on the considered aspect :
    Ex: straylight/linearity may be not so crucial for temporal
Pay attention to distinguish noise (type-A) and bias (type-B)
    Only Bias is targeted
= Construction of the Synergy Matrix (not obvious)

## Slide 12
The Synergy matrix
Uncertainty from sensor
Uncertainty from implemented method
(depending on data sampling)
Sensor to calibrate
Spectral response knowledge
Straylight
Linearity
Polarization
Radiometric noise
…
Moon
DCC
PICS-desert
PICS-snow
SNO
Rayleigh
Sunglint
Characterization
to be addressed
Trending
Absolute
Interband
Cross-calibration
…
To be evaluated for each band
Radiometric Aspect
Method/Sensor
Band/Sensor

## Slide 13: Strategy – step 2
For every Band, every Sensor, every Aspect :
  if methods agree : propose a merge
    A select the best « pilot » : be able to define objective criteria // or arbitrarily
      Ex : more or less CNES’s approach for the estimation of PARASOL temporal drift within the field-of-view
    Consider a weighted mean based on Method + Sensor(Method) budgets
      Ex : NOAA’s approach for the estimation of GOES temporal drift
      Ex : more or less CNES’s approach for the estimation of PARASOL mean temporal drift (best compromise)
  if methods disagree :
    Was it expected from budgets : reject some method (i.e. weigth = 0)
    If not, this is the sign of a radiometric default or another anomaly
     Understand what happens or be aware of possible bias
     select a method or consider weighted mean
Alternative : do we want to
  Identify the best method for each sensor & band & characterization
    Other methods are used as validation
  Combine as much as possible
    Weighted mean or Best compromise
    The ultimate goal : be able to go down the accuracy of each individual method

## Slide 14
No universal approach defined in advance !!!
This is a case by case analysis
  GSICS has to face the way to provide to users not only a list of various calibration sets, but also a way to use it :
    propose a combined mean calibration set, if possible and relevant
    recommande the use one set instead of others depending on the user needs