## Slide 1: NOAA GPRC Report
X. Wu and F. Yu

## Slide 2: Team
EP
  M. Goldberg – NOAA Representative
GCC
  L. Flynn – Director
  M. Bali – Deputy Director
GRWG
  R. Ferraro and C. Zou: MW Subgroup chair and member
  L. Flynn – UV Subgroup member
  X. Wu and F. Yu – VIS & IR Subgroup members
    Supported by a team of 6-7.
    Collaborate with Affiliated Members – L. Wang, A. Heidinger, X. Liang, T. Chang, etc.
GDWG
  M. Bali – ex-acting chair and member.

## Slide 3: Legacy Instruments
POES
  User support
    Why NOAA-18 fire products looks strange in Australia?
    Where is CPIDS for METOP-B?
  Initial Joint Polar System (IJPS)
    Annual review of NOAA Instruments
    A309 for METOP-C.
JPSS
  Introduced inter-calibration of OMPS with GOME-2
    Being expanded to SBUV, OMI, …
  Helped establish the UV Subgroup.
GOES
  Co-registration

## Slide 4: GOES-R ABI
Pre-launch
  FM2 PSR – providing SRF when released
  FM3 PER
  FM3 PSR – providing SRF when released
Post-launch
  Post-Launch Test (PLT – instrument-centric), including lunar.
  Post-Launch Product Test (PLPT – product-centric, including radiance products)
  Tool development, including adapting and enhancing GSICS tools.
  Field Campaign planning and coordination, primarily inter-calibration with airborne instruments.
  Plan and rehearsal, including using AHI-8 data.

## Slide 5: Actions
GRHSST is invited to review one or more of the current GSICS GEO IR products and to provide feedback to GRWG (update: ongoing with LEO IR products. Plans to work on GEO IR products in 2013), POC is XingMing Liang.
  Follow up. Note that Liang is an affiliated member.
Recommend a single AIRS flag file to be adopted by all AIRS users.
  Clarification – still needed?
Outline ATBD for the sun-glint method
  Follow up. Note that Heidinger is an affiliated member.

## Slide 6: Actions
NOAA to consider nominating Dr Isaac Moradi as a member of GRWG
  Clarification.
ISRO and the GCC to coordinate for the implementation of GEO-to-LEO algorithms by ISRO.(ISRO to contact Fred Wu and Fangfang Yu on NOAA side)
  Update – closed?

## Slide 7: Actions
EUMETSAT/NOAA/NASA/JMA to perform analysis to evaluate the optimal temporal resolution for a DCC product. GPRCs are invited to report at the next web-meeting on the DCC method.
  Clarification.
NASA and NOAA to interact on the VIIRS lunar data to check the result consistency and to compare their oversampling factor estimates.
  Follow up.

## Slide 8: Actions
NOAA & EUMETSAT to analyse GEO-GEO difference after applying the GEO-LEO correction to quantify the diurnal calibration uncertainty before promotion to Operational status.
  Discuss separately.

## Slide 9: Issue – GSICS Correction in L1b
Currently a requirement for a GSICS product to be fully operational
Done for GOES Imager visible channel – user support.
No progress for ~five years for GOES-Imager IR channels – lack of user support.
Few are willing or able to evaluate its importance for climate applications. Nor can they justify such requirements.
Operator and manager are then unmotivated and unconvinced to do what seems to them unnecessary.
How to argue that this is necessary?