## Slide 1
Proposal for a way forward on inter-calibration using the Moon
S. Wagner, T. Hewison

## Slide 2: From the Lunar Calibration Workshop
    Acquisitions from 30 sensors
  20 years of acquisitions from 1995 to 2014
  ~ 60% of sensors providing data in the last 2 years – common period
  For all the reflective spectral domain
  broad or narrow bands
  including a common red band (narrow of broad)
  Covering the entire lunar phase range
    the full range for GEO (but within GIRO’s range of applicability), more limited for LEO

## Slide 3
LEO (CWL)
GEO (band)
According to OSCAR (WMO)
Courtesy B. Fougnie, CNES
Landsat-8

## Slide 4
LEO
GEO
Courtesy B. Fougnie, CNES
Landsat-8

## Slide 5
LEO
GEO
Courtesy B. Fougnie, CNES
Landsat-8

## Slide 6: Proposal for activities to address inter-calibration using the Moon
  In EUMETSAT’s proposal, points to be addressed:
  Estimating the over-sampling factor
  Drift correction
  Estimation of the SBAFs from GIRO and verification of the results.
  Establishing an absolute scale for lunar calibration
  Medium and long term activities on lunar calibration
  Do you see other important topics to be addressed?

## Slide 7: A. Estimating the over-sampling factor
  Propose a formulation of the over-sampling factors for all imagers while observing the Moon.
  Derive the over-sampling factors for the current and the past instruments.
  Comments from CMA: Very important. Now for Fengyun satellite this parameter is a constant provided by the instrument manufacturer
   Can we provide an alternative estimate to verify the official value?

## Slide 8: B. Drift correction
Using the available information on instrument calibration and drift estimates, the lunar irradiance observed by the instruments in the Lunar Calibration Dataset should be corrected for the instrument drift. A corrected dataset shall be produced.
 Description of the drift correction:
Which methods are used?
What are the uncertainties?
Do we need to correct for phase-dependence first?

## Slide 9: C. Accounting for spectral differences between instruments
  Using the Lunar Calibration Dataset, estimate for all instruments and bands available in the dataset the SBAF with respect to Aqua MODIS bands.
  The generated SBAF must be validated using hyper-spectral observations. Possibly, more hyper-spectral dataset should be used. The current hyper-spectral instruments with lunar capabilities are SCIAMACHY, HYPERION and GOME-2.
  The results should be compared with equivalent data derived above other targets such as DCCs, ocean targets, etc.

## Slide 10: D. Establishing an absolute scale for lunar calibration
  Analyse the current lunar calibration dataset to investigate the possibility to put the current ROLO/GIRO on an absolute scale using the 0.6.µm observations as a common wavelength
  Using the current knowledge on the various instruments’ inter-band calibration, investigate the possibility to have set the ROLO/GIRO on an absolute scale for other channels.
  Investigate the uncertainties on the instrument inter-calibration caused by the use of inter-band calibration information.
  Comments from CMA:
  Comparisons between Aqua/MODIS and ROLO/GIRO.
  Check if SBAF is constant of a function of the phase angle
  Comparisons with equivalent data derived above other targets such as DCCs, ocean targets, etc.

## Slide 11: Additional comments
How to decide the reference instrument? The radiometric calibration accuracy of reference instrument should be evaluated by other methods?
Using hyperspectral observations: does the spatial resolution matter? (SCIAMACHY, GOME-2, HYPERION)
SBAF are target-dependent.
??

## Slide 12: E. Medium and long term activities on lunar calibration
  Investigate the possibility to participate to an international consortium to fund dedicated measurement campaigns.
  Review planned activities in this area:
  CMA?
  CNES?
  ESA: interest in contributing but no existing mechanism for such an international funding. Further investigations needed.
  EUMETSAT: no existing mechanism for international funding but possibility still under investigation. Action set on Science Working Group to define users requirements.
  ISRO? IMD?
  JMA: no possibility for funding
  KMA?
  NASA?
  NOAA?
  CEOS/IVOS members: AIST, JAXA, KIOST, VITO?

## Slide 13: Who wants to do what?
Agency | Activity 1 | Activity 2 | Activity 3 | Activity 4 | Activity 5 | Any other topic
CMA |  |  |  |  |  | Use of alternative soil reflectance spectra + Independent estimate of the OS factor(?)
CNES |  |  |  |  |  | 
EUMETSAT | A.1/A.2 | B.1 | C.1/C.2 (with GOME-2)/C.3 | D.1/D.2/D.3 | E.1 (TBD) | 
ISRO/IMD |  |  |  |  |  | 
JMA |  |  |  |  |  | 
KMA |  |  |  |  |  | 
NASA |  |  |  |  |  | 
NOAA |  |  |  |  |  | 
USGS |  |  |  |  |  | 
AIST |  |  |  |  |  | 
JAXA |  |  |  |  |  | 
KIOST |  |  |  |  |  | 
VITO |  |  |  |  |  | 

## Slide 14: Expectations
  Timeline?
  Regular email exchange to check the status of the work (following actions/activities) + web meetings to present progresses
  In conjunction with other lunar calibration activities (ROLO/GIRO enhancements, new results, etc.)  web meetings + 2nd Lunar Calibration Workshop (Q1 2016?)
  Goal 1 = establish an inter-calibration procedure based on lunar observations
  Goal 2 = promote this method into GSICS activities (independent product or blending?)