## Slide 1: Towards Operational GSICS Corrections for Meteosat/SEVIRI IR Channels
Tim Hewison
EUMETSAT

## Slide 2: Overview & Purpose of the Presentation
Overview
What do we need to do to get GSICS Corrections for Meteosat-Metop/IASI to Operational Status?
Purpose of the Presentation. Seek decisions on:
Uncertainty inflation,
User Guide,
netCDF changes,
MFG-IASI

## Slide 3: Checklist for Promoting SEVIRI-IASI to Operational
Implement of ECPD578 to allow processing of MSG1,2,3 with IASI-A, & -B
Write Verification Report for ECPD578
Write Validation Report for ECPD578
Write Version Control Document
Activate feeds to Operational directories on EUMETSAT GSICS Server
Implement netCDF changes listed in email from Masaya sent on 21/07/2014
Add before and after calibration coefficients in netCDF
Ensure GSICS Plotting Tool can to used for bias monitoring of operational products
Write User Guide/Update Readme
Update EUMETSAT inter-calibration products webpage
Complete GPAF
Submit GPAF to GCC
GCC to update GSICS Product Catalog
GRWG/GDWG assessment of product quality/maturity
+ User feedback

## Slide 4: Current Situation for SEVIRI
Modified operational processor to read native format data
  Coded in Java & Python
Allows processing of SEVIRI on Meteosat-8, -9, -10, (-11)
Using reference collocations with IASI on Metop-A, -B, (-C)
Officially in Pre-Operational Status for Meteosat-9 and -10
  Using Metop-A/IASI reference
On paper everything is there for operational status
  But updating User Guide, based on feedback
Do we promote secondary references as GSICS products?
Do we promote NRTC and RAC?
Uncertainty analysis not consistent with product content:
  Do we inflate the uncertainties?

## Slide 5: Uncertainty Analysis
Hewison, T. J., 2013: An Evaluation of the Uncertainty of the GSICS SEVIRI-IASI Inter-Calibration Products", IEEE Trans. Geosci. Remote Sens., vol. 51, no. 3, Mar. 2013,doi:10.1109/TGRS.2012.2236330.
Type B Uncertainty analysis
  Review of “all” process introducing random & systematic uncertainties to final corrected radiances
  Based on Demonstration products
Validated with Type A analysis of random components (day-to-day variations):
  Random components underestimated by 2-4x

## Slide 6: Updated Analysis
Re-did analysis of the uncertainties on the PreOp dataset, using a new method
  Variogram, sampling at 29d intervals
But with the same conclusions:
  Uncertainty coefficients in GSICS Corrections underestimate random by a factor of ~2-4.

## Slide 7: Updated Error Budget
Meteosat/ SEVIRI Channel IR | 3.9 | 6.2 | 7.3 | 8.7 | 9.7 | 10.8 | 12.0 | 13.4 | mm
Standard Scene Radiance (as Tb) | 284 | 236 | 255 | 284 | 261 | 286 | 285 | 267 | K
Mean Bias (SEVIRI-IASI) for Standard Tb | -0.02 | -0.12 | +0.15 | +0.03 | -0.02 | +0.04 | +0.03 | -1.91 | K
Standard Deviation of Bias for Standard Tb | 0.07 | 0.04 | 0.03 | 0.04 | 0.06 | 0.02 | 0.03 | 1.78 | K
Median Uncertainty of Bias for Standard Tb | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | K
Random Uncertainty estimated from Bias variograms over 29d* | 0.05 | 0.02 | 0.03 | 0.04 | 0.06 | 0.02 | 0.02 | 0.04 | K
Total Systematic Uncertainty from [Hewison, 2013] | 0.008 | 0.003 | 0.002 | 0.002 | 0.002 | 0.003 | 0.003 | 0.004 | K
Table 1 Summary Statistics of Pre-Operational GSICS Re-Analysis Correction for Meteosat-9/SEVIRI in Full Disc Scanning in the period 2011-06-01/2012-11-01 (All Uncertainties are k=1)
*Calculated as RMSD(29d RAC)/sqrt(2)

## Slide 8: Question
Hypothesis:
  Uncertainty Analysis omitted important sources of uncertainty – e.g. Cloud Parallax
Should we update the ATBD to inflate all the coefficients’ uncertainties by a factor of (e.g.) 2 to account for contributions to their variability, which are not fully captured by either the error budget, or the uncertainty propagation in the current ATBD?

## Slide 9: User Guide
New User Guide covers:
  Guide to application for NRTC & RAC
  Updated Uncertainty Analysis
  Example application with sample IDL code
  Replaces previous ReadMe files?

## Slide 10: netCDF changes
:
We should use those new standard_names:
  - channel_name;
  current: empty -> "sensor_band_identifier" could be used
  - central_wavelength;
  current: "radiation_wavelength“ -> "sensor_band_central_radiation_wavelength" could be used
  - std_scene_tb;
  current: empty -> "toa_brightness_temperature_of_standard_scene" could be used
  - std_scene_tb_bias.
  current: empty -> "toa_brightness_temperature_bias_at_standard_scene_due_to_intercalibration“ could be used
Global attributes: references
  Current URL "http://www.eumetsat.int/Home/Main/DataProducts/Calibration/Inter-calibration" is not valid.
  Title "Real-Analysis" is used for NRTC
  window_period - Does not exist (this is not compulsory at present, but I think it's useful)
See also result of GDWG Discussion 4c on pending netCDF format changes
  E.g. Add coeff and covar
  Add function defining GSICS Correction: Lref = offset + slope*Lmon

## Slide 11: Current Situation for MVIRI
:
Prototype processing of MVIRI on Meteosat-7
Used to generate demonstration mode products
Not installed on operational system (coded in IDL)
Algorithm and demo products provided to Climate Services
  To develop procedures to recalibrate archive data
  To support reprocessing activities
Do we promote NRTC and RAC based on this implementation?

## Slide 12: Looking to v2
Having developed uncertainty analysis methodology,
Should review and reconsider:
Basis of inter-calibration:
  Regression: weighted/unweighted,
  linear/polynomial,
  radiance/brightness temperature,
  binned biases,
  inverse function,
  collocation filtering,
SRF shifting