## Slide 1
P K Thapliyal, Munn V Shukla and Ipshita Dey
SAC (ISRO)
INSAT-3D/IASI towards Demo

## Slide 2
GSICS recommended procedure adopted for INSAT-3D Imager/Sounder product generation.
Presently only IR channels attempted
VIS channels initiated using lunar calibration method.
MODIS DCC database will be very helpful in implementing VIS/SWIR channels calibration.
Filtering procedure needed for present match up data set.
Same procedure will be adopted for Kalpana and INSAT-3A.
For real time monitoring exiting EUMETCAST has problem, large data gaps due to reception problem. For past data/ archived data download procedure is very tedious and time consuming. Alternate method or source is needed.

## Slide 3
Presently GSICS website to be hosted in existing MOSDAC website (http://www.mosdac.gov.in). Thread server in SAC/ISRO to be explored.
GPPA form (GPAF) along with sample NetCDF file and ATBD available for review can be submitted immediately.
GSICS plotting tool in local GSICS server (???)
Training: Short term for a Data Working Group scientist and long term for a Research Working Group scientist will greatly help in making GSICS products operational