## Slide 1
2015 GSICS Annual Meeting (23-27 Mar 2015) @New Delhi, India
Dohyeong KIM, Hyesook Lee and Minju GU
National Meteorological Satellite Center
Korea Meteorological Administration
COMS WV Analysis

## Slide 2: Trend of TB Bias
IR1
IR2
WV
SWIR
trend of TB bias for COMS IR TBs
period: 2011.04 – 2014.12(IASI_A, AIRS), 2013.08 – 2014.12(IASI_B)
AIRS IASI_A IASI_B TOTAL
TB Bias (K)
TB Bias (K)
COMS TB (K)
COMS TB (K)
Bias 0.2237 0.2859 0.3296 0.2694
Bias 0.2175 0.2186 0.2753 0.2312
Bias -1.0005 -0.7485 -0.7652 -0.8614
Bias 0.1811 0.0374 0.0506 0.0905
IR2
RMSE 1.5041
RMSE 1.3806
RMSE 1.1780
RMSE 2.6635
large negative bias for warm temperature

## Slide 3: Trend of TB Bias
(+) bias with high variability in low TB
Systematic (-) bias with low variability in high TB
TB(IASI) > TB(COMS)
TB(IASI) < TB(COMS)

## Slide 4: Method : SRF shift
  Assume that the impact of SFR shape can be neglected
  Sensitivity test using RTM (Modtran vs LBLRTM)
  TB change analysis with varying the central wavelength of SRF for the case with or without cloud
  Reproduce the comparable IASI Brightness with COMS/MI SRF shift Temperature
  ※ Preliminary analysis made following Wu&Yu(2013, IEEE) about Brigtness Temperature, Blackbody emissivity, Nonlineariry, Scan mirror emissivity, Midnight effect and Water Ice contamination

## Slide 5: TB bias Test with SRF Shift
6~7km
SRF shift with the various atmosphere model
SRF shift with the various cloud base height
Mean Δ: 2.5 cm-1 (-0.0114 μm),

## Slide 6: TB Bias correction using SRF shift
TB bias(COMS-IASI) reduced by 0.4K(-0.71K  -0.32K)

## Slide 7
Thank you 