## Slide 1: IR Calibration Around Midnight for 3-Axis Stabilized Geo
X. Wu
Based on work by many people/years

## Slide 2: Outline
What is it?
Why is it?
What has been done?
What else?
Conclusions

## Slide 3: What is it
GEO Diurnal

## Slide 4
GOES-8 Imager
Instrument Monitoring
M. Weinreb et al

## Slide 5
Product Impacts
UW/CIMSS

## Slide 6
Product Impacts
UW/CIMSS

## Slide 7
Product Impacts
UW/CIMSS

## Slide 8
Product Impacts
UW/CIMSS

## Slide 9
Product Impacts
UW/CIMSS

## Slide 10
Product Impacts
UW/CIMSS

## Slide 11
Simulation and Confirmation
M. Weinreb et al
UW/CIMSS

## Slide 12: Why is it
GEO Diurnal

## Slide 13
~40ºK “now”
Complicated seasonal variations of diurnal heating
Long term trend
~60ºK some other days
One Week
One Month
One Year
One Satellite
D. Han
Goes-12 Scan Mirror Temperature
Root Cause - Thermal Stress …
D. Han et al

## Slide 14
Not a problem without this varying radiator
TBB
… coupled with blackbody …
M. Weinreb et al

## Slide 15
OK if =1 or Tenv=TBB
Less true for GOES
TBB
TBB
Tenv
… that is less than black
M. Weinreb et al

## Slide 16: What has been done
GEO Diurnal

## Slide 17
GOES-8 Imager
Correction (MBCC) …
M. Weinreb et al

## Slide 18
… and effects
M. Weinreb et al

## Slide 19: 15 years later …
Yu and Wu 2013, TGRS
Chart: GOES-11 Imager Ch3/4/5 Diurnal Cal. Variation
| Ch3 | Ch4 | Ch5
winter (K) | 0.18 | 0.79 | 0.71
Summer (K) | 0.19 | 0.61 | 0.5
MBCC correction was not always turned on around the midnight time at different channels
assuming

## Slide 20: MBCC Performance Evaluation – GOES-11 Imager IR Channels
R. Mundakkara et al.
Ch2 Ch3 Ch4 Ch5
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Diurnal variation varies at different channel and different season

## Slide 21
Channel | ΔTb4:00am,0:00am (K) | Channel | ΔTb4:00am,0:00am (K) | Channel | ΔTb4:00am,0:00am (K)
Ch1 | +0.25 | Ch7 | +0.54 | Ch13 | +0.33
Ch2 | +0.22 | Ch8 | +0.49 | Ch14 | +0.38
Ch3 | +0.25 | Ch9 | +0.67 | Ch15 | +0.61
Ch4 | +0.37 | Ch10 | +0.39 | Ch16 | +0.28
Ch5 | +0.24 | Ch11 | +0.44 | Ch17 | +0.51
Ch6 | +0.51 | Ch12 | +0.53 |  | 
Impact of the midnight calibration anomaly for GOES-11 Sounder IR channel 1 through Ch17. ΔTb4:00am,0:00am = ΔTb4:00am - ΔTb0:00am
Yu and Wu, 2013 TGRS
No MBCC applied to the Sounder IR channels

## Slide 22: GEO-GEO IR Inter-Calibration
New SRF
1)
2)
- D. Tobin et al. 2005 JGR
This algorithm can be applied to Sounder IR data. However, due to the application of MBCC calibration slope and smoothing of the radiance, it is challenging to apply to Imager IR channels
3)
Where and are the simulated GEO1 and GEO2 radiances using various atmospheric profiles. Could have large uncertainty at the sounding channels
Yu

## Slide 23: GEO-GEO Direct Inter-Comparison during GOES-15 PLT Period
GEO-GEO collocation
  Spatial collocation
  Temporal difference: < 5 minutes
  Geometric alignment: viewing zenith angle difference < 1%
GOES 13: -75o
GOES-15: -89.5o
Yu

## Slide 24: Direct GEO-GEO IR inter-comparison
BRDF
Midnight
Midnight
Midnight
Midnight
No correction was made for SRF difference
Note: the GEO-GEO inter-comparison was conducted before the SRF shifts for G15 Ch3 and Ch6
Yu

## Slide 25: Direct GEO-GEO Inter-Comparison – radiance quality monitoring
Yu

## Slide 26: What else
GEO Diurnal

## Slide 27: Not Much
Best to improve the root cause correction
  Little hope to improve predicting skills.
Had several thoughts in the past 10+ years.
Technically, cannot “retrieve” original data.
Program-wise, no priority / resources.
International collaboration with agency that
  Are interested
  Can extract original data

## Slide 28: conclusion
GEO Diurnal

## Slide 29: Conclusions
The issue of IR calibration of instrument on 3-axis stabilized geostationary satellite around satellite midnight is reasonably well understood.
Midnight Blackbody Calibration Correction (MBCC) has been implemented in several Imager-type instruments.
MBCC may be improved, however the lack of original data made it very difficult (if possible).
No mandate for NOAA to act further.
May be advanced via international collaboration.