## Slide 1: Prime GSICS Corrections
Tim Hewison
EUMETSAT

## Slide 2: Overview & Purpose of the Presentation
Overview
Update on Concept of Prime GSICS Corrections
Purpose of the Presentation
Seek agreement to generate demo products
Task someone to investigate applying concept to combine results from different algorithms

## Slide 3: 2014-07-23 web meeting Summary
Tim Hewison presented the following proposals:
To define one Primary GSICS Reference for each spectral band
To define Delta Corrections based on the mean double difference of the coefficients of GSICS Re-Analysis Corrections using different reference instruments, averaged over the reference instruments' overlap period
To blend the various GSICS Corrections using different reference instruments together to generate a Prime GSICS Correction, traceable to the primary reference.

## Slide 4: New Prime GSICS Corrections
Chart: Availability of References
Mon | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Ref1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ref2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Ref3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Chart: Modified References
Mon | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Ref1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ref2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ref3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Define one Primary GSICS Reference
  For each spectral band/application
  By consensus agreement within GSICS
Use others as Transfer References
Blend corrections from all references
  After modifying Corrections to Primary GSICS Reference
Ensures long-term continuity
  Without calibration jumps
Ensures Traceability
  back to single Primary Reference
Simplifies users’ implementation
Could also blend multiple methods?
Chart: Simple Weighting of Each Reference
%Ref1 | 103 | 103 | 103 | 103 | 103 | 103 | 103 | 53 | 53 | 53 | 36.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%Ref2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 52 | 52 | 35.3333 | 52 | 52 | 52 | 52 | 52 | 0 | 0 | 0
%Ref3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.3333 | 51 | 51 | 51 | 51 | 51 | 101 | 101 | 101

## Slide 5: Correcting the Corrections and Blending References
Applied
by User
Reference-1 (Primary)
Monitored Instrument
GSICS Correction, g1 Mon1
Reference-2
(Secondary)
GSICS Correction, g2 Mon2
MonRef1
Delta
Correction, g1/2
21
Derived by GSICS
Modified
Correction, g2,1/2
Mon 21
Prime GSICS Correction, g0 Mon1
-
g̅
+

## Slide 6: Users’ Application of Prime GSICS Correction
Monitored Instrument
Prime GSICS Correction, g0 Mon1
MonRef1

## Slide 7: 2014-07-23 web meeting Outcomes
In the future the concept could be extended to obtain SI traceability if such a reference instrument becomes available - either using the double difference of GSICS Corrections, or by applying the SRFs to direct differences of hyperspectral instruments obtained by SNOs.
It was pointed out that after the overlap period, the traceability chain is strictly broken. This means we need to characterise the uncertainty growth - particularly in the case where there is a significant trend in the references' double differences.
The necessary stationarity tests should be applied to time series of double differences of GSICS Corrections using AIRS and IASI. [Masaya Takahashi (JMA) plans to investigate this.] They could also be applied to time series of IASI-A/B double differences after applying synthetic jumps.
We also discussed applying the concept to blend results from different inter-calibration methods (e.g. for GEO-LEO VIS products). It was noted that in general the uncertainty of the blended product could be larger than that of the best method, if the methods are applicable to different scenes, as this could cause them to underestimate the uncertainty when applying their results to more general scenes.
Rob Roebeling delivered Viju John's presentation on the impact for Archive Re-Calibration products. This analysis will need to account for diurnal variations in the geostationary imagers' calibration. It was greatly appreciated that NOAA (Manik Bali) plans to investigate this for both GOES and Meteosat imagers.
Masaya Takahashi (JMA) proposed changes to the content of the netCDF files and GSICS servers to accommodate the changes proposed above. Masaya's recommended solutions were approved in principle, but the details will be discussed further by email.

## Slide 8: 2014-07-23 web meeting Actions
Action: Tim Hewison to circulate proposed scheme for scoring reference instrument.
Action: Tim Hewison and Manik Bali to prepare presentation to explain proposed new GSICS Prime Corrections for Users Workshop.
Action: Tim Hewison to coordinate inputs for a white paper on comparisons of IR reference instruments. This could include analysis of double differences from different geostationary imagers and reference instruments, including multiple FY-2 instruments by Xu Na (CMA), and from NWP+RTM models (NOAA MICROS team). It should also include a validation of the delta corrections using direct SNO comparisons from different LEO reference instruments (e.g. Dave Tobin).

## Slide 9: Requirements for updating the current file naming / netCDF conventions
Summary of issues on the new GSCIS products
  GEO-LEO-VISNIR
    This algorithm type contains “multiple methods’ results” in one file
    Addition of the THREDDS directories is necessary
    GRWG requirements: GDWG to investigate the method to implement multiple calibration methods’ results in one netCDF file
  GSICS Prime Correction for GEO-LEO-IR
    Change of file naming: slightly different file naming from existing GEO-LEO-IR
    This product contains “multiple references’ results” in one file
    Change of THREDDS directory structure is necessary
    GRWG requirements: GDWG to discuss whether the file naming is acceptable or not
  One GSCIS Correction file for one target instrument
    The same issue as GEO-LEO-VISNIR product
Note
  Once these variables are changed, the bias plotting tool should also be modified
  Topics on the THREDDS configuration will be discussed on Thursday 6c
To be discussed in GDWG 4d

## Slide 10: Requirements Summary
Need to establish requirements:
  User Requirements
    Seek feedback from beta testers
  Development of Stationarity Tests
  Ensure GDWG can accommodate Prime GSICS Correction Products:
    In GSICS Servers
    Within GSICS netCDF file naming and variable conventions

## Slide 11: Discussion – Who will do What, When???
Seek agreement to generate demo products for IASI-A/B
Seek agreement to generate demo products for IASI-AIRS (diurnal)
What needs to be done for each:
  Generate demonstration products
  Draft ATBD – done for IASI-A/B – See Wiki ATBD Central
  User Guide
  Complete GPPA
  Uncertainty analysis (later)
Develop stationarity tests to check overlap period can be extrapolated
Investigate applying concept to combine results from different algorithms