## Slide 1: GSICS DCC calibration update
Nov 3, 2015

## Slide 2: Outline
GSICS DCC plotting tool
DCC QC during processing
DCC update frequency
Next DCC web meeting topics
Improvements in MODIS/GEO ray-matching
  To validate the DCC algorithm to transfer the MODIS calibration reference

## Slide 3: GSICS plotting tool
Plot the gain over time
Do we also plot the monthly PDFs?
  For internal QC

## Slide 4: Met-10 10.8µm @286K
Metop-A pre
Metop-B pre

## Slide 5: Met-10 10.8µm @205K
Metop-A pre
Metop-A Demo
Metop-B pre
Metop-B Demo

## Slide 6: Met-8 10.8µm @205K
Metop-A pre
Metop-B pre
• Do we have some kind of quality control?
• In this case there is probably sparse sampling and a lack of dynamic range (Apr 2010)

## Slide 7
Met-9 10.8µm @205K
Metop-A pre
Metop-B pre

## Slide 8: DCC methodology
The DCC methodology must have some QC
  Sampling threshold
  PDF shape, based on PDF statistics
  3 sigma outlier
If insufficient sampling or noisy PDFs then
  Combine previous month and current month
If GSICS data product causes artifacts in the users algorithms or exceeds the valid range, which causes their programs to terminate they will not use the calibration coefficients.
  The dataset can be perfect 99%, but the 1% will upset users
  Users rely on dataset providers for QC
  CERES code is 50% exception handling

## Slide 9
DCC update frequency

## Slide 10
Met-9 calibration gains
• All of the calibration gains within 0.2% over the record
• All transferred the Aqua-MODIS calibration succesfully
• There is residual methodology noise and invariant site natural variability
• Use deseasonalization to remove known oscillations
• Even after all know oscillations are removed, noise will remain.
• Best to use a temporal trend to mitigate measurement noise
Libya-4
DCC
Ray-matching
All scenes
Ray-matching
DCC

## Slide 11
Next DCC meeting topics
• In this case there is no seasonal cycle, but yet a linear regression makes the most sense
• Do we use the every measurement as the update frequency?
• An instrument anomaly would have to exceed 2*sigma to be detected by this method
Data from EUMETSAT

## Slide 12: NOAA Implementation
Normalized to a common Day1 reflectance
Trending fitting
Monthly Statistics
Combining the Normalized Data
Removal of predictable oscillations
Wu GSICS 2015 annual meeting
For a single calibration method, we stop at trend fitting
Outlier removal performed with all calibration methods

## Slide 13: Visible degradation of optics
We expect the optics to degrade gradually
We expect no sudden discontinuities
For satellites with solar diffusers
  Does GSICS calibrate the visible count level data? Solar diffuser just another calibration method
  Or is the level 1 data calibration coefficients applied first, similar to the MODIS product

## Slide 14: Next DCC meeting topics
DCC method applied to other bands
  There will be enough months of Himawari-8 to perform DCC algorithm for the next web meeting
  Also reexamine MSG 1.6µm channel
Seasonal cycle mitigation
  KMA BRDF model
  More Lambertian part of BRDF
  Need to work with the month with the least sampling

## Slide 15: DCC algorithm Aqua-MODIS calibration transfer uncertainty
We have been concentrating on refining the DCC calibration algorithm for stability
We assume that the long-term Aqua-MODIS PDF mode radiance is equal to the GEO PDF mode radiance observed during the Aqua-MODIS overpass
  MODIS and GEO would observe the same DCC systems but not under the same angular conditions, rely on the DCC BRDF to remove angular differences
  Need to determine uncertainty of this assumption
  What is the natural variability of the DCC invariant target?
  This method can then characterize DCC as an absolute calibration target
Use Aqua-MODIS/GEO ray-matched radiance pairs as the truth
  Use two ray-matching methods to improve the individual algorithms and reduce the overall uncertainty
  Aqua-MODIS or NPP-VIIRS ray-matching also introduces the MODIS or VIIRS calibration anomalies (scan angle dependencies) into the GEO record

## Slide 16: Improvements in MODIS/GEO ray-matching

## Slide 17: Graduated Angle Matching (GAM)
July 2007
Aqua-MODIS 0.646 µm Radiance (Wm-2sr-1µm-1)
MET9 0.64µm, CNT (10 bit)
• Baseline ray-matching
DSZA< 5° (15 minutes), DVZA<15°, DRAZ < 15°, DSCAT< 15°, no sunglint
• Note most of the points are in clear-sky (dark radiances) where the conditions are most anisotropic
• The least number of points occur over bright clouds that are most isotropic
• Then a more restrictive angle matching can be applied to the dark radiances, while retaining sufficient dynamic sampling

## Slide 18: Graduated Angle Matching (GAM)
Aqua-MODIS 0.646 µm Radiance (Wm-2sr-1µm-1)
MET9 0.64µm, CNT (10 bit)
DVZA < 5, DRZA < 5
DVZA < 10, DRZA < 10
DVZA < 15, DRZA < 15
July 2007
• Split the Aqua-radiance domain into 3 sections, increase the angular restriction in the lowest 2 sections

## Slide 19: Graduated Angle Matching (GAM)
GAM
NO GAM
Xoff = 53.3
STDerr% = 5.57
NUM = 918
Xoff = 51.0
STDerr% = 4.13
NUM = 231
Aqua-MODIS 0.646 µm Radiance (Wm-2sr-1µm-1)
MET9 0.64µm, CNT (10 bit)
MET9 0.64µm, CNT (10 bit)
• The X offset or the linear regressed offset is closer to the true space count of 51 using the GAM method

## Slide 20: Spectral Band Adjustment Factor (SBAF)
MODIS/GEO spectral responses
SCIAMACHY Met-9/MODIS SBAF
• Convolve the footprint SCIAMACHY hyper-spectral radiances with the Met-9 and MODIS spectral response functions. Regress the SCIAMACHY pseudo radiances over the ray-matching domain. Apply the SCIAMACHY SBAF to the MODIS radiances.

## Slide 21: SBAF Comparison
SCIAMACHY SBAF
Solar Constant Ratio
Xoff = 52.3
STDerr% = 4.23
NUM = 240
Xoff = 51.0
STDerr% = 4.13
NUM = 231
Aqua-MODIS 0.646 µm Radiance (Wm-2sr-1µm-1)
MET9 0.64µm, CNT (10 bit)
MET9 0.64µm, CNT (10 bit)
• Apply the SBAF to the Aqua-MODIS radiances
• The X offset or the linear regressed offset is closer to the true space count of 51 using the SCIAMACHY SBAF

## Slide 22: GAM and SCIAMACHY SBAF validation
•The mean timeline GEO space count based on the monthly linear regressions of Aqua-MODIS radiances and GEO count ray-matched pairs.
• The published space count is the operational GEO maintained of the residual or space count.
• Both the application of GAM and the SCIAMACHY SBAF causes the monthly linear regression offsets to become closer to the GEO instrument maintained space count

## Slide 23: DCC ray-matching algorithm
• Find Aqua equatorial crossings in GEO DCC domain (±40° E/W, ±20° N/S of GEO sub-satellite point)
• Identify the MODIS DCC pixels and predict the GEO angles
• Aggregate MODIS pixel data into 30-km FOV
• Use MODIS pixel lat/lon to locate GEO pixels, and aggregate pixel data into 30-km GEO count and MODIS radiance pairs
• Systematically locate the coldest MODIS pixel centers, by finding the FOV with the coldest temperature and then removing all other DCC identified pixels within the FOV and repeating
• Normalize the cosine SZA, apply SCIAMACHY SBAF factor, perform monthly linear regressions to derive monthly gains
DCC Parameter | Threshold
sVS | <0.2%
sIR | <7.5K
DAngle | DRZA<25, DVZA<15
DTime | 15 min
Temp | <220 K
Angles | VZA<40, SZA<40
FOV | 30-km

## Slide 24: Comparison of DCC and gridded ray-matching, May 2009
Xoff 51.3
STDerr% 1.70
NUM 1242
Xoff 54.3
STDerr% 2.90
NUM 241
AQUA 0.646 µm Radiance (Wm-2sr-1µm-1)
MET9 0.64µm, CNT (10 bit)
MET9 0.64µm, CNT (10 bit)
DCC Ray-matching
Gridded Ray-matching
• The monthly standard error of the linear regression is smaller for the DCC
• DCC are the most Lambertian Earth targets allowing for the greater angular tolearance, with the least SBAF uncertainty

## Slide 25: Comparison of DCC and gridded ray-matching Met-9 2007-2013
Gridded DCC
Gain 0.5534 0.5538
STDerr 0.83% 0.43%
• DCC have both the least monthly and temporal standard errors.
• Both methods give a timeline gain within 0.1%

## Slide 26: Comparison of DCC and gridded ray-matching algorithm GEO gains
 | Gridded Gain | Gridded STDerr | DCC Gain | DCC STDerr | % difference
Met-9 | 0.5534 | 0.83% | 0.5538 | 0.43% | 0.1%
GOES-15 | 0.7781 | 0.86% | 0.7760 | 0.35% | 0.3%
GOES-13 | 0.7857 | 0.88% | 0.7842 | 0.42% | 0.2%
Met-7 | 0.6127 | 0.85% | 0.6146 | 0.60% | 0.3%
MTSAT-2 | 0.5838 | 1.20% | 0.5901 | 0.39% | 1.1%
• DCC have the least monthly and temporal standard errors.
• DCC and gridded ray-matching timeline gains agree within 0.3% except for MTSAT-2
• Still investigating MTSAT-2
• In order reduce the GEO calibration gain uncertainty below 2% the SBAF and matching errors must be accounted for.

## Slide 27: Conclusions
Initial disagreement between gridded and DCC ray-matching gains prompted improvements in both procedures
Both the SCIAMACHY SBAF and GAM gridded ray-matching methodologies were validated by comparing the linear regression offset to the true space count
Both DCC and gridded ray-matching relies on sufficient monthly sampling during all months of the year. The thresholds were derived using the months with the least DCC and gridded matches
The GEO ray-matched calibrations will be used to validate the GSICS DCC calibration ability to transfer the Aqua-MODIS reference calibration