## Slide 1: DCC inter-calibration of Himawari-8/AHI VNIR bands
Masaya Takahashi
Meteorological Satellite Center,
Japan Meteorological Agency

## Slide 2
1) DCC selected using GSICS standard algorithm (“standard DCC”)
Based on Doelling et al. (2011)
SSP +/- 20 deg. (20S-20N, 120.7E-160.7E), IR (Band13: 10.4μm) < 205K, solar/satellite viewing angle < 40 deg., Smoothed pixels based on 3x3 pixels stdv
Hu BRDF
S-NPP/VIIRS: not implemented yet
2) DCC from Himawari-8/AHI vs. S-NPP/VIIRS ray-matched data (“ray-matched DCC”)
Based on Doelling et al. (2011)
Δt < 5 minutes, difference of solar/satellite zenith angle, azimuth angle < 10 deg., etc.
Spatial averaging (e.g. 0.5 deg. bin) is NOT applied
SBAF for DCC (derived from NASA Langley SBAF website)
Himawari-8/AHI | Band1 (0.47) | Band2 (0.51) | Band3 (0.64) | Band4 (0.86) | Band5 (1.6) | Band6 (2.3)
S-NPP/VIIRS | M3 (0.488) | M3 (0.488) | I1 (0.640) | M7 (0.865) | M10 (1.61) | M11 (2.25)
DCC data used in this study (Mar.-Dec. 2015)
Channels used for inter-comparison

## Slide 3
Radiance [W/m2/sr/um]
Radiance [W/m2/sr/um]
Radiance [W/m2/sr/um]
“Standard DCC” : monthly AHI radiance PDFs
Band 1 (0.47μm) Band 2 (0.51μm) Band 3 (0.64μm)
Band 4 (0.86μm) Band 5 (1.6μm) Band 6 (2.3μm)
Data before calibration slope updates
stable
stable
stable
seasonality?
seasonality?
stable

## Slide 4
AHI Band1 (0.47μm), VIIRS M3 (0.488 μm) AHI Band2 (0.51μm), VIIRS M3 (0.488 μm) AHI Band3 (0.64μm), VIIRS I1 (0.640 μm)
AHI Band4 (0.86μm), VIIRS M7 (0.865 μm) AHI Band5 (1.6μm), VIIRS M10 (1.61 μm) AHI Band6 (2.3μm), VIIRS M11 (2.25 μm)
Time series of AHI/VIIRS radiance mode
AHI/VIIRS “Ray-matched DCC”
In general, both DCC modes show similar trend/variation
Most collocations are over the ocean
Discrepancy (e.g. VIIRS I1 in Sep 2015) could be caused by small sample size
Radiance [W/m2/sr/μm]
Radiance [W/m2/sr/μm]

## Slide 5
Comparison of DCC results by NOAA
(VIIRS Validation Site: http://ncc.nesdis.noaa.gov/VIIRS/VSTS.php)
M3 (0.488 μm) I1 (0.640 μm)
M7 (0.865 μm) M10 (1.61 μm) M11 (2.25 μm)
VIIRS M10
VIIRS M11
from ray-matching data

## Slide 6
Comparison of DCC results by NOAA
(VIIRS Validation Site: http://ncc.nesdis.noaa.gov/VIIRS/VSTS.php)
M3 (0.488 μm) I1 (0.640 μm)
M7 (0.865 μm) M10 (1.61 μm) M11 (2.25 μm)
VIIRS M10
VIIRS M11
Compared with NOAA results…
M10: Radiance mode in Aug 2015 is not small
M11: Similar trend
from ray-matching data
VIIRS M10
VIIRS M11
from ray-matching data
Aug 2015
Aug 2015
Aug 2015
Aug 2015

## Slide 7: Comparison of multiple calibration methods
Band1 (0.47μm) Band2 (0.51μm) Band3 (0.64μm)
Band4 (0.86μm) Band5 (1.6μm) Band6 (2.3μm)
VNIR bands calibration slope: updated on 8 June 2015 based on solar diffuser observation
Calibration accuracy: reduced (except for Band 5) after the update
Slight degradation (~1%) after June 2015
Outlier of ray-matching DCC result in Sep. 2015: could be caused by small sample size (~5000)
Time series of “ray-matched DCC”, Ray-matching and RT simulation results
Cal. Coef. updated

## Slide 8
Day-to-day variation of DCC PDF statistics (Sep 2015)
Radiance [W/m2/sr/um] Radiance [W/m2/sr/um] Radiance [W/m2/sr/um]
# of DCC data
# of DCC data
Standard AHI DCC Ray-matched AHI DCC Ray-matched VIIRS DCC
1.6 μm 0.6 μm
Band3
(0.64 μm)
Band3
(0.64 μm)
M3
(0.640 μm)
Band5
(1.6 μm)
Band5
(1.6 μm)
M10
(1.61 μm)
# of data:
~7000
# of data:
~5000
# of data:
~4000
# of data:
~7000
PDF shape differs day to day

## Slide 9
Day-to-day variation of DCC PDF statistics (Sep 2015)
Radiance [W/m2/sr/um] Radiance [W/m2/sr/um] Radiance [W/m2/sr/um]
# of DCC data
# of DCC data
1.6 μm 0.6 μm
Band3
(0.64μm)
Band3
(0.64μm)
M3
(0.640μm)
Band5
(1.6μm)
Band5
(1.64μm)
M10
(1.61μm)
Standard AHI DCC Ray-matched AHI DCC Ray-matched VIIRS DCC
Ray-matched AHI/VIIRS DCC: data on 2 September are removed

## Slide 10: Comparison of multiple calibration methods
Band1 (0.47μm) Band2 (0.51μm) Band3 (0.64μm)
Band4 (0.86μm) Band5 (1.6μm) Band6 (2.3μm)
Time series of “ray-matched DCC”, Ray-matching and RT simulation results
Cal. Coef. updated
Ray-matched AHI/VIIRS DCC: data on 2 September are included

## Slide 11: Comparison of multiple calibration methods
Band 1 (0.47μm) Band 2 (0.51μm) Band 3 (0.64μm)
Band 4 (0.86μm) Band 5 (1.6μm) Band 6 (2.3μm)
Time series of DCC from ray-matched data, Ray-matching and RT simulation results
Ray-matched AHI/VIIRS DCC: data on 2 September are removed
Discrepancy from other methods: reduced
Band2: discrepancy remains because data on 2 September is not critical
Need to revisit ray-matching implementation at JMA in order to derive stable results

## Slide 12
Band 1 (0.47μm) Band 2 (0.51μm) Band 3 (0.64μm)
Band 4 (0.86μm) Band 5 (1.6μm) Band 6 (2.3μm)
1%
SD Observation : ~once every 2 weeks
Data before the end of Feb 2015: not reliable due to incorrect inputs for cal. slope calculation
Degradation: ~1% / year in Bands 1-4, not clear in Bands 5 and 6
Generally consistent results with other calibration methods
Degradation of SD will be evaluated in the near future
Time series of inverse of calibration slope w.r.t. day 1 SD observation
AHI solar diffuser calibration

## Slide 13
Summary
1) DCC based on NASA algorithm Stable results in all VNIR bands (0.47, 0.51, 0.64, 0.86, 1.6, 2.3 μm)
Difference of DCC statistics over land/ocean will be investigated
MODIS, VIIRS will also be implemented
2) DCC from Himawari-8/AHI vs. S-NPP/VIIRS ray-matched data
Show similar trends other calibration methods: ray-matching incl. water clouds pixels, RT simulation, solar diffuser
DCC method could be applicable to all AHI VNIR bands
Implementation will be revisited to derive stable results
To continue comparison of multiple calibration methods
To integrate calibration methods
Future plans for all VNIR calibration methods