## Slide 1: Impacts of GSICS inter-calibration on JAXA’s HIMAWARI-8 SST
Yukio Kurihara (JAXA/EORC)
February, 2015
Annual meeting of GRWG+GDWG at JAXA

## Slide 2: Topics
Himawari-8 SST by JAXA
Impacts of GSICS inter-calibrations
Summary

## Slide 3: Contents
Himawari-8 SST by JAXA
Impacts of GSICS inter-calibrations
Summary

## Slide 4: Himawari-8 SST by JAXA
High observation frequency and high spatial resolution
Skin SST estimation by quasi-physical algorithm
Cloud detaction by Baysian inference method
Himawari Monitor
(Future) Synergy with MODIS/Terra and Aqua, AMSR-2/GCOM-W, VIIRS/Suomi-NPP, and SGLI/GCOM-C
http://www.eorc.jaxa.jp/ptree/index.html

## Slide 5: Algorithm outline
SST algorithm
  Skin SST
  Quasi-physical algorithm which uses parameterized radiative transfer equation
  RTM (RTTOV10.2), NWP data and no in-situ data for the algorithm calibration
Cloud algorithm
  Cloud probability
  Bayesian inference method
  Empirical PDF

## Slide 6: SST calculation
SSTλ0
SSTλ1
SSTλ2
SSTmost likely
MLE / Least Square
likelihood
/ residual
r(x)
:
Newton’s method
Satellite data

## Slide 7: Combinations for JAXA’s prodact
10.4 + 11.8 + 8.6 (SST 8.6)
10.4 + 11.8 + 3.9 (SST 3.9) (nighttime only)

## Slide 8: Quality of the Himawari-8 SST (8.6 um)
2016/1
2015/6
7
8
9
10
11
12
Bias – 0.12 ~ – 0.18
STDV 0.54 ~ 0.58
Cloud probability < 0.3

## Slide 9: Contents
Himawari-8 SST by JAXA
Impacts of GSICS inter-calibrations
Summary

## Slide 10: Navigation and Calibration correction
26 March
  Applied co-registration to bands 7 – 6 (Navi.)
18 May
  Changed horizontal sampling interval (Cali.)
8 June
  Updated calibration coefficients (Cali.)

## Slide 11: March 26, 2015 (Navigation)
Applied co-registration process
  Target bands : Band 7 – Band 16
Bias and STDV
N
H8SST - buoy

## Slide 12: May 18 (Calibration)
Changed horizontal sampling interval
Bias and STDV
N
H8SST - buoy

## Slide 13: June 8 (Calibration)
Updated calibration coefficients
Bias and STDV
N
H8SST - buoy

## Slide 14: Data
Himawari-8 data
  Nighttime (1200, 1500, and 1800 UTC), November, 2015
Inter-calibration coefficients
  Airs, IASI-A for IR bands of 3.9, 8.6, 10.4, and 11.2 um
  Downloaded from the Meteorological Satellite Center
Himawari-8 SST
  SST 8.6, SST 3.9
  Cloud probability < 0.3
Buoy data
  Tropical moored buoy and drifting buoy
  Downloaded from the iQuam of NOAA
Other satellite SSTs
  MODIS/Terra and /Aqua, VIIRS/Suomi-NPP

## Slide 15
10.4 um
11.8 um
8.6 um
3.9 um
GSICS inter-calibrated (IASI-A)
Inter-calibrated Data – Original data

## Slide 16
SST 8.6
SST 3.9
Cloud mask
GSICS inter-calibrated (IASI-A)
Inter-calibrated Data – Original data

## Slide 17: Impacts on Himawari-8 SST (8.6)
Bias and standard deviation against buoy data
  Magenta : GSICS (Airs)
  Blue: GSICS (IASI-A)
  Light Blue : Original
satellite – buoy (K)
buoy data (K)
satellite zenith angle (degree)
Inter-calibration (Airs) increased negative bias.
Inter-calibration (IASI-A) increased the temperature dependency of the bias.
Inter-calibration (IASI-A) improved negative biases.

## Slide 18: Impacts on Himawari-8 SST (3.9)
Inter-calibration (Airs?,IASI-A) improved negative biases.
buoy data (K)
satellite – buoy (K)
Bias and standard deviation against buoy data
  Magenta : GSICS (Airs)
  Blue: GSICS (IASI-A)
  Light Blue : Original
satellite zenith angle (degree)

## Slide 19: Comparison with other satellite SST
37 N
Date
  17:30 UTC, 3 Nov. 2015 (night-time)
GSICS inter-calibration
  IASI-A
Inter-calibrated SST
  Himawari-8 SST (3.9)
Other satellite SST (3.7)
  MODIS/Terra
  MODIS/AQUA
  VIIRS/Suomi NPP
  Himawari-8 (Original)

## Slide 20
Longitude (degree)

## Slide 21
Longitude (degree)

## Slide 22
applied GSICS (IASI-A)
Longitude (degree)

## Slide 23: Contents
Himawari-8 SST by JAXA
Impacts of GSICS inter-calibrations
Summary

## Slide 24: Summary
SST retrieval is sensitive to the calibration of the satellite data.
Impacts of the GSICS inter-calibration on the Himawari-8 SST were examined by using the data during the nighttime in Nov. 2015.
GSICS inter-calibrations seemed to depend on the reference instrument.
Impacts on the Himawari-8 SST seemed to depend on the IR data which were used to estimate SSTs.
GSICS inter-calibrations based on IASI-A is likely to have made positive impacts on the Himawari-8 SSTs which were retrieved by using 3.9 um data.
Consistency of the satellite SSTs is likely to be improved by inter-calibration.

## Slide 25: Thank you

## Slide 26: Back ups

## Slide 27
BTD 10.4 – 11.8
Himawari-8 SST (8.6)
Himawari-8 SST (3.9)