## Slide 1: 2s. Defining GSICS Products and Deliverables
Larry Flynn and Manik Bali
2016 GSICS Annual Meeting
JAXA, Tsukuba Japan
February 29 – March 4, 2016

## Slide 2: Categorization of existing and potential GSICS Holdings / Commodities
Core products
  Subject to GPPA
Models and data sets
  These should be reviewed by GSICS and recommended for use (or not).
Tools
  These are made available because GSICS members find them useful.
GSICS Documents
GPRC and OSCAR Documents and Resources

## Slide 3: Core Products – Subject to GPPA
Products currently in the Catalog
Estimates of Level 1 changes other than biases
  Wavelength scale drift estimates
  SRF estimates
Estimates from vicarious calibration, especially for stability and transfer
  DCC statistics, target reflectivities
Reference instrument records over some period of time
  A stand-alone ECVR – E.g., this record is found to have xx accuracy and yy precision and zz stability over 20aa to 20bb for nighttime ocean scenes
Products connected with ECVRs or FCDRs
  a sequence of bias adjustments
  a record segment that is adjusted from beginning to end and has good error estimates included.
Notes: Reference instruments:
Agencies will compare to what they know.
Independent records are valuable.
Every user will have their own scorecard for what is “best”.
Stability must be continually monitored. Three reference instruments are good for this.
IR comparisons to Sonde collection, GSPRO and AVIRIS.\
SBUV/2 CDR adjustment to NOAA-16 SBUV/2? to SAGE or MLS?

## Slide 4: Concerns and Discussion
The GPPA may need some modifications for these.
Traceability is a continuum – Which products are SI traceable and which are not?
Who are the users of each product and what are their requirements?
The GPPA demands input for the reviews from users – how do products with the developer as primary user move forward?
How do products that have served their purpose (e.g., were used to make an ECV) identify users?
Do the adjusted ECV record holdings fall under a climate data program’s domain more naturally?

## Slide 5: Models and Data Sets
Lunar Spectra / GIRO
Reference Solar Spectra
  Or do we leave this up to CEOS IVOS or someone else?
Key calibration data sets
  Or should these live at GPRCs or OSCAR with links at GSICS?
Target Reflectivity/Emissivity
  Or are these possible new products?
Emission Lines and Absorption Constants
  How do we agree on the best sources?
Radiative Transfer Models (e.g., JCSDA CRTM)
  Should this be in the Tools Category?

## Slide 6: Concerns and Discussion
These should be reviewed by GSICS and recommended for use. We should require some amount of documentation on the theory and use.
Each one should be considered on a case by case basis as to where they live, who maintains them and what the GSICS associations are.
Many key calibration data sets are just accepted as the agency best effort. They may also be discussed for consideration as products. That is, go through elements of the GPPA and other GSICS reviews to establish their error bounds.
Are the primary users for these the GRWG members?
Is external versus internal users a helpful classification criterion for what should become GSICS holdings?

## Slide 7: Tools
SNO Matchup software
FOV alignment tools
Bias Monitoring tool
Readers for Level 1 data sets
  Or should these live at GPRCs?
SBAF Plotting, Plotting tools, THREDDS servers, product generation environment, wiki, Data processing tools developed within GSICS (e.g., NetCDF, HDF and other kinds of database manipulation)

## Slide 8: Concerns and Discussion
Some of these may or may not be available directly from GSICS web sites.
If the developers of tools want them to be recommended / approved for use, will we need to review them and may require users’ guides, ATDBs etc.
One could argue for moving the SNO from this category to the previous one.
Can we prescribe a minimum set of tools and documents that should be available for any instrument with measurements used in GSICS? If so, then we could provide a standard set of links to these resources.

## Slide 9: GSICS Documents
Examples of these are in the current GSICS holdings.
Documents associated with products (e.g., ATBDs, Reviews, Users’ Guides, metadata rules)
Documents associated with GSICS processes and procedures
Action Items and their Outcomes
Quarterly newsletters
Documents associated with meetings (Presentations, Minutes)
Websites
Some of these documents have procedures for reviews others will need approval from the EP as their contents are updated.

## Slide 10: Examples of GPRC and OSCAR Documents and Resources
Instrument validation and laboratory testing reports
Instrument and platform anomaly/status timeline compilation
Instrument specifications and performance (or are these calibration data?)
Agency comparison and monitoring results not submitted as products
These may live at the GPRCs or other locations, e.g., OSCAR or NOAA ICVS. They could be listed (with links) as resources at the GCC. We should interact with the instrument operator to determine what links should be provided for each instrument at GSICS and where the content should live. We should interact with the agencies and the WMO if we think there is a need for additional content.

## Slide 11: Overarching Concerns
What should each agency commit to provide along with an instrument’s measurements? (E.g., SRFs, readers, two-line elements …)
How do users and researchers find what they want or even know it exists?
Where should different resources live and who maintains them?
What happens to products after an instrument’s end-of-life?

## Slide 12: Background slides

## Slide 13: Jerome’s Matrix to map GCC presentation to FOR document
GCC presentation | GSICS-FOR | Possible revision
Various GSICS Products But only some of them are subject to a product acceptance procedure | Various GSICS Deliverables But only some of them are called “Products”. All Products are subject to Product acceptance procedure | Various GSICS Deliverables. Including “GSICS Products” which are routine corrections generated in accordance with GSICS-certified methods.
Corrections and well determined methods | - The corrections (e.g. regression coefficients) delivered to satellite data users are “Products”. either NRT or wrongly named “reanalysis” | Products are routine corrections applicable to calibration coefficients (regression coefficients and ancillary information TBD) either in NRT, or delayed (centered time-averaging window) using certified algorithms. Products could also include corrected calibration coefficients (correction already applied)
 | - The methods to generate these NRT corrections (ATBDs) are mainly internal deliverable. | Certified algorithms applicable:
FCDRs, ECV | Algorithms to generate FCDRs (EP-15 clarified that FCDR are not GSICS products. Generating a FCDR from historical data requires another level of effort – close to archeology !) | - by climate users for archive reprocessing to generate FCDRs - by sat operators to generate the GSICS NRT or delayed products
Databases | For the purpose of high-level communication I suggest we merge these 3 deliverables in a broad category | Databases,
References |  | References,
Tools |  | and tools
Documentation | Documentation | Documentation
RTM | RTMs are beyond the role of GSICS. The agreed Vision recommended partnership with the RTM community. | 
Notes: Does GPSRO provide traceable calibration of IR sensors? Does it need an RTM?
Does the MW community use spectral characterization in the CRTM?