## Slide 1: Do we need to generate Prime GSICS NRTCs?
Tim Hewison
EUMETSAT

## Slide 2: Overview & Purpose of the Presentation
Overview
Do we need to generate Prime GSICS NRTCs?
Purpose of the Presentation
Quick reminder on Prime GSICS Corrections concept
Seek decision on whether to generate Prime NRTC
Seek decisions on way forward with Prime RACs

## Slide 3: New Prime GSICS Corrections
Chart: Availability of References
Mon | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Ref1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ref2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Ref3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Chart: Modified References
Mon | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Ref1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ref2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ref3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Define one Primary GSICS Reference
  For each spectral band/application
  By consensus agreement within GSICS
Use others as Transfer References
Blend corrections from all references
  After modifying Corrections to Primary GSICS Reference
Ensures long-term continuity
  Without calibration jumps
Ensures Traceability
  back to single Primary Reference
Simplifies users’ implementation
Could also blend multiple methods?
Chart: Simple Weighting of Each Reference
%Ref1 | 103 | 103 | 103 | 103 | 103 | 103 | 103 | 53 | 53 | 53 | 36.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%Ref2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 52 | 52 | 35.3333 | 52 | 52 | 52 | 52 | 52 | 0 | 0 | 0
%Ref3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.3333 | 51 | 51 | 51 | 51 | 51 | 101 | 101 | 101

## Slide 4: Correcting the Corrections and Blending References
Applied
by User
Reference-1 (Primary)
Monitored Instrument
GSICS Correction, g1 Mon1
Reference-2
(Secondary)
GSICS Correction, g2 Mon2
MonRef1
Delta
Correction, g1/2
21
Derived by GSICS
Modified
Correction, g2,1/2
Mon 21
Prime GSICS Correction, g0 Mon1
-
g̅
+

## Slide 5: Users’ Application of Prime GSICS Correction
Monitored Instrument
Prime GSICS Correction, g0 Mon1
MonRef1

## Slide 6: Scope of Prime Corrections
In the future the concept could be extended to obtain SI traceability if such a reference instrument becomes available - either using the double difference of GSICS Corrections, or by applying the SRFs to direct differences of hyperspectral instruments obtained by SNOs.
It was pointed out that after the overlap period, the traceability chain is strictly broken. This means we need to characterise the uncertainty growth - particularly in the case where there is a significant trend in the references' double differences.
The necessary stationarity tests should be applied to time series of double differences of GSICS Corrections using AIRS and IASI. [Masaya Takahashi (JMA) plans to investigate this.] They could also be applied to time series of IASI-A/B double differences after applying synthetic jumps.
We also discussed applying the concept to blend results from different inter-calibration methods (e.g. for GEO-LEO VIS products). It was noted that in general the uncertainty of the blended product could be larger than that of the best method, if the methods are applicable to different scenes, as this could cause them to underestimate the uncertainty when applying their results to more general scenes.
Rob Roebeling delivered Viju John's presentation on the impact for Archive Re-Calibration products. This analysis will need to account for diurnal variations in the geostationary imagers' calibration. It was greatly appreciated that NOAA (Manik Bali) plans to investigate this for both GOES and Meteosat imagers.
Masaya Takahashi (JMA) proposed changes to the content of the netCDF files and GSICS servers to accommodate the changes proposed above. Masaya's recommended solutions were approved in principle, but the details will be discussed further by email.

## Slide 7: Aims of Near-Real-Time Corrections
Provide users with best estimate of the current calibration
  of the monitored instruments
  To make consistent with reference instrument*
Based on data from recent period (e.g. 2 weeks for GEO-LEO IR)
  Asymmetric
  Short lead-time
For Real-Time applications
  Incorporation into L2 processing algorithms
  Alternative calibration coefficients in header
* But which reference instrument?

## Slide 8: Which reference instrument?
* But which reference instrument?
The Primary Reference for each spectral band?
One current (contemporary) reference instrument?
  Which?
Q: Are the following important for NRT applications?
Temporal consistency
  No jumps at change of reference instrument
Simplicity of implementation
  Don’t need to read multiple files
Low calibration noise
If 1 and 2, then we should consider generating Prime NRTCs

## Slide 9: Do we still need RACs?
What is the aim of Re-Analysis Corrections?
Provide users with best estimate of the calibration of historic data
  of the monitored instruments
  To make consistent with reference instrument
Based on data from recent period (e.g. 4 weeks for GEO-LEO IR)
  Symmetric
  Longer lead-time
For Retrospective re-analysis
  Case studies
  To build FCDRs by combining multiple monitored instruments (need Prime Corrections)?
  What else?
Or do we need something like Archive Re-Calibration products?
  Closer to FCDRs

## Slide 10: Outstanding Issues with Prime GSICS Corrections
Still need to develop stationarity tests to check overlap period can be extrapolated – Anyone?
Where are we with GPPA?
Need to identify beta testers
  Nothing from User Workshop
  Ideas?
  SCOPE-CM?