## Slide 1
NMSC/KMA
GEO-LEO IR Progress at KMA (Diurnal Variation)
2016 GSICS Annual Meeting (29 Feb ~ 4 Mar 2016 )@ Tsukuba, Japan

## Slide 2: GEO-LEO TB bias
check the TB bias for each IR channels
period: AIRS IASI-A (April 2011 - Dec. 2015) IASI-B (Aug. 2013 - Dec. 2015) CrIS(Jan. 2014 - Dec. 2015)
LEO TB (K)
COMS TB (K)
COMS TB (K)
LEO TB (K)
IR2(12.0 μm)
IR1(10.8μm)
SWIR(3.8μm)
WV(6.8μm)
In SWIR of CrIS, large bias due to much shorter spectral coverage of MI broadband

## Slide 3: TB(COMS/MI –LEO)
trend of TB bias for COMS IR TBs
period: AIRS IASI-A (April 2011 - Dec. 2015) IASI-B (Aug. 2013 - Dec. 2015) CrIS(Jan. 2014 - Dec. 2015)
TB Bias(COMS –LEO)(K)
TB Bias(COMS –LEO)(K)
TB(COMS)
TB(COMS)
IR2
IR1
WV
SWIR

## Slide 4: Monthly variation of TB Bias & RMSE
monthly variation of TB bias and RMSE
period: AIRS IASI-A (April 2011 - Dec. 2015) IASI-B (Aug. 2013 - Dec. 2015) CrIS(Jan. 2014 - Dec. 2015)
TB Bias (COMS-LEO)
TB RMSE
AIRS IASI-A IASI-B CrIS
IR1
IR2
WV
SWIR
IR1
IR2
WV
SWIR
Mean bias -0.0208
Mean bias -0.0283
Mean bias 0.0142
Mean bias 0.0088
IR1
IR2
WV
SWIR
Double Diff.(IASI/A TB bias- IASI/B TB bias)

## Slide 5: Seasonal variation of MI-IASIA/B
Seasonal variation of TB bias
period: IASI-A (April 2011 - Dec. 2015), IASI-B (Aug. 2013 - Dec. 2015)
2011 2012 2013 2014 2015
IASI-A: solid line IASI-B: dash line
TB Bias(COMS –LEO)(K)
TB Bias(COMS –LEO)(K)
IR2
IR1
SWIR
WV

## Slide 6
Seasonal variation of TB bias
period: AIRS (April 2011 - Dec. 2015), CrIS (Jan. 2014 - Dec. 2015)
Seasonal variation of MI-AIRS/CrIS
2011 2012 2013 2014 2015
AIRS: solid line CrIS: dash line
TB Bias(COMS –LEO)(K)
TB Bias(COMS –LEO)(K)
IR2
IR1
SWIR
WV

## Slide 7
IR1
2011
2012
2014
TB difference (K)
2013
IR2
2011
2012
2013
2014
TB difference (K)
+ mean bias with MetOp-A/IASI
+ mean bias with Aqua/AIRS
○ difference of mean biases
Mean: -0.015
Std. dev.: 0.175
Mean: -0.095
Std. dev.: 0.208
Double differences(AIRS-IASI)
[COMS/MI-Aqua/AIRS] – [COMS/MI-MetOp-A/IASI]
time series of mean bias for 15days
2011
2012
2013
2014
Notes: 95% confidence level / trend(regression) and 1-sigma value ???

## Slide 8
WV
2011
2012
2013
2014
TB difference (K)
Mean: -0.243
Std. dev.: 0.146
SWIR
2011
2012
2013
2014
TB difference (K)
+ mean bias with MetOp-A/IASI
+ mean bias with Aqua/AIRS
○ difference of mean biases
Mean: -0.141
Std. dev.: 0.553
Double differences(AIRS-IASI)
Notes: WV difference of mean bias – significant ??? 무시하기 어려운 정도의 수치 ??

## Slide 9
IR1 - day
2011
2012
2013
2014
TB difference (K)
+ mean bias with MetOp-A/IASI
+ mean bias with Aqua/AIRS
○ difference of mean biases
Mean: -0.012
Std. dev.: 0.170
IR1 - night
2011
2012
2013
2014
TB difference (K)
Mean: -0.172
Std. dev.: 0.331
DD (day/night-time data)

## Slide 10
IR2 - night
2011
2012
2013
2014
TB difference (K)
IR2 - day
2011
2012
2013
2014
TB difference (K)
+ mean bias with MetOp-A/IASI
+ mean bias with Aqua/AIRS
○ difference of mean biases
Mean: -0.027
Std. dev.: 0.176
Mean: -0.000
Std. dev.: 0.282
DD (day/night-time data)

## Slide 11
IR3 - day
2011
2012
2013
2014
TB difference (K)
IR3 - night
2011
2012
2013
2014
TB difference (K)
+ mean bias with MetOp-A/IASI
+ mean bias with Aqua/AIRS
○ difference of mean biases
Mean: -0.029
Std. dev.: 0.107
Mean: -0.416
Std. dev.: 0.243
DD (day/night-time data)

## Slide 12
Type | Channel | Mean of Bias Differences | Std. dev. of Bias Differences
All-time data | IR1 (10.8μm) | -0.0951 | 0.2086
 | IR2 (12.0μm) | -0.0153 | 0.1757
 | WV (6.8μm) | -0.2440 | 0.1460
 | SWIR (3.8μm) (night only) | -0.1410 | 0.5530
Day-time data | IR1 | -0.0117 | 0.1707
 | IR2 | -0.0275 | 0.1764
 | WV | -0.0294 | 0.1068
Night-time data | IR1 | -0.1718 | 0.3314
 | IR2 | -0.0004 | 0.2823
 | WV | -0.4158 | 0.2431
Double Difference(Summary)

## Slide 13: Diurnal variation of COMS-LEO(Bias)
Diurnal variation for COMS IR TBs
period: AIRS IASI-A (April 2011 - Dec. 2015) IASI-B (Aug. 2013 - Dec. 2015) CrIS(Jan. 2014 - Dec. 2015)
AIRS IASI-A IASI-B CrIS
IR2
IR1
SWIR
WV
WV(6.7μm)
IASI IASI_2.8
period: Jan. 01.2014 - Dec.12.2014
IASI WV SRF shift

## Slide 14
period: AIRS(April 2011 - Dec. 2015)
, (KST)
Diurnal Tb variation & MBCC performance
Ref. Yu et al., 2013
Diurnal Tb variation |  |  |  |  | 
 | Winter | Spring | Summer | Autumn | Total
IR1 | +0.7034 | +0.8256 | +0.8107 | +1.0421 | +0.7803
IR2 | +0.2706 | +0.3911 | +0.5523 | +0.4875 | +0.3882
WV | +0.5503 | +0.4635 | +0.5788 | +0.5791 | +0.4960
MBCC performance |  |  |  |  | 
 | Winter | Spring | Summer | Autumn | Total
IR1 | +0.5545 | +0.4385 | +0.6173 | +0.4669 | +0.5087
IR2 | +0.1434 | +0.1265 | +0.2787 | +0.0938 | +0.1523
WV | +0.4530 | +0.3155 | +0.3734 | +0.3726 | +0.3706

## Slide 15
Thank you…

## Slide 16: Diurnal variation of COMS-LEO(Bias)
Before MI MBCC application vs. After MI MBCC application for COMS IR TBs
period: AIRS (April.8.2015 – April.17.2015)
After MI MBCC Before MI MBCC
IR2
IR1
SWIR
WV