## Slide 1
Paper under review for JGR-Atmospheres …
Characterization of the ability of the Climate Absolute Radiance and Refractivity Observatory (CLARREO) to serve as an infrared satellite intercalibration reference
by Dave Tobin, Bob Holz, Fred Nagle, and Hank Revercomb
University of Wisconsin-Madison
Investigations performed with support from the
CLARREO Science Definition Team

## Slide 2
Abstract
CLARREO is a future mission employing an infrared spectrometer with unprecedented calibration accuracy and the ability to assess its calibration on-orbit using a novel verification system. Utilizing this capability for satellite intercalibration is a primary objective of the mission. This paper presents a new infrared intercalibration methodology that minimizes the intercalibration uncertainties and provides uncertainty estimates resulting from the scene variability and instrument noise. Results of a simulation study to characterize realistic spatial and temporal matching differences for Simultaneous Nadir Overpasses (SNOs) of CLARREO and existing hyperspectral sounders are presented. This study, along with experience with intercalibration of real data, finds that intercalibration uncertainties are minimized when the SNOs are not screened for sky conditions but instead weighted based on the observed scene variability. Intercalibration performance is investigated for a 90-degree polar orbit mission and for a Pathfinder mission on the International Space Station, for various potential CLARREO footprint sizes, and as a function of mission length, scene brightness temperature, and wavelength. The results are encouraging and suggest that biases between CLARREO and sounder observations can be determined with low uncertainty and with high time frequency during a CLARREO mission. For example, the simulations suggest a CLARREO footprint of 50 to 100 km in diameter is optimal for intercalibration, and that the intercalibration uncertainty is less then 0.1 K for channels at infrared window wavelengths using 2 months of accumulated SNOs, and for more absorbing channels with less scene variability the uncertainties are less than 50 mK.

## Slide 3
Characterization of the ability of the Climate Absolute Radiance and Refractivity Observatory (CLARREO) to serve as an infrared satellite intercalibration reference
CLARREO is a future mission employing an infrared spectrometer with unprecedented calibration accuracy and the ability to assess its calibration on-orbit using a novel verification system.
Utilizing this capability for satellite intercalibration, for both infrared and reflected solar sensors, is a primary objective of the mission.
Current potential missions include a pathfinder mission on the ISS as well as the full/dedicated mission.

## Slide 4
Characteristics of CLARREO/sounder (sun sync) SNOs
for one year and 1 polar orbit CLARREO
Provides intersections with good seasonal, time-of-day, and signal level coverage
15 um
11 um
7 um

## Slide 5
Simulation study using real time and spatial variability from MODIS observations to characterize time and space colocation errors
Example simulated CLARREO and sounder FOVs. The colored regions present the simulated CLARREO footprints using the MODIS 1km 11μm BT. Panel (a) presents the AIRS/CrIS sampling characteristics (small black circles) with Panel (b) presenting the IASI sampling. Panel (c) demonstrates the spatial offset used to simulate the temporal sampling differences. Panel (d) provides the quantitative differences resulting from the sampling characteristics.

## Slide 6
Example results: Intercalibration Uncertainty (IU)
as a function of time since mission start
CLARREO Intercalibration uncertainty as a function of mission length for single spectral channels in the 7, 10, and 15 μm regions for CLARREO/CrIS SNOs (left panel) and CLARREO/IASI SNOs (right panel). Solid curves include spatial and temporal colocation errors and CLARREO and sounder detector noise; dashed curves do not include CLARREO or sounder detector noise. Simulations include CLARREO in 90 degree polar orbit, CLARREO FOV diameter of 50 km, and 20 seconds between adjacent CLARREO FOVs.

## Slide 7
Example results: Intercalibration Uncertainty (IU) for 10K scene temperature bins (e.g. nonlinearity assessment)
CLARREO/AIRS/CrIS Intercalibration uncertainty as a function of scene brightness using one year of SNOs. Results are shown for 10K scene brightness temperature bins and for single spectral channels for the solid curves. Dashed curves are for averages of spectral channels, reducing spectrally uncorrelated sensor noise. Simulations include CLARREO in 90 degree polar orbit, CLARREO FOV diameter of 50 km, and 20 seconds between adjacent CLARREO FOVs.
Results suggest practicality of identifying mechanisms for intercalibration biases from which corrections can be based.

## Slide 8: Conclusions
The study results are encouraging and suggest that biases between CLARREO and sounder observations can be determined with low rigorously defined uncertainty and with high time frequency during a CLARREO mission.
For example, the simulations suggest a CLARREO footprint of 50 to 100 km in diameter is optimal for intercalibration, and that the intercalibration uncertainty is less then 0.1 K for channels at infrared window wavelengths using 2 months of accumulated SNOs, and for more absorbing channels with less scene variability the uncertainties are less than 50 mK (and even lower uncertainty with more time averaging).
This is good news for GSICS, with CLARREO providing very high accuracy and in-orbit calibration verification, and via intercalibration this accuracy and traceability can be transferred to other concurrent sensors.

## Slide 9: Traceabilty aspects
The key piece(s) of information for current traceability of GSICS products is to fully document the accuracy of the “reference” sensors IASI/CrIS/AIRS.
This needs to be done based on the design, testing, and current characterization of the calibrations.
This is the beginning of the current traceability chain, and so it is the most important thing to understand.
Done this for CrIS (Tobin, 2013 JGR paper)
Need similar information for IASI and AIRS,
  ideally in the same context and representation.

## Slide 10: Algorithm Variants
Dave’s paper includes a variant on the GSICS GEO-LEO IR inter-calibration algorithm:
  SNOs weighted by variance within CLARREO FOV
  Weighted means compared in Tb bins
  More uniform coverage of dynamic range
Worth comparing with the current algorithm
  Anyone interested in doing this?

## Slide 11: Preparations for CLARREO
Possible workshop:
  Preparation for traceable hyperspectral instruments as inter-calibration references
  Before/after GRWG/GDWG meeting in 2018
Anything else?