## Slide 1
S. Wagner
Towards a blended GSICS VIS/NIR product

## Slide 2: Product update frequency
  Update frequency: the initial idea was to follow the IR approach = One value per day using a sliding window
  Frequency depends on the degradation rate  instrument dependent
   Suppose that the time series has been cleaned (no seasonal cycle for instance)
  What if the available data are not clean enough, i.e. the variability of the signal is too large?
  Question: too large with respect to what?  We need user requirements on the stability of the time series for the GSICS products

## Slide 3: General concept for the GSICS VIS/NIR products
Data extraction
DCC
Data extraction Lunar Cal
…
Data input – Ground segment
Data reader + blend processor
Data processing
DCC
Data processing
Lunar Cal
…
GSICS VIS/NIR product
Moon
DCC
GSICS DCC product
GSICS Lunar product
EUMETSAT GSICS data server
No coincident times
How to do the blend?

## Slide 4: How to handle time differences between single methods?
  Problem: how to include method with different data availability?
  Typical case: DCC + Moon
  Should we have an approach similar to the GSICS prime corrections?
  Should we adjust the weight with the time span since last Moon acquisition to have a weight adjustment similar to the change of reference in the IR?