## Slide 1: Workshop on best practices on pre-flight and onboard calibration
Tim Hewison
Rob Roebeling
EUMETSAT

## Slide 2: Overview & Purpose of the Presentation
Overview
Workshop on best practices on pre-flight and onboard calibration
Purpose of the Presentation
Give overview of workshop
Consider providing inputs
Consider attendance

## Slide 3: Introduction to Workshop
CEOS workplan:
CV-3: Workshop on state of the art for pre-flight calibration techniques: Hold an open-invitation workshop to discuss and promote best practices on pre-flight and onboard calibration of sensors, initially focusing on optical.[WGCV]
Current intention of WGCV to conduct workshop in 2017.
During CEOS Strategic Implementation Team meeting it was agreed it would very useful to inject a user perspective into this workshop.
Workshop currently is planned to focus on optical IR/VIS sensors.
WGCV will meet in March 2016, and it would be very useful to if GSICS could by that time confirm the commitment to complete the action* and contribute to the 2017 workshop.
* Action to list the most relevant instrument characteristics that should be measured and publicized before launch (e.g. 2, 3 years before launch) to enable the users to get prepared

## Slide 4: Action from Web Meeting 2015-12-03
Action: Rob Roebeling to draft a proposal for which instrument characteristics should be published 2-3 years before launch, and at what level of detail, for presentation at 2016 GRWG/GDWG meeting. These could be specified both as a minimum recommended level, and full, detailed level. It should suggested that these include radiometric noise, SRFs, and some geometric aspects, such as iFoV (if not full PSFs/MTFs).
Add to GSICS Operations Plan!

## Slide 5: Guidance from Jerome
GSICS could easily provide input because this action could benefit of the action pursued by Rob about standardizing the instrument monitoring websites and the events log.
If a parameter is important for the user while instrument is in orbit, it is important also to have a good guess of this parameter for pre-launch preparation.
Instrument characteristics user needs are factors affecting its calibration and sampling
  (SRF, PSF, ...?)
  which are parameters that GSICS has precisely identified in an ATBD for GSICS correction - at least for IR and VIS.
At 2015 GSICS User Workshop we agreed to add a paragraph in the GSICS User requirements survey
  but I don't know when we'll get feedback.
  Many of the new satellites might be in orbit already when we'll come up with pre-launch requirements...
  Action: GCC?

## Slide 6: Request
Can we provide a quick DRAFT list of parameters,
  from the top of your heads,
  based on list of input data used in ATBD of GSICS IR correction and VIS correction
  Including parameters identified so far for instrument monitoring and event log
  We would circulate this DRAFT to key users (e.g. ECMWF) and use it to start with.
  Later (2017) we could refine the list with the outcome of the WGCV workshop.
E.g.
Channel names/purpose
SRF
Field of View/pixel size or full PSF/MTF?
Field of regard/swath coverage, repeat cycle
Pixel Sampling distance/time intervals
Radiometric noise, Calibration accuracy
Specified/expected/modelled/measured values
Uncertainties on all the above?